BALANCE CHECK RECORDS

Year__________________________ Make/Model ____________________ Date Serviced __________________________

| Date | Actual Scale Readings | Analyst | Comments |
| --- | --- | --- | --- |
|  | 10 mg | 100 mg | 1 gm | 5 gm | 10 gm | 50 gm |  |  |

Electronic only, sensitive to 0.1 g for general laboratory purposes and to 0.0001 g for calibrations and antibiotics.

Checked monthly with Class S or S1 or equivalent ASTM 1, 2, or 3 weights.  Certificate or other certification of authenticity.

Check weights that correspond to normal use of balance and maintain records.

Checked at least annually by a qualified representative for good working order with proof of check.