DAILY pH METER CALIBRATION

Make/Model ____________________Serial Number_____________________________

Date Electrode put into Service______________________________________________

| Date | Time | pH 4 | pH 7 | pH 10 | Slope % | Analyst | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- |

All measurements made at room temperature.

Instrument standardized with known buffer solutions.  Three commercially prepared standard solutions used.

Slope determined upon use.  Range 95-102%.

Record date electrodes put into service.  Write in QC record and tag probe.