**INDIANA FIRE PREVENTION AND BUILDING SAFETY COMMISSION**

**MEETING MINUTES**

**Meeting Details**

**Date**: February 6, 2024

**Time**: 9:00 AM

**Location**: Government Center South – Conference Room A

**Member Attendance**

|  |  |  |
| --- | --- | --- |
| **Name** | **Present** | **Means of Participation** |
|  | **Yes** | **No** |  |
| Logan Cook |[x] [ ]  In Person |
| John Crisp |[x] [ ]  Electronic Means (MS Teams) |
| Harold Davidson |[x] [ ]  In Person |
| Todd Hite |[x] [ ]  In Person |
| James Murua |[x] [ ]  In Person |
| Scott Pannicke |[x] [ ]  NA |
| Michael Patarino |[x] [ ]  In Person |
| Michael Popich |[x] [ ]  In Person |
| David Porter |[x] [ ]  In Person |
| Kenneth Wagner |[x] [ ]  Electronic Means (MS Teams) |
| Michael Zehner |[x] [ ]  Electronic Means (MS Teams) |

**Notes**

Additional information may be available at the [Commission’s Web Page](https://www.in.gov/dhs/boards-and-commissions/fire-prevention-and-building-safety-commission/).

Also in attendance:

Dustin Dyer, Director of Boards and Commissions, IDHS

1. Call to Order – 9:02am.
2. Roll Call – Quorum was met. Mr. Pannicke was not present. Commissioners Crisp, Wagner, and Zehner online.
3. Review and Action on February 2024 Meeting Minutes --
4. IDHS Reports and Updates
	* 1. IDHS Variance Determinations Report as required by 675 IAC 12-5-6.2(f) – Isaac Delgadillo
5. State Building Commissioner Interpretations
	* 1. [ALB-2023-35 [2014 IBC-2902-2.2-Exc.] Unisex Toilet Rooms](http://iac.iga.in.gov/iac/20240214-IR-675240055NRA.xml.pdf)
		2. [ALB-2023-38 [2020 IRC-R302.6] Dwelling Garage Fire Separations](http://iac.iga.in.gov/iac/20240214-IR-675240056NRA.xml.pdf)
		3. [ALB-2023-40 [2009 IEC-300.4] Protection Against Physical Damage](http://iac.iga.in.gov/iac/20240214-IR-675240057NRA.xml.pdf)
6. Rulemaking Update(s)

* + 1. Electrical Code Update Committee – Did not meet in February, will resume in March.
		2. Fire Code Update Committee – Meets next week. Deadline for submissions tomorrow by 5pm.
		3. Building Code Update Committee – Meets next week. Deadline for submissions tomorrow by 5pm.
		4. Lift Device Update Committee – Change quorum to 3.

		Motion: Approve changing quorum to 3.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[ ] [ ]
| Michael Zehner |[x] [ ]

* + 1. Civil Penalty Rule – Moving through process.
1. Honors, Awards, and Recognitions

	* 1. **State Fire Marshal’s Meritorious Service Award –** Presented to Ralph Gerdes. Presented by S.F.M. Steve Jones.
2. Variances

	1. Tabled

		1. **23-10-32 PIN1 (Indianapolis) –** No proponent. On the agenda several times.

		Motion: Deny.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[ ] [ ]
| Michael Zehner |[x] [ ]

* + 1. **23-12-79(b) Grayford Farm LLC (North Vernon) –** Darren, owner, presented. Had a new engineer. Requesting to be tabled until more information can be gathered.

		Motion: Table.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[ ] [ ]
| Michael Zehner |[x] [ ]

* + 1. **23-12-81(a)(b) White Box Remodel (Greenwood) ­­–** Tabled while corrections were made to plans. Made additional changes to variance request based on updated plans.

		Motion: Approve.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[ ] [ ]
| Michael Zehner |[x] [ ]

* + 1. **24-01-44(a)(b) Fortify Homes Renovation (Auburn) –** Jordan, presented. Renovation to existing R1 hotel converted to transitional housing. Change of occupancy. Requesting variance to fire sprinkler system and provisions of firewalls between dwelling units. Building constructed in 80’s without one-hour protection between the units. Adding in additional fire protection would create an undue burden as it would involve demolition and reconstruction of all bathroom units and ceilings. Commissioners questioned cost estimates provided by contractor, as initial plan already included significant demo work.

		Motion: Table

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[ ] [ ]
| Michael Zehner |[x] [ ]

* + 1. **24-01-45 Kiser House Restoration (South Bend) –** Ed Rensink. Requesting variance based on installation of NFPA 13 sprinkler system, providing all required smoke alarms in the building (inside sleeping rooms, bottom, top of all stairs, interconnected to alarms).

		**Motion:** Approve withNFPA 13 D 2010 Edition.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[ ] [ ]
| Michael Zehner |[x] [ ]

Commission broke from 9:53-10:05.

* 1. New

		1. **24-02-26 Journeyman Distillery (Valparaiso) –** Request to allow stored liquid quantities to exceed allowed maximum per adopted code. No proponent.

		**Motion:** Table.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[ ] [ ]
| Michael Zehner |[x] [ ]

Commission reopened after Christina Collester presented.

**Motion:** Approve.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[x] [ ]
| Michael Zehner |[x] [ ]

* + 1. **24-02-27 King Jugg Brewery (Fishers) –** Variance to exclude sprinkler system in new addition. LFO opposed. Commission questioned why proponent was asking for a variance almost a year after proponent agreed to pursue one with LFO. Proponent indicated confusion as to the process.

		Motion: Deny.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[x] [ ]
| Michael Zehner |[x] [ ]

* + 1. **24-02-28(a)(b)(c) Project Elkhart (Elkhart) –** Request to use 2021 IBC to allow use of construction materials not present in current IBC, specifically cross-laminated timber. Commission questioned whether section changes in 2024 IBC, proponent indicated it does not.

		**Motion:** Approve

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[x] [ ]
| Michael Zehner |[x] [ ]

* + 1. **24-02-29(a)(b)(c)(d)(e)(f) Indianapolis Motor Speedway Museum (Indianapolis) –** C, D, E, F are a-category. 2A construction building required to be one-hour rated. Asking not to completely rate building. Asking to use engineered design type instead of prescription requirements listed in NFPA 13 standard. Ed Rensink presented.

		**Motion:** Approve.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[x] [ ]
| Michael Zehner |[x] [ ]

* + 1. **24-02-30 AHP – Bloomington – Building 2 (Bloomington)** – Request to not provide a separation between an A3-B and an A3-R2 occupancy. Ana Pena presented. Mr. Larue presented as well, noting that he is comfortable with the variance as presented and is unsure that a variance is necessary based on previous variances.

		**Motion:** Approve.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[x] [ ]
| Michael Zehner |[x] [ ]

* + 1. **24-02-31 Selking International (Fort Wayne)** – Variance for photovoltaic system. Code requires firm anchoring, proposing to use ballast weights in lieu of anchors. LBO opposed.

		**Motion:** Table.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[x] [ ]
| Michael Zehner |[x] [ ]

**Motion**: Reopen.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[x] [ ]
| Michael Zehner |[x] [ ]

**Motion:** Table.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[x] [ ]
| Michael Zehner |[x] [ ]

* + 1. **24-02-32 Busy Bee (Indianapolis) –** Request to allow children’s play structure to be 24 inches from wall, code requires 5 feet minimum. Christina Collester presented. Should have originally been placed 5 feet from wall, but company that builds the equipment placed it close to wall in compliance with play guidelines, which conflict with codes. $42,000 to move the assembly.

		Motion: Approve.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[x] [ ]
| Michael Zehner |[x] [ ]

* + 1. **24-02-33 Emerald Pointe Replacement Stairs (South Bend) –** Ralph Gerdes presented. Code requires tread depth to be 12 inches, requesting tread depth of 10 inches. LFO & LBO do not oppose. Cost to replace stairs is $500,000.

		**Motion:** Approve.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[ ] [x]
| David Porter |[x] [ ]
| Kenneth Wagner |[ ] [x]
| Michael Zehner |[x] [ ]

* + 1. **24-02-34 Endress + Hauser USA Sales Center (Greenwood) –** Request to allow room schedule terminal to be 48 inches. No accessibility issue as accessibility is granted through online and mobile app. Not for public use.

		Motion: Deny.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[x] [ ]
| Michael Zehner |[x] [ ]

* + 1. **24-02-35(a)(b)(c) CTI Building Addition (Bristol) –** Christina Collester presented. Three sides of building is short 60 feet for unlimited building. 90,000 square feet, undivided. Fire access road.

		**Motion:** Approve A and B, Table C.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[x] [ ]
| Michael Zehner |[x] [ ]

 **Commission went to lunch from Noon to 1:00PM.**

* + 1. **24-02-36 Sprinkler System Removal (Beech Grove) –** Request to cap off existing water hookup to fire suppression system that is currently leaking. Proponent indicated that this was a re-hearing of a previous denial based on new evidence presented, sprinkler system heads were never present after purchase, would cost approximately $140,000 to replace. Currently a Mexican restaurant since June 2018. LFO opposed.

		**Motion:** Table until proponent can find more information for Commission re: firewalls and sprinkler systems.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[x] [ ]
| Michael Zehner |[x] [ ]

* + 1. **24-02-37 The Farm Multifamily Building A & Garage (Zionsville) –** Allow a once-inch gap to be allowed in wood floor top plate, not permitted by code.

		Motion: Approve for all currently-existing or under construction buildings on the site as of the date of this variance approval.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[x] [ ]
| Michael Zehner |[x] [ ]

* + 1. **24-02-38(a)(b) USG: Miscellaneous Renovation Projects (Shoals) –** Variance A is a-category. Requesting to not supply fire suppression system for building addition over 12,000 square feet.

		Motion: Approve.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[x] [ ]
| Michael Zehner |[x] [ ]

* + 1. **24-02-39 Langel’s Pizza Sprinklers (Schererville) –** Sprinkler system no longer required and wanting to remove sprinkler heads, place a sign stating system is non-operational. Control panels for sprinklers in another section of the strip mall, owners will not allow Langel’s Pizza access to sprinkler system. Solely for delivery and carryout. Vice-Chairman Popich questioned whether a variance was needed as the wording of the GAR allows for removal of non-required sprinkler systems.

		**Motion:** Table.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[x] [ ]
| Michael Zehner |[x] [ ]

**Commission broke from 2:15 – 2:25.**

* + 1. **24-02-40(a)(b)(c)(d) Jeffersonville-Clarksville West Storage Facility (Clarksville) –** Requesting various variances related to access roads, height requirements, etc. Ed Rensink and Shelly Wakefield presented.  **Motion:** A – Table. Approve B, C, D. Vice-Chairman Popich voted ‘no’ on B, C, D. Chairman Murua would have voted ‘no’ on the access road variance.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[x] [ ]
| Michael Zehner |[x] [ ]

* + 1. **24-02-41 Mentone Elementary School Child Care Rooms (Mentone) –** Infant and toddler child care rooms with single means of egress leading to interior corridor. Code requires an exit directly to the exterior if 5 or more children under 2.5 years of age, two exits if more than 10 children.

		**Motion:** Approve.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[ ] [x]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[x] [ ]
| Michael Zehner |[x] [ ]

* + 1. **24-02-42 MAACabre Haunted Attraction (Valparaiso) –** Haunted attraction. Fire suppression system. Fourth time asking for variance. CEO Selena Weathermark presented.

		**Motion:** Approve on the condition that fire watch is approved by State Fire Marshal’s Office and space be inspected by DHS.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[x] [ ]
| Michael Zehner |[x] [ ]

* + 1. **24-02-43 Motherhouse renovation and Addition (Plymouth) –** Addition to five-story building, would need to provide a three hour structurally independent firewall which proponent is unwilling to do. Melissa Tupper presented.

		Motion: Approve.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[ ] [x]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[x] [ ]
| Michael Zehner |[x] [ ]

* + 1. **24-02-44 70 West Commerce Park Bldg 5 (Clayton) –** Seeking to allow quantity of flammable liquids to exceed maximum allowed by code. Christina Collester presented.

		**Motion:** Approve.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[x] [ ]
| Michael Zehner |[x] [ ]

* + 1. **24-02-45 Upstairs Pub West Bar (Bloomington) –** Code prohibits openings in exteriors walls where building is located less than three feet from property line. Requesting to allow two new openings in exterior wall with building less than three feet from property line. Melissa Tupper presented. Openings normally protected via sprinkler heads, using braces instead. Bobby LaRue notes that building is heavily utilized by student population, additional openings provide additional means of egress. Not opposed.

		Motion: Approve.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook |[x] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[x] [ ]
| Michael Zehner |[x] [ ]

* + 1. **24-02-46 New Distribution Building (Indianapolis) –** Withdrawn.
		2. **24-02-47 2023 Brownsburg High School (Brownsburg) –** Logan Cook recused. Requesting to have multipurpose fieldhouse to not have voice alarm system. LFO does not object.

		**Motion:** Approve.

|  |  |
| --- | --- |
| **Name** | **Vote** |
|  | **Yes** | **No** |
| Logan Cook (R) |[ ] [ ]
| John Crisp |[x] [ ]
| Harold Davidson |[x] [ ]
| Todd Hite |[x] [ ]
| James Murua |[x] [ ]
| Scott Pannicke |[ ] [ ]
| Michael Patarino |[x] [ ]
| Michael Popich |[x] [ ]
| David Porter |[x] [ ]
| Kenneth Wagner |[x] [ ]
| Michael Zehner |[x] [ ]

1. Industrialized Building Systems Applications and Renewals

* + 1. None
1. Report on Administrative Review

	1. OALP Non-Final Orders – Commission Review/Action Required as Ultimate Authority
		1. \*\*\* **DHS-2311-002796 – Washington Community Schools**
	2. New Cases – *Monitoring Only*
		1. DHS-2402-000396 – Knight’s Inn v. Seymour Fire
	3. Ongoing Cases
		1. DHS-2307-002000 – Scannell Properties v. City of Bloomington
		2. DHS-2308-002119 – Singh Basra LLC
		3. DHS-2311-002835 – Ronald Davidhizer vs. City of Goshen
		4. DHS-2312-003133 – LaPorte County
		5. DHS-2401-000218 – LaPorte Civic Auditorium
	4. New Filings – Commission Review/Action Required
		1. None
	5. OALP Final Orders – No action required.

		1. DHS-2401-000173 – Zionsville Fire Department
2. Final Comments/Closing Remarks – Chairman Murua
3. Next Meeting – Tuesday, April 2, 2024, at 9:00 a.m. Eastern Time in **CONFERENCE ROOM B of the Indiana Government Center, 302 W. Washington Street, Indianapolis, IN 46204.**

# A public notice with specific details regarding the format of the meeting will be provided on the [Commission main web page](https://www.in.gov/dhs/boards-and-commissions/fire-prevention-and-building-safety-commission/) in advance of the meeting date.

1. Adjournment – Meeting adjourned at 3:30pm.