Any Town Nursing Home

Emergency Generator – Monthly Test Log

Generator Model: _____________                                                     Engine Model: ___________                   Date Installed: ____________

Standby KW Nameplate Rating: ____   30% of standby rating = _______         Fuel Type: ______    Normal Operating Temps: ______________

| Month | Test Date | Time Start | Time End | Transfer Time | Battery Specific Gravity | Oil Pressure | Operating Temp. | Load KW | Amps | Volts | Cool Down Time | Tested By | Comments |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Jan. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Feb. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| March |  |  |  |  |  |  |  |  |  |  |  |  |  |
| April |  |  |  |  |  |  |  |  |  |  |  |  |  |
| May |  |  |  |  |  |  |  |  |  |  |  |  |  |
| June |  |  |  |  |  |  |  |  |  |  |  |  |  |
| July |  |  |  |  |  |  |  |  |  |  |  |  |  |
| August |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Sept. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Oct. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Nov. |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Dec. |  |  |  |  |  |  |  |  |  |  |  |  |  |