| Spectrophotometer – Ammonia and Phosphorus |
| --- |
| Ammonia-N (NH3-N) Results - Hach Methods 10205 TNTplus 830, TNTplus 831 and TNTplus 832 |
| Analyst | Sample ID | Sample Date | Sample Time | Reagent TNTplus 830 0.015 – 2.0 mg/L | Reagent TNTplus 831 1.0 – 12. mg/L | Reagent TNTplus 832 2.0 – 47. mg/L | NH3-N (mg/L) | Duplicate (1) | Analysis Date | Analysis Time |
|  | Raw (2) |  |  | Circle Reagent Used: 830 831 832 |  |  |  |  |
|  | Raw Rerun |  |  | Circle Reagent Used: 830 831 832 |  |  |  |  |
|  | Final (2) |  |  | Circle Reagent Used: 830 831 832 |  |  |  |  |
|  | Final Rerun |  |  | Circle Reagent Used: 830 831 832 |  |  |  |  |
|  | Raw (2) |  |  | Circle Reagent Used: 830 831 832 |  |  |  |  |
|  | Raw Rerun |  |  | Circle Reagent Used: 830 831 832 |  |  |  |  |
|  | Final (2) |  |  | Circle Reagent Used: 830 831 832 |  |  |  |  |
|  | Final Rerun |  |  | Circle Reagent Used: 830 831 832 |  |  |  |  |
|  | 2.0 mg/L Std. (1) |  |  | Circle Reagent Used: 830 831 832 |  | --------- |  |  |
|  | Reagent Blank (1) |  |  | Circle Reagent Used: 830 831 832 |  | ---------- |  |  |
|  | 2.0 mg/L Std. (1) |  |  | Circle Reagent Used: 830 831 832 |  | ---------- |  |  |
|  | Reagent Blank (1) |  |  | Circle Reagent Used: 830 831 832 |  | -------- |  |  |
| Total Phosphorus Results (PO4-3-P) - Hach Methods 10210 TNTplus 844 and TNTplus 845 |
| Analyst | Sample ID | Sample Date | Sample Time | Reagent TNTplus 844 0.5 – 5.0 mg/L | Reagent TNTplus 845 2.0 – 20. mg/L | Initial Reading (mg/L) | Blank Corrected Phosphorous (mg/L) | Duplicate (1) | Analysis Date | Analysis Time |
|  | Reagent Blank (1) |  |  | Circle Reagent Used: 844 845 |  | ---------- | ---------- |  |  |
|  | Raw (2) |  |  | Circle Reagent Used: 844 845 |  |  |  |  |  |
|  | Raw Rerun |  |  | Circle Reagent Used: 844 845 |  |  |  |  |  |
|  | Final (2) |  |  | Circle Reagent Used: 844 845 |  |  |  |  |  |
|  | Final Rerun |  |  | Circle Reagent Used: 844 845 |  |  |  |  |  |
|  | mg/L Std. (1) |  |  |  | ---------- |  |  | ---------- |  |  |

- = Analyzed weekly.  Acceptable Range is 1.8 to 2.2 mg/L for NH3-N Standard and 0.9 to 1.1 mg/L for PO4-3-P Standard

(2) = If the result is outside the range for the TNTplus Reagent used, it must be analyzed again using a different TNTplus Reagent

DR2800    7/2011