Dissolved Oxygen &	      SM 4500-O G.

Facility Name                                       	       Flow Proportioning Data

Date:                                          _

DO Meter/Probe Calibration

| Time | Analyst | NA – Meter Autocals | Barometric Pressure - mm Hg | Temperature oC | Meter Adjusted to mm | Meter Adjusted to mg/L |
| --- | --- | --- | --- | --- | --- | --- |

## Final Effluent Data

|  |  |  |  |  | If Automatic Sampler Not Used |
| --- | --- | --- | --- | --- | --- |
| Sample | Sample Time | DO Result (mg/L) | Temp. oC | Sampler / Analyst | Flow Reading | Fraction | Volume Used in Composite (mL) |
| 1 |  |  |  |  |  |  |  |
| 2 |  |  |  |  |  |  |  |
| 3 |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |
| Daily Average | ----- |  |  | ----- | ----- | ----- | ----- |
| Total of Flows | ----- | ----- | ----- | ----- |  | ----- | ----- |

# Fraction = Each Sample Flow Reading

Total of Flows

Volume Used in Composite (mL) = Fraction x Total Sample Volume Needed for Analysis (mL)

DO and Flow Proportioning - day    Created 1/2009