## Facility Name:                                                                      Spectrophotometric Analysis

Analyte____________________  Method Used__________________________ Wavelength___________nm

Analysis Date______________  Analyst___________________________ Check Std. Recovery_________%

| Sample ID | Sample/ Standard Date | Sample Grab or Comp | Date Preserved | Preserved by | Sample Volume (mL) | Final Volume (mL) | Initial Result (mg/L) | *Dilution Factor | Report Value (mg/L) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Calibration Blank |  |  |  |  |  |  |  | 1 |  |
| Std. 1 mg/L |  |  |  |  |  |  |  | 1 |  |
| Std. 2 mg/L |  |  |  |  |  |  |  | 1 |  |
| Std. 3 mg/L |  |  |  |  |  |  |  | 1 |  |
| Std. 4 mg/L |  |  |  |  |  |  |  | 1 |  |
| Std. 5 mg/L |  |  |  |  |  |  |  | 1 |  |
| Chk Std mg/L |  |  |  |  |  |  |  |  |  |
| Reagent Blank |  |  |  |  |  |  |  | 1 |  |
| Dup. |  |  |  |  |  |  |  |  |  |
| Dup. |  |  |  |  |  |  |  |  |  |
| Spike |  |  |  |  |  |  |  |  | ---------- |

*Dilution Factor = Final Volume (mL)

Sample Volume (mL)

Spike Added (ug) = Concentration of Spike Added (mg/L) x Volume of Spike Added (mL)

Final Volume (mL) of Spiked Sample used for Colorimetric Determination

% Spike Recovery = [Spiked Sample Initial Concentration (mg/L) – Sample Initial Concentration (mg/L)] x 100  =   ___%

Spike Added (mg/L)

Spectrophotometric Analysis  Created 12/2008 (Revised1/2011)