Facility Name                                                			                                           Total Suspended Solids     		   SM 2540 D.

| Action | Balance Calibrated | Certified Weight Check | Filters Weighed | Samples Filtered | Drying Oven Temp. In | Drying Oven Temp. Out | Balance Calibrated | Certified Weight Check | Filter + Residue Weighed |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date |  |  |  |  |  |  |  |  |  |
| Time |  |  |  |  |  |  |  |  |  |
| Analyst |  |  |  |  |  |  |  |  |  |
| Temp. oC |  | ----- | ----- | ----- |  |  |  | ----- | ----- |
| Certified Value (g) | ----- |  | ----- | ----- | ----- | ----- | ----- |  | ----- |
| Lab Result (g) | ----- |  | ----- | ----- | ----- | ----- | ----- |  | ----- |

| Sample ID | Blank |  |  |  |  |  |  |  |  |  | Duplicate |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Sample Date |  |  |  |  |  |  |  |  |  |  |  |
| *Sample Volume mL |  |  |  |  |  |  |  |  |  |  |  |
| Filter # |  |  |  |  |  |  |  |  |  |  |  |
| Filter + Residue g or mg |  |  |  |  |  |  |  |  |  |  |  |
| Filter g or mg |  |  |  |  |  |  |  |  |  |  |  |
| Residue **2.5 – 200 mg |  |  |  |  |  |  |  |  |  |  |  |
| TSS (mg/L) |  |  |  |  |  |  |  |  |  |  |  |
| Average | ----- |  |  |  |  |  |  |  |  |  |  |

* - Use same volume for blank that was filtered for Final sample

** - Choose Sample Volume to yield between 2.5 and 200 mg (0.0025 and 0.200 g) residue

TSS if weights are in milligrams = Residue (mg) x 1000		TSS if weights are in grams = Residue (g) x 1,000,000

Sample Volume (mL)                                                                          Sample Volume (mL)

Total Suspended Solids    Created 12/2008