FABRICATION AND INSTALLATION OF SOLAR SUN SCREENS SPECIFICATIONS AND PRICING QUOTE

All materials used in provision of services must meet or exceed 10 CFR 440

Appendix A: “Standards for Weatherization Services”

Estimate to measure, fabricate and install solar sunscreens in accordance with federal energy efficiency standards. Complete installation must include all labor and materials to perform services.

Contractor is responsible for leaving the job site clean and hauling away job debris.

Project commencement and completion must be accomplished within _________ working days of notice to proceed.

Contractor must include permit fees (if applicable), sales taxes, labor and materials to complete project.

| SQ. FT. ESTIMATE | ADDITIONAL CHARGES |
| --- | --- |
| $ | $ (please explain the charge i.e. measurement trip charge) |
| Explanation for Additional Charge: |  |

Attach information regarding the type of materials used to perform services

Signature						Date