### REFLECTIVE ROOF COATING SPECIFICATIONS AND PRICING QUOTE

All materials used in provision of services must meet or exceed 10 CFR 440

Appendix A: “Standards for Weatherization Services”

Measure, provide and install DOE approved elastomeric reflective roof coating brushed or rolled on.  If awarded, Contractor must agree to complete individual work order requests within 7 days of receipt of work order.

Estimate to measure, fabricate and install solar sunscreens in accordance with federal energy efficiency standards. Complete installation must include all labor and materials to perform services.

Contractor is responsible for leaving the job site clean, hauling away existing equipment (if applicable) and for properly disposing of existing equipment to meet EPA regulations.

Project commencement and completion must be accomplished within _________ working days of notice to proceed.

Contractor must include permit fees (if applicable), sales taxes, labor and materials to complete project.

| Sq. Ft. Estimate: | $ |
| --- | --- |

Attach information regarding the type of materials used to perform services

Signature						Date