WEATHERIZATION MATERIALS SPECIFICATIONS AND PRICING QUOTE

All materials used in provision of services must meet or exceed 10 CFR 440

Appendix A: “Standards for Weatherization Services”

| ITEM # - 105B PRODUCT: Insulated Pipe Wrap SPECIFICATIONS: 2" width X 1/8" thick, with foil back, self-adhesive. 30 feet per roll. Purchase in lots of 24-60 rolls. (Average six months usage for bidding purposes only - 50 Rolls) | VENDOR PRODUCT #: PRODUCT BRAND NAME: MSDS SHEETS WILL BE REQUIRED. Price per roll: |
| --- | --- |
| ITEM # - 106B PRODUCT: Foil-Grip Tape SPECIFICATIONS: 3" width, 100 linear foot rolls, butyl rubber adhesive. Purchase in lots of 6-24 rolls. (Average six months usage for bidding purposes only - 24 Rolls) | VENDOR PRODUCT #: PRODUCT BRAND NAME: MSDS SHEETS WILL BE REQUIRED. Price per roll: |
| ITEM # - 110A PRODUCT: Glazing Compound (tube) SPECIFICATIONS: In conformance to ASTM-C1021-01, (comparable to DAP Glazing Compound). Dispenses with standard caulking gun, 10-11 oz. cartridges. Purchase in lots of 12-36 tubes. Must be oil based. Refer to Appendix A, Page SP 8. (Average six months usage for bidding purposes only - 36 Tubes) | VENDOR PRODUCT #: PRODUCT BRAND NAME: MSDS SHEETS WILL BE REQUIRED. Tubes per box: Price per tube: |

Initials

| ITEM # - 123B PRODUCT: Open-cell Foam Tape SPECIFICATIONS: 3/8" x 1/2" self-adhesive, 17 feet per roll. Purchase in lots of 24-48 rolls. Rolls must be individually packaged. (Average six months usage for bidding purposes only - 75 Rolls) | VENDOR PRODUCT #: PRODUCT BRAND NAME: MSDS SHEETS WILL BE REQUIRED. Price per roll: |
| --- | --- |
| ITEM # - 135B PRODUCT: Duct Tape SPECIFICATIONS: 2" X 60 yards, cloth or fiber reinforced. Purchase in lots of 24-72 rolls. (Average six months usage for bidding purposes only - 100 Rolls) | VENDOR PRODUCT #: PRODUCT BRAND NAME: MSDS SHEETS WILL BE REQUIRED. Price per roll: |
| ITEM # - 200A PRODUCT: Aluminum Weatherstrip Kit SPECIFICATIONS: Extruded aluminum, thermo-plastic, and rubber flap. Complete set for 36" door, 1 each header, 2 each jamb 84" long. Purchase in lots of 10-100 sets. (Average six months usage for bidding purposes only - 80 sets) | VENDOR PRODUCT #: PRODUCT BRAND NAME: Price each: |
| ITEM # - 200C PRODUCT: Vinyl Weatherstrip Kit SPECIFICATIONS: Complete set for 36" door, 1 each header, 2 each side jamb 84" long. Foam to be dark in color (comparable to Schlegal or Foam Guard FG773W). Purchase on lots of 10-100 sets. (Average six months usage for bidding purposes only - 40 Sets) | VENDOR PRODUCT #: PRODUCT BRAND NAME: Price each: |

Initials

| ITEM # - 207D PRODUCT: 36" Door Bottom w/drip cap SPECIFICATIONS: Extruded aluminum with predrilled holes for adjustment, packaged with screws. Width of 1 3/8" and a height of 1" on both sides with 1/2" height vinyl insert. Purchase in lots of 10-40. (Average six months usage for bidding purposes only - 50 Door Bottoms) | VENDOR PRODUCT #: PRODUCT BRAND NAME: Price each: |
| --- | --- |
| ITEM # - 207E PRODUCT: 36" Door Bottom w/drip cap SPECIFICATIONS: Extruded aluminum with predrilled holes for adjustment, packaged with screws. Width of 1 3/4" and a height of 1" on both sides with 1/2" height vinyl insert. Purchase in lots of 10-40. (Average six months usage for bidding purposes only - 50 Door Bottoms) | VENDOR PRODUCT #: PRODUCT BRAND NAME: Price each: |
| ITEM # - 215E PRODUCT: Oak Lowboy Threshold SPECIFICATIONS: Length 36", width 3 1/2" height 3/4". Must be solid oak construction. Purchase in lots of 10- 20. (Average six months usage for bidding purposes only - 25 Thresholds) | VENDOR PRODUCT #: PRODUCT BRAND NAME: Price each: |

Initials

| ITEM # - 215G PRODUCT: Oak Highboy Threshold SPECIFICATIONS: Length 36", width 3 1/2" height 1 1/16. Must be solid oak construction. Purchase in lots of 10-20. (Average six months usage for bidding purposes only - 50 Thresholds) | VENDOR PRODUCT #: PRODUCT BRAND NAME: Price each: |
| --- | --- |
| ITEM # - 226A PRODUCT: Lockset/Keyed Entry SPECIFICATIONS: Universal backset, keyed separately with pairing capabilities, brass finish. Backset to be 1" barrel round, drive-in type latch bolts. Latch bolt must be adjustable. (Mortise backset will not be accepted). Attachment screws must be visible and accessible on outer face of interior collar for quick installation. Purchase in lots of 20-40. (Average six months usage for bidding purposes only - 50 Sets) | VENDOR PRODUCT #: PRODUCT BRAND NAME: Price each: |

Initials

| ITEM # - 248 PRODUCT: Mobile Home Door SPECIFICATIONS: Must be an out swing door for either left or right hand swing, with strong welded aluminum frame and foam filled insulation for high R-value. Must be double weatherstrip with one seal on frame and one on door. Door accessories to include keyed lock with adjustable striker, door chain, threshold, and safety glass picture window for viewing. Minimum size of window 3" X 20". Must be able to special order odd sizes. Will purchase in lots of 1-5 doors. (Average six months usage for bidding purposes only - 15 Doors) | VENDOR PRODUCT #: PRODUCT BRAND NAME: Does Door Meet Specifications: Price the following sizes: 28"X72"____________ 30"X72"____________ 30"X74"____________ 32"X72"____________ 32"X74"____________ 32"X76"____________ Prices must be freight included as specified on cover letter. |
| --- | --- |
| ITEM # - 340B PRODUCT: Dryer Vent Hose SPECIFICATIONS: 4" vent hose. 20-25 linear feet per box. Aluminum multi-layered flexible metallic duct. Operating temperature range of 0F-265F. Fire retardant with no exposed polyester inside or outside. AGA and UL Approved for Gas. Purchase in lots of 1-10 boxes. Please Note New Specifications for Dryer Vent Hose (Average six months usage for bidding purposes only - 400 L/F) | VENDOR PRODUCT #: PRODUCT BRAND NAME: Linear ft. per box: Price per box: |

Initials

| ITEM # - 341 PRODUCT: Dryer Vent Hood SPECIFICATIONS: White in color. 4" throat, damper action, plastic construction, must have a min. of 5 3/4" faceplate, and must have a min. of 8" throat tube, louvered preferred. Purchase in lots of 12-24 each. (Average six months usage for bidding purposes only - 60 Vents) | VENDOR PRODUCT #: PRODUCT BRAND NAME: Price each: |
| --- | --- |
| ITEM # - 400 PRODUCT: Water Heater Blanket SPECIFICATIONS: In conformance to ASTM-C553-02 Minimum R-value of 11. 40 - 60 gallon electrical water heater blanket with top. Purchase in lots of 5-10 each. Refer to Appendix A, Page SP 6. (Average six months usage for bidding purposes only - 5 blankets) | VENDOR PRODUCT #: PRODUCT BRAND NAME: MSDS SHEETS WILL BE REQUIRED. Price each: |
| ITEM # - 404B PRODUCT: Furnace Heat Duct Insulation SPECIFICATIONS: In conformance to ASTM-C553-02 minimum R-value of 11, 48" width/50' roll with vinyl backing. Purchase in lots of 5-10 rolls. Refer to Appendix A, page SP 6. (Average six months usage for bidding purposes only - 30 rolls) | VENDOR PRODUCT#: PRODUCT BRAND NAME: R-Value: Price per roll: |

Initials

| ITEM # - 406 PRODUCT: Plastic Tie Straps SPECIFICATIONS: Min length 32" max. length 36", adjustable, removable. White or clear in color. Purchase in lots of 500-1000. (Average six months usage for bidding purposes only - 2000 Straps) | VENDOR PRODUCT#: PRODUCT BRAND NAME: Price each: |
| --- | --- |
| ITEM # - 408 PRODUCT: Fiberglass Blow-In Insulation SPECIFICATIONS: Meets all applicable fireproof requirements, see attached sheet for minimum specifications. Refer to Appendix A, page SP 1. Purchase in 25-100 bags. (Average six months usage - for bidding purposes only - 1000 bags) | VENDOR PRODUCT #: PRODUCT BRAND NAME: SHOW CALCULATION ON PAGE SP 1. MSDS SHEETS WILL BE REQUIRED. Weight per bag: Price per bag: |
| ITEM # - 409D PRODUCT: Fiberglass Insulation (Batts) SPECIFICATIONS: In conformance to ASTM- C665-06, R-11, 15" wide, kraft faced, specify square foot coverage per roll. Purchase in lots of 1-10 rolls. Refer to Appendix A, page SP 5 (3 1/2 X 15) (Average six months usage for bidding purposes only - 48 Rolls) | VENDOR PRODUCT #: PRODUCT BRAND NAME: MSDS SHEETS WILL BE REQUIRED. Sq ft per roll: Price per roll: |

Initials

| ITEM # - 410D PRODUCT: Fiberglass Insulation (Batts) SPECIFICATIONS: In conformance to ASTM- C665-06, R-11, 23" wide, kraft faced, specify square foot coverage per roll. Purchase in lots of 1-10 rolls. Refer to Appendix A, page SP 5 (3 1/2 X 23) (Average six months usage for bidding purposes only - 48 Rolls) | VENDOR PRODUCT #: PRODUCT BRAND NAME: MSDS SHEETS WILL BE REQUIRED. Sq ft per roll: Price per roll: |
| --- | --- |
| ITEM # - 413D PRODUCT: Fiberglass Insulation (Batts) SPECIFICATIONS: In conformance to ASTM-C665-06, R-19, 15" wide, kraft faced, specify square foot coverage per roll. Purchase in lots of 4-40 rolls. Refer to Appendix A, page SP 5 (6 X 15) (Average six months usage for bidding purposes only - 120 Rolls) | VENDOR PRODUCT #: PRODUCT BRAND NAME: MSDS SHEETS WILL BE REQUIRED. Sq ft per roll: Price per roll: |
| ITEM # - 414D PRODUCT: Fiberglass Insulation (Batts) SPECIFICATIONS: In conformance to ASTM-C665-06, R-19, 23" wide, kraft faced, specify square foot per roll. Purchase in lots of 4-40 rolls. Refer to Appendix A, page SP 5 (6 x 23) (Average six months usage for bidding purposes only - 120 Rolls) | VENDOR PRODUCT #: PRODUCT BRAND NAME: MSDS SHEETS WILL BE REQUIRED. Sq ft per roll: Price per roll: |

Initials

| ITEM # - 417D PRODUCT: Fiberglass Insulation (Batts) SPECIFICATIONS: In conformance to ASTM-C665-06, R-25, 15" wide, kraft faced, specify square foot per roll. Purchase in lots of 4-40 rolls. Refer to Appendix A, page SP 5 (8 X 15) (Average six months usage for bidding purposes only - 100 Rolls) | VENDER PRODUCT #: PRODUCT BRAND NAME: MSDS SHEETS WILL BE REQUIRED. Sq ft per roll: Price per roll: |
| --- | --- |
| ITEM # - 418D PRODUCT: Fiberglass Insulation (Batts) SPECIFICATIONS: In conformance to ASTM-C665-06, R-25, 23" wide, kraft faced, specify square foot per roll. Purchase in lots of 4-40 rolls. Refer to Appendix A, page SP 5 (8 X 23) (Average six months usage for bidding purposes only - 100 Rolls) | VENDER PRODUCT #: PRODUCT BRAND NAME: MSDS SHEETS WILL BE REQUIRED. Sq ft per roll: Price per roll: |
| ITEM # - 422D PRODUCT: Fiberglass Insulation (Batts) SPECIFICATIONS: In conformance to ASTM-C665-06, R-30, 15" wide, kraft faced, specify square foot coverage per roll. Purchase in lots of 4-40 rolls. Refer to Appendix A, page SP 5. (9" X 15"). (Average six months usage for bidding purposes only - 100 Rolls) | VENDOR PRODUCT #: PRODUCT BRAND NAME: MSDS SHEETS WILL BE REQUIRED. Sq ft per roll: Price per roll: |

Initials

| ITEM # - 423D PRODUCT: Fiberglass Insulation (Batts) SPECIFICATIONS: In conformance to ASTM-C665-06, R-30, 23" wide, kraft faced, specify square foot coverage per roll. Purchase in lots of 4-40 rolls. Refer to Appendix A, page SP 5. (9" X 23"). (Average six months usage for bidding purposes only - 40 Rolls) | VENDOR PRODUCT #: PRODUCT BRAND NAME: MSDS SHEETS WILL BE REQUIRED. Sq ft per roll: Price per roll: |
| --- | --- |
| ITEM # - 426D PRODUCT: Fiberglass Insulation (Batts) SPECIFICATIONS: In conformance to ASTM-C665-06, R-38, 15" wide, kraft faced, specify square foot coverage per roll. Purchase in lots of 4-40 rolls. Refer to Appendix A, page SP 5. (12" X 15"). (Average six months usage for bidding purposes only - 40 Rolls) | VENDOR PRODUCT #: PRODUCT BRAND NAME: MSDS SHEETS WILL BE REQUIRED. Sq ft per roll: Price per roll: |
| ITEM # - 427D PRODUCT: Fiberglass Insulation (Batts) SPECIFICATIONS: In conformance to ASTM-C665-06, R-38, 23" wide, kraft faced, specify square foot coverage per roll. Purchase in lots of 4-40 rolls. Refer to Appendix A, page SP 5. (12" X 23"). (Average six months usage for bidding purposes only - 40 Rolls) | VENDOR PRODUCT #: PRODUCT BRAND NAME: MSDS SHEETS WILL BE REQUIRED. Sq ft per roll: Price per roll: |

Initials

| ITEM # - 431 PRODUCT: Cellulose Blow-In Insulation SPECIFICATIONS: Meets all applicable fireproof requirements, see attached sheet for minimum specifications. Refer to Appendix A, page SP 2. Purchase in quantities, 400-700 bags. (Average six months usage - for bidding purposes only - 3000 bags) | VENDOR PRODUCT #: PRODUCT BRAND NAME: SHOW CALCULATION ON PAGE SP 2. MSDS SHEETS WILL BE REQUIRED. Price per bag: |
| --- | --- |
| ITEM # - 434A PRODUCT: 20" Insulation Guard SPECIFICATIONS: Aluminum Rolled Valley Flashing. 50 linear feet per roll. 30 gauge, comparable to Insul-Shield. Purchase in lots of 1-12 rolls. (Comparable to Insul-Shield) (Average six months usage for bidding purposes only - 700 L/F) | VENDOR PRODUCT #: PRODUCT BRAND NAME: Price per roll: |
| ITEM # - 438B PRODUCT: Black Visqueen (Polyethylene) SPECIFICATIONS: 6 mil. Thickness, 10' x 100' rolls. Black. Visqueen must have minimum width of 36" which folds out to 10'. Purchase in lots of 5-40 rolls. (Average six months usage for bidding purposes only - 40 Rolls) | VENDOR PRODUCT #: PRODUCT BRAND NAME: MSDS SHEETS WILL BE REQUIRED. Price per roll: |

Initials

| ITEM # - 439 PRODUCT: Clear Visqueen (Polyethylene) SPECIFICATIONS: 6 mil. Thickness, 10' x 100' rolls. Clear. Visqueen must have minimum width of 36" which folds out to 10'. Purchase in lots of 5-40 rolls. (Average six months usage for bidding purposes only - 40 Rolls) | VENDOR PRODUCT #: PRODUCT BRAND NAME: MSDS SHEETS WILL BE REQUIRED. Price per roll: |
| --- | --- |
| ITEM # - 481B PRODUCT: Tubular Pipe Insulation SPECIFICATIONS: 3/4" wall, 7/8" x 6 inside diameter. Must have a minimum R-value of 4.7. Specify Linear feet per box and the R-value. Purchase in lots of 500-2000 linear feet, in 6' lengths (Conformance to ASTM-C534-07a). Refer to Appendix A, page SP 6. (Average six months usage for bidding purposes only - 4500 L/F) | VENDOR PRODUCT #: PRODUCT BRAND NAME: MSDS SHEETS WILL BE REQUIRED. R-Value: L/F per box: Price per L/F: |
| ITEM # - 501 PRODUCT: Roof Cement SPECIFICATIONS: Fiber reinforced mastic adhesive, applicable to wet/dry surfaces, remain flexible after application, applied with trowel. Purchase in 5 gallon cans, 5-25 gallons. (Average six months usage for bidding purposes only - 20 gallons) | VENDOR PRODUCT #: PRODUCT BRAND NAME: MSDS SHEETS WILL BE REQUIRED. Price per 5 gal: |

Initials

| ITEM # - 506 PRODUCT: Roof Patch SPECIFICATIONS: Dispenses with standard caulking gun, 10-11 oz. cartridges, adheres to metal and all typical roofing materials, working temperature 300-900 F. Must be able to apply to wet surfaces. (Comparable to Black Jack.) Purchase in lots of 12-60 tubes. (Average six months usage for bidding purposes only - 120 Tubes) | VENDOR PRODUCT #: PRODUCT BRAND NAME: MSDS SHEETS WILL BE REQUIRED. Tubes per box: Price per tube: |
| --- | --- |
| ITEM # - 600B PRODUCT: Gable End Vents SPECIFICATIONS: 12” X 12” overall dimension louvered with 1/8” screen. Minimum of 28 gauge, galvanized metal construction, recessed mount. Purchase in lots of 6-12 vents. (Average six months usage for bidding purposes only - 30 Vents) | VENDOR PRODUCT #: PRODUCT BRAND NAME: Price each: |
| ITEM # - 600D PRODUCT: Gable End Vents SPECIFICATIONS: 14” X 24” overall dimension louvered with 1/8” screen. Minimum of 28 gauge, galvanized metal construction, recessed mount. Purchase in lots of 6-12 vents. (Average six months usage for bidding purposes only - 30 Vents) | VENDOR PRODUCT #: PRODUCT BRAND NAME: Price each: |

Initials

| ITEM # - 703B PRODUCT: 2 1/4" Window Casing SPECIFICATIONS: Streamline style, pine, (finger-jointed), 7' lengths. Specify price per linear foot. Purchase in lots of 100-400 feet. (Average six months usage for bidding purposes only –100-400 L/F) | VENDOR PRODUCT #: PRODUCT BRAND NAME: Price per L/F: |
| --- | --- |
| ITEM # - 750B PRODUCT: 1" X 2" Lumber SPECIFICATIONS: 5/8" X 1 3/4", (finger jointed), pine, 8' lengths. Purchase in lots of 200-800 linear feet. (Average six months usage for bidding purposes only - 1000 L/F) | VENDOR PRODUCT #: PRODUCT BRAND NAME: Price per L/F: |
| ITEM # - 751B PRODUCT: 1" X 4" Lumber SPECIFICATIONS: Pine, 8' lengths, (finger-jointed). Specify price per linear foot. Purchase in lots of 100-400 linear feet. (Average six months usage for bidding purposes only - 1000 L/F) | VENDOR PRODUCT #: PRODUCT BRAND NAME: Price per L/F: |
| ITEM # - 753B PRODUCT: 1" X 6" Lumber SPECIFICATIONS: Pine, 8' lengths, (finger-jointed). Specify price per linear foot. Purchase in lots of 100-400 linear feet. (Average six months usage for bidding purposes only - 600 L/F) | VENDOR PRODUCT #: PRODUCT BRAND NAME: Price per L/F: |

Initials

| ITEM # - 761B PRODUCT: 2" X 4" Lumber SPECIFICATIONS: Fur, 8' lengths, (standard or better). Specify price per linear foot. Purchase in lots of 40-160 linear feet. (Average six months usage for bidding purposes only - 500 L/F) | VENDOR PRODUCT #: PRODUCT BRAND NAME: Price per L/F: |
| --- | --- |
| ITEM # - 772B PRODUCT: 1/2" Treated Plywood SPECIFICATIONS: 4' X 8' sheets, 1/2" all-weather wood plywood. Purchase in lots of 5-10 sheets. (Average six months usage for bidding purposes only - 25 Sheets) | VENDOR PRODUCT #: PRODUCT BRAND NAME: MSDS SHEETS WILL BE REQUIRED. Price per sheet: |
| ITEM # - 773B PRODUCT: 3/4" Plywood SPECIFICATIONS: Shop grade plywood. 4'x8' sheets. Purchase in lots of 1-10. (Average six months usage for bidding purposes only - 10 sheets) | VENDOR PRODUCT #: PRODUCT BRAND NAME: Price per sheet: |
| ITEM # - 775B PRODUCT: 1/2" Plywood SPECIFICATIONS: CDX Plywood, 4' X 8' sheets. Purchase in lots of 1-10 sheets. (Average six months usage for bidding purposes only - 24 Sheets) | VENDOR PRODUCT #: PRODUCT BRAND NAME: Price per sheet: |

Initials

| ITEM # - 776B PRODUCT: 1/2" Gypsum Board SPECIFICATIONS: 4' X 8' sheets. Purchase in lots of 1-10 sheets. Must meet Fire Codes Conformance to FS HH-I-1972/3. (Average six months usage for bidding purposes only - 40 sheets) | VENDOR PRODUCT #: PRODUCT BRAND NAME: MSDS SHEETS WILL BE REQUIRED. Price per sheet: |
| --- | --- |
| ITEM # - 785B PRODUCT: Wood Lath SPECIFICATIONS: 3/8" X 1 1/2" X 48" long wood lath strips. Fifty pieces per bundle. Purchase in lots of 5-20 bundles. (Average six months usage for bidding purpose only - 100 bundles) | VENDOR PRODUCT #: PRODUCT BRAND NAME: Pieces per bundle: Price per bundle: |
| ITEM # - 851 PRODUCT: Double Strength Glass SPECIFICATIONS: 4' X 7' lites. Purchase in lots of 5-10 sheets. Federal Specification ASTM C1036-06 (Average six months usage for bidding purposes only - 1 Crate) | VENDOR PRODUCT #: PRODUCT BRAND NAME: Price per lite: |
| ITEM # - 954 PRODUCT: 3/4" x #8 Hex head Screws SPECIFICATIONS: Rust proof with slotted heads. Must be in boxes of 100 screws per box. Purchase in lots of 20-100 boxes. (Average six months usage for bidding purposes only - 100 Boxes) | VENDOR PRODUCT #: PRODUCT BRAND NAME: Price per box of 100: |

Initials

| ITEM # - 955 PRODUCT: 1 1/2" X #8 Hexhead Screws SPECIFICATIONS: Rust proof with slotted heads. Must be in boxes of 100 screws per box. Purchase in lots of 20-100 boxes. (Average six months usage for bidding purposes only - 50 Boxes) | VENDOR PRODUCT #: PRODUCT BRAND NAME: Price per box of 100: |
| --- | --- |

Initials

| ITEM # - Specials PRODUCT: Replacement Vinyl Windows SPECIFICATIONS: In conformance with specifications on SP 3 of Appendix A. Glazed with 3/4" insulated, Low-E glass, screens provided with all sliding and casement units, minimum 1" fins, custom sizes available, (made to size). Price the sizes listed to the right using the multiplier. Bid award will be determined on an average price per square foot. Please Note Vinyl Casement Window Request for Bid PRODUCT: Vinyl Casement Windows SPECIFICATIONS: Casement to include hardware to crank window in/out, with Egress Hinges, and Low-E glass. | VENDOR PRODUCT #: PRODUCT BRAND NAME: Type of Frame:___________ Multiplier:_______________ Window price sheet must be enclosed. HS 34" x 36"_____________ HS 22" x 14"_____________ XOX 78" x 28"___________ Pic.44" x 44"_____________ VS 28" x 38"_____________ (Obscure) HS 36" x 34" ____________ (Obscure) Casement with Egress Hinges Multiplier: ______________ 30" x 40" _______________ 36" x 54" _______________ |
| --- | --- |

Signature						Date