WEATHERIZATION BASKET BUILDING MATERIALS PRICING QUOTE

All materials used in provision of services must meet or exceed 10 CFR 440

Appendix A: “Standards for Weatherization Services”

Vendor is responsible for providing materials to the required specifications and includes Material Safety Data Sheets (MSDS) where applicable.  If at any time the product fails to meet specifications, Agency reserves the right to cancel all orders for bid period.

Material purchases will be based on a per job work order and prices guaranteed for ________ months after notice to proceed order to commence.

Detailed below is a list of materials that represents standard materials used for a typical job.  The purpose of the quotation is to identify a designated vendor(s) that can provide the materials at the lowest cost to the agency.  Price to include taxes (If Applicable).

| Description of Materials | Unit Cost | Quantity | Total Cost |
| --- | --- | --- | --- |
| Duct Mastic – 1 gallon bucket |  | 2 |  |
| Blown cellulose 27lbs. bag |  | 30 bags |  |
| Caulk – siliconized latex 11 oz cartridge |  | 5 tubes |  |
| Air filters – Natural fiber re-usable & washable filter 20” x 20” x 1” |  | 1filter |  |
| Black Visqueen (Polyethylene) 6 mil. Thickness, 10’ x 100’ roll |  | 1 roll |  |
| Gable end louvered vents 14” x 24” recessed mount, 28 gauge galvanized |  | 2 |  |
| Vinyl Weather-strip Kit |  | 2 |  |
| Plywood 4’ x 8’ x ½” sheet, cdx grade |  | 1 sheet |  |
| Smoke Detector, 9 volt battery |  | 1 |  |
| CO Detector, 110 volt plug-in w/9 volt battery |  | 1 |  |
| Glazing, 24” x 24” piece of double strength glass (4 sq. ft.) |  | 1 pcs. |  |
| Glazing compound, 11 oz tube |  | 1 tube |  |
| R 30 X 16” kraft faced fiberglass |  | 14 rolls |  |
| Compact Fluorescent Bulb (18 watt) |  | 5 bulbs |  |
| Lockset- keyed entrance (adjustable) |  | 1 |  |
|  |  | Total Cost |  |

Signature						Date