SMOKE AND CARBON MONOXIDE ALARMS

SPECIFICATIONS AND PRICING QUOTE

All materials used in provision of services must meet or exceed 10 CFR 440

Appendix A: “Standards for Weatherization Services”

Contractor is responsible for leaving the job site clean and hauling away job debris.

Project commencement and completion must be accomplished within _________ working days of notice to proceed.

REPLACEMENT:  Contractor must include permit fees (if applicable), sales taxes, labor and materials to complete project.

| ITEM 1: SMOKE DETECTOR (Brand: ) |  |
| --- | --- |
| Description of Scope of Work | Unit Price |
| Smoke detector with 9 volt battery | CONTRACTOR’s BID AMOUNT $ |

| ITEM 2: CARBON MONOXIDE (CO) (Brand: ) |  |
| --- | --- |
| Description of Scope of Work | Unit Price |
| Electric plug in with battery backup CO detector | CONTRACTOR’s BID AMOUNT $ |

==================================================================

REPAIRS:  Provide labor rate per hour for general repairs.

| GENERAL REPAIRS |  |
| --- | --- |
| Labor Rate Per Hour | $ |

Materials will be reimbursed at actual cost with an allowance for handling of materials at a percentage of actual cost.  Contractor will be required to submit the copy of the actual receipt with all reimbursement requests.

Handling Cost % of actual materials cost.

Signature						Date

WATER HEATERS SPECIFICATIONS AND PRICING QUOTE

All materials used in provision of services must meet or exceed 10 CFR 440 Appendix A: “Standards for Weatherization Services”

All new water heater installations are to be performed in accordance with the most recent local building codes.

Permits will be required as applicable by local building code. It will be the responsibility of the Contractor to ensure that necessary permits have been secured prior to starting work. This cost must be included in each line item price below.

The Contractor shall be responsible for ensuring properly sized gas lines, combustion air, venting, pressure release valves, and proper electrical requirements. The Contractor shall leave all literature on the new units with the client and shall also inform the client of proper care and maintenance required on the new units.

Contractor is responsible for leaving the job site clean, hauling away job debris, and existing equipment (if applicable) and for properly disposing of existing equipment to meet EPA regulations.

Project commencement and completion must be accomplished within _________ working days of notice to proceed.

Please list the Manufacturer brand name and model you will be using for the scope of work listed below.

Water Heater Unit Brand:

Contractor is responsible for hauling away existing equipment and for properly disposing of existing equipment. Contractor must include permit fees, sales taxes, labor and materials to complete project.

REPLACEMENT: Contractor must include permit fees (if applicable), sales taxes, labor and materials to complete project.

| ITEM 1: GAS WATER HEATER |  |  |
| --- | --- | --- |
| Description of Scope of Work |  | Unit Price |
| 1.1 | 40 Gallon | CONTRACTOR’s BID AMOUNT $ |

| ITEM 2: ELECTRIC WATER HEATERS |  |  |
| --- | --- | --- |
| Description of Scope of Work |  | Unit Price |
| 2.1 | 30 Gallon | CONTRACTOR’s BID AMOUNT $ |
| 2.2 | 40 Gallon | $ |
| 2.3 | 50 Gallon | $ |

| ITEM 3: MANUFACTURED HOME HOT WATER HEATER |  |  |
| --- | --- | --- |
| Description of Scope of Work |  | Unit Price |
| 3.1 | 40 Gallon | CONTRACTOR’s BID AMOUNT $ |

| Hot Water Heater Wrap (R- ) | $ per hot water heater |
| --- | --- |

==================================================================

REPAIRS:  Provide labor rate per hour for water heater repairs.

| HOT WATER HEATER REPAIRS |  |
| --- | --- |
| Labor Rate Per Hour | $ |

Materials will be reimbursed at actual cost with an allowance for handling of materials at a percentage of actual cost.  Contractor will be required to submit the actual receipt with all reimbursement requests.

Handling Cost % of actual materials cost.

Signature						Date