CHANGES FROM PROPOSED RULE TO FINAL RULE

LSA Doc #15-424; IURC RM #15-04

The IURC received one oral and one written comment.  Lorraine Hitz-Bradley, Deputy Consumer Counselor with the OUCC, provided those comments; the written and oral comments are substantially similar.    Ms. Hitz-Bradley made two recommendations:

- In 170 IAC 5-3-0.6, change “July 1, 2015” to “March 1, 2016.”

- In 170 IAC 5-3-2(9), remove “in” as a repeated word.

The Commission accepts these comments and hereby incorporates them as follows:

170 IAC 5-3-0.6

Proposed Rule:

The commission hereby adopts the gas pipeline safety regulations of the United States Department of Transportation contained in 49 CFR Parts 40, 191, 192, 193, 194, 195, 198, and 199, as of July 1, 2015, as augmented by the Indiana specific regulations found in section 2 of this rule.

Final Rule:

The commission hereby adopts the gas pipeline safety regulations of the United States Department of Transportation contained in 49 CFR Parts 40, 191, 192, 193, 194, 195, 198, and 199, as of July 1, 2015 March 1, 2016, as augmented by the Indiana specific regulations found in section 2 of this rule.

170 IAC 5-3-2(9)

Proposed Rule:

(9) Uprating: Steel Pipelines to a Pressure That Will Produce a Hoop Stress less than 30 Percent of SMYS; Plastic, Cast Iron and Ductile Iron Pipelines (49 CFR 192.557).  In in addition to the language contained in 49 CFR 192.557 except for paragraph (b)(5), in Indiana, paragraph (b)(5) shall read as follows:

(b)(5) Isolate by physical separation all mains between the segment of pipeline in which the pressure is to be increased from an adjacent segment that will continue to be operated at the lower pressure, except the mains that are required to supply through a pressure regulator (with approved overpressure protection designed in accordance with Section 192.195), the adjacent segment that will continue to be operated at the lower pressure; and

Final Rule:

(9) Uprating: Steel Pipelines to a Pressure That Will Produce a Hoop Stress less than 30 Percent of SMYS; Plastic, Cast Iron and Ductile Iron Pipelines (49 CFR 192.557).  In in addition to the language contained in 49 CFR 192.557 except for paragraph (b)(5), in Indiana, paragraph (b)(5) shall read as follows:

(b)(5) Isolate by physical separation all mains between the segment of pipeline in which the pressure is to be increased from an adjacent segment that will continue to be operated at the lower pressure, except the mains that are required to supply through a pressure regulator (with approved overpressure protection designed in accordance with Section 192.195), the adjacent segment that will continue to be operated at the lower pressure; and