Standard Inspection Form

O&M with Indiana Codes Incorporated

Master Meter Operator

# Inspection Information

| Inspectors: |  |  |  | Inspection ID #’s |  |
| --- | --- | --- | --- | --- | --- |
| Name of Operator: |  |  |  | OPID: |  |
| Inspection Unit: |  |  |  |  |  |
| Address: | Executive’s mailing address for Letters: Inspection Location: |  |  |  |  |
| Contact Person: | Executive/Responsible Person: Lead Interviewee: |  |  |  |  |
| Phone Number | Executive/Responsible Person: Lead Interviewee: |  |  |  |  |
| Email: | Executive/Responsible Person: Lead Interviewee: |  |  |  |  |
| Inspection Years |  |  |  |  |  |
| Prior Inspection # |  | Prior Inspection Notes | Please Note any previous violations/AOC’s that have NOT been RESOLVED yet. |  |  |
| Date(s) of Inspection: |  | Inspection Summary | Things like violations found during this inspection go here. |  |  |
| Exit Interview Date |  | Exit Interview Details |  |  |  |

# Procedures - Reporting

## P1. Immediate Reporting: Incidents

Is there a process to immediately report incidents to the National Response Center? 191.5(b) (191.7). Also refer to 170 IAC 5-3-4(b) must report at earliest practicable moment. Records Question is R4. Immediate Reporting: Incidents S; U; Concern; NA; NC.

Notes:

## P2. Incident Reports

Does the process require preparation and filing of an incident report as soon as practicable but no later than 30 days after discovery of a reportable incident? 191.15(a) Also refer to 170 IAC 5-3-4(c) must report within 20 days to commission. Records Question is: R5. Incident Reports S; U; Concern; NA; NC.

Notes:

## P3. Supplemental Incident Reports

Does the process require preparation and filing of supplemental incident reports? 191.15(c) Records Question is: R6. Supplemental Incident Reports S; U; Concern; NA; NC.

Notes:

## P4. National Registry of Pipeline and LNG Operators (OPID)

Does the process require the obtaining, and appropriate control, of Operator Identification Numbers (OPIDs)? 191.22 Records Question is R3. National Registry of Pipeline and LNG Operators (OPID) S; U; Concern; NA; NC.

Notes:

## P5. Annual Reports

Does the operator have procedures on filing their annual report in accordance with 170 IAC? 170 IAC 5-3-4(e)(3) Records Question is R1. Annual Report Records S; U; Concern; NA; NC.

Notes:

## P6. Construction Notice

Does the operator have procedures on notifying IURC of any construction that is significant to the operator? 170 IAC 5-3-4(e)(4) Records Question is R2. Construction Notice S; U; Concern; NA; NC.

Notes:

## P7. Service Interruption Report

Does the process include instructions and criteria for service interruption reporting to the IURC? 170 IAC 5-3-4(d) Records Question is R8. Service Interruption Report S; U; Concern; NA; NC.

Notes:

# Procedures – Emergency Operations

## P8. Receiving Notices

Does the emergency plan include procedures for receiving, identifying, and classifying notices of events which need immediate response? 192.615(a)(1) S; U; Concern; NA; NC.

Notes:

## P9. Emergency Response Communication

- Does the emergency plan include procedures for establishing and maintaining adequate means of communication with appropriate fire, police, and other public officials? 192.615(a) (192.615(a)(2)) S; U; Concern; NA; NC.

Notes:

## P10. Emergency Response

Does the emergency plan include procedures for making a prompt and effective response to a notice of each type of emergency, including gas detected inside or near a building, a fire or explosion near or directly involving a pipeline facility, or a natural disaster? 192.615(a) (192.615(a)(3); 192.615(a)(11); 192.615(b)(1)) 170 IAC 5-3-2.2 Calibration of Instruments. S; U; Concern; NA; NC.

Notes:

## P11. Emergency Response – Availability of Personnel/Equipment

Does the process include procedures for ensuring the availability of personnel, equipment, tools, and materials as needed at the scene of an emergency? 192.615(a) (192.615(a)(4)) S; U; Concern; NA; NC.

Notes:

## P12. Emergency Response - Actions

Does the emergency plan include procedures for taking actions directed toward protecting people first and then property? 192.615(a) (192.615(a)(5)) S; U; Concern; NA; NC.

Notes:

## P13. Emergency Response – Shutdown of the Pipeline

Does the emergency plan include procedures for the emergency shutdown or pressure reduction in any section of pipeline system necessary to minimize hazards to life or property? 192.615(a) (192.615(a)(6)) S; U; Concern; NA; NC.

Notes:

## P14. Emergency Response - Hazards

Does the emergency plan include procedures for making safe any actual or potential hazard to life or property? 192.615(a) (192.615(a)(7)) 170 IAC 5-3-2.2 Calibration of Instruments. S; U; Concern; NA; NC.

Notes:

## P15. Emergency Response - Designated Persons Notify 911

Does the emergency plan define the operator’s designated person(s) (e.g., controller or other personnel) responsible to directly notify 911 or the phone number of appropriate local emergency officials to report emergencies and possible pipeline ruptures to first responder agencies/authorities? 192.615(a) (192.615(a)(8);NTSB P-11-9) S; U; Concern; NA; NC.

Notes:

## P16 Service Outage Restoration

Does the emergency plan include procedures for safely restoring any service outage? 192.615(a) (192.615(a)(9)) also refer to 170 IAC 5-3-2(e) S; U; Concern; NA; NC.

Notes:

## P17. Emergency Response Training

Does the process include training of the appropriate operating personnel to assure they are knowledgeable of the emergency procedures and verifying that the training is effective? 192.615(b)(2) Records Question is R10. Emergency Response Training S; U; Concern; NA; NC.

Notes:

## P18. Emergency Response Performance

Does the process include detailed steps for reviewing employee activities to determine whether the procedures were effectively followed in each emergency? 192.615(b)(3) Records Question is R9. Emergency Response Performance S; U; Concern; NA; NC.

Notes:

## P19. Liaison with Public Officials

Does the process include steps for establishing and maintaining liaison with appropriate fire, police and other public officials and utility owners? 192.615(c) (192.615(c)(1); 192.615(c)(2); 192.615(c)(3); 192.615(c)(4); ADB-05-03) Records Question is R11. Liaison with Public Officials S; U; Concern; NA; NC.

Notes:

# Procedures – Normal Operations

## P20. Normal Maintenance and Operations – Manual Review

Does the process include a requirement to review the manual at intervals not exceeding 15 months, but at least once each calendar year? 192.605(a) Records Question is R20. Normal Maintenance and Operations – Manual Review S; U; Concern; NA; NC.

Notes:

## P21. Normal Operations and Maintenance Procedures - History

Does the process include requirements for making construction records, maps and operating history available to appropriate operating personnel? 192.605(a) (192.605(b)(3)) Records Question is R21. Normal Operations and Maintenance Procedures - History S; U; Concern; NA; NC.

Notes:

## P22. Normal Operations and Maintenance Procedures – Maps

Does the process include requirements maintain maps of their system in compliance with code? 170 IAC 5-3-2-2.1 Records Question is R24. Normal Operations and Maintenance Procedures – Maps S; U; Concern; NA; NC.

Notes:

## P23. Normal Operations and Maintenance Procedures – File a Copy

Does the process include requirements for filing a copy of the plan with the IURC within 20 days? 170 IAC 5-3-2(d) Records Question is R23. Normal Operations and Maintenance Procedures – File A Copy S; U; Concern; NA; NC.

Notes:

## P24. Normal Operations and Maintenance Procedures – Startup/Shutdown

Does the process include procedures for starting up and shutting down any part of the pipeline in a manner to assure operation with the MAOP limits, plus the build-up allowed for operation of pressure-limiting and control devices? 192.605(a) (192.605(b)(5)) 170 IAC 5-3-2.2 Calibration of Instruments. S; U; Concern; NA; NC.

Notes:

## P25. Normal Operations and Maintenance Procedures - Review

Does the process include requirements for periodically reviewing the work done by operator personnel to determine the effectiveness, and adequacy of the procedures used in normal operations and maintenance and modifying the procedures when deficiencies are found? 192.605(a) (192.605(b)(8)) Records Question is R22. Normal Operations and Maintenance Procedures - Review S; U; Concern; NA; NC.

Notes:

## P26. Safety While Making Repairs

Does the process ensure that repairs are made in a safe manner and are made so as to prevent damage to persons and property? 192.605(b)(9) S; U; Concern; NA; NC.

Notes:

## P27. Gas Odor Response (detail)

Does the process require prompt response to the report of a gas odor inside or near a building? 192.605(a) (192.605(b)(11)) also refer to 170 IAC 5-3-(p)(e) and 170 IAC 5-3-2(p)(f) Records Question is R27. Leakage Surveys S; U; Concern; NA; NC.

Notes:

## P28. Continuing Surveillance

Does the process include procedures for performing continuing surveillance of pipeline facilities, and also for reconditioning, phasing out, or reducing the MAOP in a pipeline segment that is determined to be in unsatisfactory condition but on which no immediate hazard exists? 192.605(e) (192.613(a); 192.613(b); 192.703(b); 192.703(c)) Records Question is R29. Continuing Surveillance S; U; Concern; NA; NC.

Notes:

# Procedures – Pressure Testing, Tapping, Purge, and Abandonment

## P29. Test Acceptance Criteria and Procedures

Were test acceptance criteria and procedures sufficient to assure the basis for an acceptable pressure test? 192.503(a) (192.503(b); 192.503(c); 192.503(d); 192.509; 192.511, 192.513 and refer to 170 IAC 5-3-2(i) 170 IAC 5-3-2(j), & IAC 170 5-3-2(k) 170 IAC 5-3-2.2 Calibration of Instruments.) Records Questions are R12. Strength Test Requirements for Operations < 100 psig, R13. Test Requirements for Service Lines - Steel, & R14. Test Requirements for Plastic Pipe S; U; Concern; NA; NC.

Notes:

## P30. Test Reinstated Service Lines

Is the process adequate for the testing of disconnected service lines? 192.605(b) (197.725(a); 197.725(b)) 170 IAC 5-3-2(k) 170 IAC 5-3-2.2 Calibration of Instruments. Records Question is R16. Test Reinstated Service Lines S; U; Concern; NA; NC.

Notes:

## P31. Tapping Pipelines under Pressure

Is the process adequate for tapping pipelines under pressure? 192.605(b)(1) (192.627) Records Question is R15. Tapping Pipelines Under Pressure S; U; Concern; NA; NC.

Notes:

## P32. Pipeline Purging

Does the process include requirements for purging of pipelines in accordance with 192.629? 192.605(b)(1) (192.629(a); 192.629(b)) 170 IAC 5-3-2.2 Calibration of Instruments. Records Question is R15-R18 Pressure Testing and R17. Abandonment or Deactivation of Pipeline and Facilities S; U; Concern; NA; NC.

Notes:

## P33. Abandonment or Deactivation of Pipe and Facilities

Does the process include procedures for the abandonment and deactivation of pipelines that are in accordance with 192.727? 192.605(b)(1) (192.727(a); 192.727(b); 192.727(c); 192.727(d); 192.727(e); 192.727(f); 192.727(g)) 170 IAC 5-3-2.2 Calibration of Instruments. Records Question is R17. Abandonment or Deactivation of Pipeline and Facilities S; U; Concern; NA; NC.

Notes:

## P34. Prevention of Accidental Ignition

Does the manual include procedures for minimizing the danger of accidental ignition where gas constitutes a hazard of fire or explosion? 192.605(b)(1) (192.751(a); 192.751(b); 192.751(c)) Records Question is R18. Prevention of Accidental Ignition S; U; Concern; NA; NC.

Notes:

# Procedures – Odorization, Patrols, Leak Surveys & Valves

## P35. Odorization of Gas

Does the process ensure appropriate odorant levels are contained in its combustible gases in accordance with 192.625? 192.605(b)(1) (192.625(f)) 170 IAC 5-3-2.2 Calibration of Instruments. Records Question is R25. Odorization of Gas S; U; Concern; NA; NC.

Notes:

## P36. Patrolling Requirements

Does the process adequately cover the requirements for patrolling the system and reporting conditions? 192.721 (192.721(a); 192.721(b) Records Question is R25. Odorization of Gas S; U; Concern; NA; NC.

Notes:

## P37. Leakage Surveys

Does the process adequately cover the requirements for conducting leak surveys of the system? 192.723(a); 192.723(b) Also refer to 170 IAC 5-3-2(p) 170 IAC 5-3-2.2 Calibration of Instruments. Records Question is R27. Leakage Surveys S; U; Concern; NA; NC.

## P38. Valve Maintenance Distribution Lines

Does the process include procedures for inspecting and partially operating each distribution system valve that might be required in an emergency at intervals not exceeding 15 months, but at least once each calendar year and for taking prompt remedial action to correct any valve found inoperable? 192.605(b)(1) (192.747(a); 192.747(b)) Records Question is R28. Valve Maintenance Distribution Lines Field Review Questions are F1. Valve Maintenance Distribution Lines S; U; Concern; NA; NC.

Notes:

# Procedures – Cathodic Protection

## P39 . Cathodic Protection Monitoring

| Does the process adequately describe how to monitor CP that has been applied to pipelines as well as acceptable criteria for monitoring the CP? 192.605(b)(2); 192.465 (a); 192.463(a) 192.463(c) Records Question is R30 Cathodic Protection Monitoring S; U; Concern; NA; NC. |  |
| --- | --- |
| Notes: |  |

## P40 . Examination of Exposed Portions of Buried Pipe

| Does the process require that exposed portions of buried pipeline must be examined for external corrosion? 192.605(b)(2); 192.459) Records Question is R19 Examination of Exposed Portions of Buried Pipe S; U; Concern; NA; NC. |  |
| --- | --- |
| Notes: |  |

## P41. Atmospheric Corrosion

| Does the process give adequate instruction for the inspection of aboveground pipeline segments for atmospheric corrosion as well as provide guidance on how to protect above ground piping? 192.605(b)(2); 192.481(a); 192.481(b) 192.481(c); 192.479(a); 192.479(b); 192.479(c) Records Question is R32. Atmospheric Corrosion Monitoring Field Review Question is F2. Atmospheric Corrosion Monitoring S; U; Concern; NA; NC. |  |
| --- | --- |
| Notes: |  |

# Procedures Public Awareness & Damage Prevention

## P42 Public Awareness Messaging

| Does the public awareness program for a master meter or petroleum gas system meet the requirements of Part 192? 192.616(j); 192.616(h) Records Question is R34 Public Awareness S; U; Concern; NA; NC. |  |
| --- | --- |
| Notes: |  |

## P43 Damage Prevention Program

| Does the process require participation in qualified one-call systems? 192.614(b) and IC 8-1-26-15 Records Question is R33 Damage Prevention S; U; Concern; NA; NC. |  |
| --- | --- |
| Notes: |  |

## P44 Damage Prevention Program - Construction Marking

| Does the process require accurately marking proposed excavation sites within 2 full working days and marking in yellow paint and flags? 192.614(c)(5) and IC 8-1-26-18 Records Question is R33 Damage Prevention S; U; Concern; NA; NC. |  |
| --- | --- |
| Notes: |  |

# Records – Regulatory Reporting Performance

## R1. Annual Report Records

Have complete and accurate Annual Reports been submitted? 170 IAC 5-3-4(e)(3) S; U; Concern; NA; NC.

Notes:

## R2. Construction Notice

Does the operator have procedures on notifying IURC of any construction that is significant to the operator? 170 IAC 5-3-4(e)(4) Procedures Question is P6. Construction Notice S; U; Concern; NA; NC.

Notes:

## R3. National Registry of Pipeline and LNG Operators (OPID)

Do records indicate appropriate control of Operator Identification Numbers (OPIDs), including changes in entity, acquisition/divestiture, and construction/update/uprate, and the National Registry of Pipeline and LNG Operators has been notified of applicable changes? 191.22(a) (191.22(c);191.22(d)) Procedures Question is P4. National Registry of Pipeline and LNG Operators (OPID) S; U; Concern; NA; NC.

Notes:

# Records - Incidents and Emergency Response

## R4. Immediate Reporting: Incidents

Do records indicate immediate notifications of incidents were made in accordance with 191.5? 191.5(a) (191.7(a)) and 170 IAC 5-3-4(b) Procedures Question is P1. Immediate Reporting: Incidents S; U; Concern; NA; NC.

Notes:

## R5. Incident Reports

Do records indicate reportable incidents were identified and reports were submitted to DOT on Form 7100.2 (01-2002) within the required timeframe? 191.5(a) Procedures Question is P2. Incident Reports S; U; Concern; NA; NC.

Notes:

## R6. Supplemental Incident Reports

Do records indicate accurate supplemental incident reports were filed and within the required timeframe? 191.5(c) Procedures Question is P3. Supplemental Incident Reports S; U; Concern; NA; NC.

Notes:

## R8. Service Interruption Report

Does the process include instructions and criteria for service interruption reporting to the IURC? 170 IAC 5-3-4(d) Procedures Question is P7. Service Interruption Report S; U; Concern; NA; NC.

Notes:

## R9. Emergency Response Performance

| Do records indicate review of employee activities to determine whether the procedures were effectively followed in each emergency? 192.605(a) (192.615(b)(1); 192.615(b)(3)) Procedures Question is P18. Emergency Response Performance |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| S |  | U | Concern | NA | NC |
| Notes |  |  |  |  |  |  |  |  |

## R10. Emergency Response Training

Has the operator trained the appropriate operating personnel on emergency procedures and verified that the training was effective in accordance with its procedures? 192.605(a) (192.615(b)(2)) Procedures Question is P17. Emergency Response Training S; U; Concern; NA; NC.

Notes:

## R11. Liaison with Public Officials

Do records indicate liaisons established and maintained with appropriate fire, police and other public officials and utility owners in accordance with procedures? 192.605(a) (192.615(c)(1); 192.615(c)(2); 192.615(c)(3); 192.615(c)(4); ADB-05-03) Procedures Question is P19. Liaison with Public Officials S; U; Concern; NA; NC.

Notes:

# Records – Construction Performance

## R12. Strength Test Requirements for Operations < 100 psig

Do records indicate that pressure testing is conducted in accordance with 192.509(a)? 192.517(a) (192.509(a); 192.509(b)) 170 IAC 5-3-2.2 Calibration of Instruments. Procedures Question is P29. Test Acceptance Criteria and Procedures S; U; Concern; NA; NC.

Notes:

## R13. Test Requirements for Service Lines - Steel

| Do records indicate that pressure testing is conducted in accordance with 192.511? 192.517(b) (192.511(a) 192.511(b) 192.511(c)) 170 IAC 5-3-2.2 Calibration of Instruments. Procedures Question is P29. Test Acceptance Criteria and Procedures |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Sat+ | Sat | Concern | Unsat | NA | NC |  |  |
| Notes |  |  |  |  |  |  |  |

## R14. Test Requirements for Plastic Pipe

Do records indicate that pressure testing is conducted in accordance with 192.513? 192.517(a) (192.513(a); 192.513(b); 192.513(c); 192.513(d)) 170 IAC 5-3-2.2 Calibration of Instruments. 170 IAC 5-3-2(i), 170 IAC 5-3-2(j), & IAC 170 5-3-2(k) Procedures Question is P29. Test Acceptance Criteria and Procedures S; U; Concern; NA; NC.

Notes:

## R15. Tapping Pipelines Under Pressure

Do records indicate personnel followed procedures for tapping pipelines under pressure? 192.627 Procedures Question is P31. Tapping Pipelines under Pressure S; U; Concern; NA; NC.

Notes:

## R16. Test Reinstated Service Lines

From the review of records, did the operator properly test disconnected service lines? 192.603(b) (192.725(a), 192.725(b)) 170 IAC 5-3-2.2 Calibration of Instruments. Procedures Question is P30. Test Reinstated Service Lines S; U; Concern; NA; NC.

Notes:

## R17. Abandonment or Deactivation of Pipeline and Facilities

Do records indicate pipelines were abandoned or deactivated as required? 192.709(c) (192.727(a); 192.727(b); 192.727(c); 192.727(d); 192.727(e); 192.727(f); 192.727(g)) 170 IAC 5-3-2.2 Calibration of Instruments. Procedures Question is P33. Abandonment or Deactivation of Pipe and Facilities S; U; Concern; NA; NC.

Notes:

## R18. Prevention of Accidental Ignition

Do records indicate personnel followed procedures for minimizing the danger of accidental ignition where the presence of gas constituted a hazard of fire or explosion? 192.709 (192.751(a); 192.751(b); 192.751(c)) Procedures Question is P34. Prevention of Accidental Ignition S; U; Concern; NA; NC.

Notes:

## R19 Examination of Exposed Portions of Buried Pipe

Do records adequately document that exposed buried piping was examined for corrosion? 192.491(c) (192.459) Procedures question is P40 . Examination of Exposed Portions of Buried Pipe S; U; Concern; NA; NC.. Notes:.

# Records - Operations and Maintenance Performance

## R20. Normal Maintenance and Operations – Manual Review

Has the operator conducted annual reviews of the written procedures in the manual as required? 192.605(a) Procedures Question is P20. Normal Maintenance and Operations – Manual Review S; U; Concern; NA; NC.

Notes:

## R21. Normal Operations and Maintenance Procedures - History

Are construction records, maps and operating history available to appropriate operating personnel? 192.605(a) (192.605(b)(3); 170 IAC 5-3-1(b)(3)) Procedures Question is P21. Normal Operations and Maintenance Procedures - History S; U; Concern; NA; NC.

Notes:

## R22. Normal Operations and Maintenance Procedures - Review

Do records indicate periodic review of the work done by operator personnel to determine the effectiveness, and adequacy of the procedures used in normal operations and maintenance and modifying the procedures when deficiencies are found? 192.605(a) (192.605(b)(8)) Procedures Question is P25. Normal Operations and Maintenance Procedures - Review S; U; Concern; NA; NC.

Notes:

## R23. Normal Operations and Maintenance Procedures – File A Copy

Does the process include requirements for filing a copy of the plan with the IURC within 20 days? 170 IAC 5-3-2-1(a)(5) Procedures Question is P23. Normal Operations and Maintenance Procedures – File a Copy S; U; Concern; NA; NC.

Notes:

## R24. Normal Operations and Maintenance Procedures – Maps

Does the process include requirements maintain maps of their system in compliance with code? 170 IAC 5-3-2-2(2)(10)(c) Procedures Question is P22. Normal Operations and Maintenance Procedures – Maps S; U; Concern; NA; NC.

Notes:

## R25. Odorization of Gas

Do records indicate appropriate odorization of its combustible gases in accordance with its procedures and conduct of the required testing to verify odorant levels met requirements? 192.709(c) (192.625(a); 192.625(b); 192.625(c); 192.625(d); 192.625(e); 192.625(f)) & 170 IAC 5-3-2.2 Calibration of Instruments. Procedures Question is P35. Odorization of Gas S; U; Concern; NA; NC.

Notes:

## R26. Patrolling Requirements

Do records indicate that distribution mains have been patrolled as required? 192.721(a), 192.721(b) Procedures Question is P36. Patrolling Requirements S; U; Concern; NA; NC.

Notes:

## R27. Leakage Surveys

Do records indicate leakage surveys were conducted as required? 192.603(b) (192.721(a); 192.721(b); 192.723(a); 192.723(b)) and 170 IAC 5-3-2(12) 170 IAC 5-3-2.2 Calibration of Instruments. Procedures Question is P37. Leakage Surveys S; U; Concern; NA; NC.

Notes:

## R28. Valve Maintenance Distribution Lines

Do records indicate proper inspection and partial operation of each distribution system valve that might be required in an emergency at intervals not exceeding 15 months, but at least once each calendar year, and prompt remedial action to correct any valve found inoperable? 192.603(b) (192.747) Procedures Question is P38. Valve Maintenance Distribution Lines Field Review questions are F1. Valve Maintenance Distribution Lines S; U; Concern; NA; NC.

Notes:

## R29. Continuing Surveillance

Does the process include procedures for performing continuing surveillance of pipeline facilities, and also for reconditioning, phasing out, or reducing the MAOP in a pipeline segment that is determined to be in unsatisfactory condition but on which no immediate hazard exists? 192.605(e) (192.613(a); 192.613(b); 192.703(b); 192.703(c)) Procedures Question is P28. Continuing Surveillance S; U; Concern; NA; NC.

Notes:

## R30 Cathodic Protection Monitoring

Do records adequately document cathodic protection monitoring tests have occurred as required? 192.491(c) (192.465(a)) Procedures Question is P39 . Cathodic Protection Monitoring S; U; Concern; NA; NC.

Notes:

## R31. Correction of Corrosion Control Deficiencies

Do records adequately document actions taken to correct any identified deficiencies in corrosion control? 192.491(c) (192.465(d)) S; U; Concern; NA; NC.

Notes:

## R32. Atmospheric Corrosion Monitoring

Do records document inspection of aboveground pipe for atmospheric corrosion? 192.491(c) (192.481(a); 192.481(b); 192.481(c)) Procedures Question is P41. Atmospheric Corrosion S; U; Concern; NA; NC.

Notes:

## R33 Damage Prevention

Do records indicate the public awareness program for a master meter or petroleum gas system operator has met the requirements of Part 192? 192.614 and IC 8-1-26-18 Procedures Question:P43 Damage Prevention Program & P44 Damage Prevention Program - Construction Marking S; U; Concern; NA; NC.

Notes:

## R34 Public Awareness

Do records indicate the public awareness program for a master meter or petroleum gas system operator has met the requirements of Part 192? 192.616(h) 192.616(h) Procedures Question is P42 Public Awareness Messaging S; U; Concern; NA; NC.

Notes:

## R35 Qualification Records for Personnel Performing Covered Tasks

Do records document the evaluation and qualifications of individuals performing covered tasks, and can the qualification of individuals performing covered tasks be verified? (TQ.OQ.RECORDS.R) 192.807 S; U; Concern; NA; NC.

Notes:

# Field Review

## F1. Valve Maintenance Distribution Lines

Is proper inspection being performed for each distribution system valve that might be required in an emergency, and prompt remedial action to correct any valves found inoperable? 192.747(a) (192.747(b)) Procedures Question is P38. Valve Maintenance Distribution Lines Records Question is R28. Valve Maintenance Distribution Lines S; U; Concern; NA; NC.

Notes:

## F2.  Atmospheric Corrosion Monitoring

Is pipe that is exposed to atmospheric corrosion protected? 192.481(b) (192.481(c); 192.479(a); 192.479(b); 192.479(c)) Procedures Question is P41. Atmospheric Corrosion Records Question is R33. Atmospheric Corrosion Monitoring S; U; Concern; NA; NC.

Notes: