| Spectrophotometer – Total Nitrogen (If all samples are preserved) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Nitrogen Results - Hach Methods 10242 and 10206, TNTplus 880 and TNTplus 835 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  |  | (A) |  |  | (B) |  |  |
| Analyst | Sample ID | Sample Date | Sample Time | Preservation Date | Preservation time | Nitrate sample filtered | Analysis Date | Analysis Time | Reagent TNTplus 880 0 to 16 mg/L TKN | Analysis Date | Analysis Time | Reagent TNTplus 835 0.23 to 13.50 mg/L NO3+NO2–N (Nitrate/Nitrite) | Calculation | Total Nitrogen |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Add A + B = Total Nitrogen |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Add A + B = Total Nitrogen |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Add A + B = Total Nitrogen |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Add A + B = Total Nitrogen |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Add A + B = Total Nitrogen |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Add A + B = Total Nitrogen |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Add A + B = Total Nitrogen |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Add A + B = Total Nitrogen |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Add A + B = Total Nitrogen |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Add A + B = Total Nitrogen |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Add A + B = Total Nitrogen |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  | Add A + B = Total Nitrogen |  |

If the result is outside the range for the TNTplus Reagent used, it must be analyzed again using a dilution or a TNTplus Reagent where the sample result is bracketed in the range.

All samples must be preserved by bringing the pH below 2 (using concentrated sulfuric acid) and storing at 6 degrees C.  Samples must be increased to pH 7 and room temperature before analysis.  If Nitrate/Nitrite is not preserved, use IDEM’s Total Nitrogen, NOT preserved samples bench sheet.

Created by:  Kim Rohr 3/13/25