## Sheet1
Actual Consumption from Utility Bills**
In CCF's
January | 11210
February | 7990
March | 9400
April | 3490
May | 1100
June | 360
July | 190
August | 390
September | 680
October | 3260
November | 4810
December | 9910
Total Calendar Year Consumption from Bills | 52790 | A
Exempt Percentage Calculation
Non-Heat Months - Acutal Consumption from Bills
June | 360
July | 190
August | 390
Total Consumption in Non-Heating Months | 940 | B
Total Non-Heat Months Annualized (B x 4) | 3760
Less: Taxable Equipment (from Below) Used All Year | 744.6
Estimated Production Use | 3015.4 | C
Estimated Exempt Perentage (C/A) | 5.712%
Taxable Equipment Used Annually
Description | BTU Rating |  | BTU's to CCF (BTU/100,000) | Hours/Day | Days/Year | Load Factor (25% Standard for Water Heaters) | CCF's per Year
Water heater | 34000 |  | 0.34 | 24 | 365 | 0.25 | 744.6
|  |  | 0 |  |  |  | 0
|  |  | 0 |  |  |  | 0
|  |  | 0 |  |  |  | 0
|  |  | 0 |  |  |  | 0
|  |  | 0 |  |  |  | 0
|  |  | 0 |  |  |  | 0
|  |  | 0 |  |  |  | 0
|  |  | 0 |  |  |  | 0
|  |  | 0 |  |  |  | 0
744.6
**Note: The table has been completed for reference. Please replace with actual.
**Do NOT type in the yellow highlighted cells. Formula's are highlighted in yellow.