## Resource Summary
All values in 2017$
Land-Based Wind
Operational Characteristics
Capacity Factor | 40%
| Unit | Scenario | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Fixed Operation and Maintenance Expenses | ($/kW-yr) | Low | 42.1477 | 41.4415 | 40.7354 | 40.0292 | 39.3231 | 38.6169 | 37.9108 | 37.2046 | 36.4985 | 35.7923 | 35.0862 | 34.38 | 33.8643 | 33.3486 | 32.8329 | 32.3172 | 31.8015 | 31.2858 | 30.7701 | 30.2544 | 29.7387 | 29.223 | 28.7073 | 28.1916 | 27.6759 | 27.1602 | 26.6445 | 26.1288 | 25.6131 | 25.0974 | 24.5817 | 24.066
|  | Mid | 42.8508 | 42.4962 | 42.1415 | 41.7869 | 41.4323 | 41.0777 | 40.7231 | 40.3685 | 40.0138 | 39.6592 | 39.3046 | 38.95 | 38.6579 | 38.3658 | 38.0736 | 37.7815 | 37.4894 | 37.1973 | 36.9051 | 36.613 | 36.3209 | 36.0288 | 35.7366 | 35.4445 | 35.1524 | 34.8603 | 34.5681 | 34.276 | 33.9839 | 33.6917 | 33.3996 | 33.1075
|  | Constant | 43.56 | 43.56 | 43.56 | 43.56 | 43.56 | 43.56 | 43.56 | 43.56 | 43.56 | 43.56 | 43.56 | 43.56 | 43.56 | 43.56 | 43.56 | 43.56 | 43.56 | 43.56 | 43.56 | 43.56 | 43.56 | 43.56 | 43.56 | 43.56 | 43.56 | 43.56 | 43.56 | 43.56 | 43.56 | 43.56 | 43.56 | 43.56
CapEx | ($/kW) | Low | 1535.4027 | 1498.0498 | 1460.6968 | 1423.3439 | 1385.9909 | 1348.638 | 1311.285 | 1273.9321 | 1236.5791 | 1199.2262 | 1161.8732 | 1124.5203 | 1113.1814 | 1101.6742 | 1089.9985 | 1078.1544 | 1066.142 | 1053.9612 | 1041.6119 | 1029.0943 | 1016.4083 | 1003.5539 | 990.531 | 977.3398 | 963.9802 | 950.4523 | 936.7559 | 922.8911 | 908.8579 | 894.6563 | 880.2864 | 865.748
|  | Mid | 1555.0622 | 1527.5389 | 1500.0157 | 1472.4925 | 1444.9693 | 1417.446 | 1389.9228 | 1362.3996 | 1334.8764 | 1307.3531 | 1279.8299 | 1252.3067 | 1240.8216 | 1229.2746 | 1217.6658 | 1205.9951 | 1194.2625 | 1182.4681 | 1170.6119 | 1158.6938 | 1146.7138 | 1134.672 | 1122.5683 | 1110.4027 | 1098.1753 | 1085.8861 | 1073.535 | 1061.122 | 1048.6472 | 1036.1105 | 1023.5119 | 1010.8516
|  | Constant | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086 | 1610.1086
Variable Operation and Maintenance Expenses | ($/MWh) | Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Mid | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Constant | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Utility-Scale Solar PV
Capacity Factor | 24% |  | 2019: ILR (DC to AC); 2021: Representative plant is Single Axis tracking
1.3
| Unit | Scenario | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Fixed Operation and Maintenance Expenses | ($/kW-yr) | Low | 11.3831 | 10.6802 | 10.2806 | 9.881 | 9.4814 | 9.0818 | 8.6822 | 8.2826 | 7.883 | 7.4834 | 7.0838 | 6.6842 | 6.4931 | 6.3019 | 6.1107 | 5.9196 | 5.7284 | 5.5833 | 5.4383 | 5.2932 | 5.1482 | 5.0031 | 4.9151 | 4.8271 | 4.7391 | 4.6512 | 4.5632 | 4.4933 | 4.4234 | 4.3535 | 4.2837 | 4.2138
|  | Mid | 12.9637 | 12.72 | 12.48 | 12.2267 | 11.9733 | 11.72 | 11.4667 | 11.2133 | 10.96 | 10.7067 | 10.4533 | 10.2 | 10.0869 | 9.9738 | 9.8608 | 9.7477 | 9.6346 | 9.5215 | 9.4084 | 9.2953 | 9.1823 | 9.0692 | 8.9711 | 8.8731 | 8.775 | 8.677 | 8.5789 | 8.4809 | 8.3829 | 8.2848 | 8.1868 | 8.0887
|  | Constant | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029 | 13.8029
CapEx | ($/kWac) | Low | 1250.0863 | 1172.8944 | 1129.0113 | 1085.1283 | 1041.2452 | 997.3621 | 953.479 | 909.596 | 865.7129 | 821.8298 | 777.9468 | 734.0637 | 713.0691 | 692.0745 | 671.0799 | 650.0853 | 629.0907 | 613.1605 | 597.2303 | 581.3 | 565.3698 | 549.4396 | 539.7771 | 530.1146 | 520.452 | 510.7895 | 501.127 | 493.4532 | 485.7795 | 478.1058 | 470.4321 | 462.7584
|  | Mid | 1423.6772 | 1396.9099 | 1370.5531 | 1342.732 | 1314.911 | 1287.0899 | 1259.2689 | 1231.4478 | 1203.6267 | 1175.8057 | 1147.9846 | 1120.1636 | 1107.7449 | 1095.3262 | 1082.9074 | 1070.4887 | 1058.07 | 1045.6513 | 1033.2326 | 1020.8139 | 1008.3952 | 995.9765 | 985.2092 | 974.4419 | 963.6745 | 952.9072 | 942.1399 | 931.3726 | 920.6053 | 909.838 | 899.0707 | 888.3033
|  | Constant | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817 | 1449.1817
Variable Operation and Maintenance Expenses | ($/MWh) | Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Mid | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Constant | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Battery Storage
Roundtrip Efficiency | 85% |  | 1.3 2021: For a 4-hour storage device with a 15-year life
| Unit | Scenario | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Fixed Operation and Maintenance Expenses | ($/kW-yr) | Low | 33.0774 | 29.0454 | 26.8274 | 24.6094 | 22.3914 | 20.1734 | 17.9554 | 16.7936 | 15.6317 | 14.4699 | 13.3081 | 12.1463 | 11.9086 | 11.671 | 11.4333 | 11.1957 | 10.9581 | 10.7204 | 10.4828 | 10.2451 | 10.0075 | 9.7698 | 9.5322 | 9.2945 | 9.0569 | 8.8193 | 8.5816 | 8.344 | 8.1063 | 7.8687 | 7.631 | 7.3934
|  | Mid | 34.6055 | 32.1016 | 30.5191 | 28.9366 | 27.354 | 25.7715 | 24.189 | 23.4029 | 22.6168 | 21.8307 | 21.0446 | 20.2585 | 20.0053 | 19.752 | 19.4988 | 19.2456 | 18.9924 | 18.7391 | 18.4859 | 18.2327 | 17.9794 | 17.7262 | 17.473 | 17.2197 | 16.9665 | 16.7133 | 16.46 | 16.2068 | 15.9536 | 15.7003 | 15.4471 | 15.1939
|  | High | 37.1094 | 35.9649 | 35.6539 | 35.343 | 35.032 | 34.721 | 34.4101 | 34.0991 | 33.7882 | 33.4772 | 33.1662 | 32.8553 | 32.7543 | 32.6533 | 32.5523 | 32.4514 | 32.3504 | 32.2494 | 32.1484 | 32.0475 | 31.9465 | 31.8455 | 31.7445 | 31.6436 | 31.5426 | 31.4416 | 31.3406 | 31.2397 | 31.1387 | 31.0377 | 30.9367 | 30.8358
CapEx | ($/kW) | Low | 1323.0965 | 1161.8179 | 1073.0973 | 984.3766 | 895.656 | 806.9354 | 718.2147 | 671.742 | 625.2693 | 578.7966 | 532.3239 | 485.8511 | 476.3454 | 466.8396 | 457.3338 | 447.828 | 438.3222 | 428.8164 | 419.3107 | 409.8049 | 400.2991 | 390.7933 | 381.2875 | 371.7817 | 362.276 | 352.7702 | 343.2644 | 333.7586 | 324.2528 | 314.747 | 305.2413 | 295.7355
|  | Mid | 1384.22 | 1284.0649 | 1220.7637 | 1157.4624 | 1094.1612 | 1030.8599 | 967.5587 | 936.115 | 904.6714 | 873.2277 | 841.7841 | 810.3404 | 800.2112 | 790.0819 | 779.9527 | 769.8234 | 759.6942 | 749.5649 | 739.4357 | 729.3064 | 719.1771 | 709.0479 | 698.9186 | 688.7894 | 678.6601 | 668.5309 | 658.4016 | 648.2724 | 638.1431 | 628.0138 | 617.8846 | 607.7553
|  | High | 1484.375 | 1438.5952 | 1426.1568 | 1413.7183 | 1401.2799 | 1388.8414 | 1376.403 | 1363.9645 | 1351.5261 | 1339.0876 | 1326.6492 | 1314.2107 | 1310.1717 | 1306.1327 | 1302.0937 | 1298.0547 | 1294.0156 | 1289.9766 | 1285.9376 | 1281.8986 | 1277.8596 | 1273.8206 | 1269.7816 | 1265.7426 | 1261.7035 | 1257.6645 | 1253.6255 | 1249.5865 | 1245.5475 | 1241.5085 | 1237.4695 | 1233.4305
Variable Operation and Maintenance Expenses | ($/MWh) | Low | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | Mid | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
|  | High | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Gas CT
| Unit | Scenario | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Heat Rate | (MMBtu/MWh) | - | 9.6958 | 9.6337 | 9.5717 | 9.5096 | 9.4475 | 9.3854 | 9.3233 | 9.2613 | 9.1992 | 9.1371 | 9.075 | 9.0129 | 9.075 | 9.075 | 9.075 | 9.075 | 9.075 | 9.075 | 9.075 | 9.075 | 9.075 | 9.075 | 9.075 | 9.075 | 9.075 | 9.075 | 9.075 | 9.075 | 9.075 | 9.075 | 9.075 | 9.075
Fixed Operation and Maintenance Expenses | ($/kW-yr) | - | 12.23 | 12.23 | 12.23 | 12.23 | 12.23 | 12.23 | 12.23 | 12.23 | 12.23 | 12.23 | 12.23 | 12.23 | 12.23 | 12.23 | 12.23 | 12.23 | 12.23 | 12.23 | 12.23 | 12.23 | 12.23 | 12.23 | 12.23 | 12.23 | 12.23 | 12.23 | 12.23 | 12.23 | 12.23 | 12.23 | 12.23 | 12.23
CapEx | ($/kW) | - | 916.2731 | 922.8364 | 911.7424 | 904.9411 | 887.1039 | 878.8521 | 873.9501 | 869.0985 | 864.1767 | 860.4241 | 854.9245 | 851.8667 | 849.09 | 845.2012 | 842.2332 | 839.5124 | 836.2595 | 833.0498 | 830.2978 | 828.6285 | 826.5175 | 824.5104 | 823.3531 | 820.3391 | 819.6105 | 816.7719 | 815.8632 | 813.3436 | 811.5816 | 809.8067 | 807.9594 | 799.8991
Variable Operation and Maintenance Expenses | ($/MWh) | - | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14 | 7.14
Gas CC
| Unit | Scenario | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050
Heat Rate | (MMBtu/MWh) | - | 6.4208 | 6.4062 | 6.3917 | 6.3771 | 6.3625 | 6.3479 | 6.3333 | 6.3187 | 6.3042 | 6.2896 | 6.275 | 6.2604 | 6.275 | 6.275 | 6.275 | 6.275 | 6.275 | 6.275 | 6.275 | 6.275 | 6.275 | 6.275 | 6.275 | 6.275 | 6.275 | 6.275 | 6.275 | 6.275 | 6.275 | 6.275 | 6.275 | 6.275
Fixed Operation and Maintenance Expenses | ($/kW-yr) | - | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56 | 10.56
CapEx | ($/kW) | - | 913.4767 | 906.8935 | 900.3103 | 893.7271 | 880.1859 | 873.3725 | 869.9709 | 866.4994 | 862.8405 | 859.7099 | 854.8227 | 852.0494 | 849.4769 | 845.9936 | 843.255 | 840.8938 | 837.8357 | 834.9192 | 832.2552 | 830.4801 | 828.2623 | 826.1487 | 824.8865 | 821.7642 | 820.9312 | 817.985 | 816.9714 | 814.3447 | 812.4766 | 810.5955 | 808.6421 | 800.4711
Variable Operation and Maintenance Expenses | ($/MWh) | - | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77 | 2.77
Source of technology-specific cost and performance parameters is
National Renewable Energy Technology's Annual Technology Baseline (ATB) 2019. All values taken for 2017 Base Year.
For ATB download: https://atb.nrel.gov/electricity/2019/data.html
For ATB documentation: https://atb.nrel.gov/electricity/2019/
Note on A15: Turkmani, Natasha: "Capital expenditures (CAPEX) associated with wind plants installed in the interior of the country are used to characterize CAPEX for hypothetical wind plants with average annual wind speeds that correspond with the median conditions for recently installed wind facilities." https://atb.nrel.gov/electricity/2019/index.html?t=lw
Note on A33: Turkmani, Natasha: "PV pricing and capacities are quoted in kWDC (i.e., module rated capacity) unlike other generation technologies, which are quoted in kWAC. For PV, this would correspond to the combined rated capacity of all inverters. This is done because kWDC is the unit that most of the PV industry uses. Although costs are reported in kWDC, the total CAPEX includes the cost of the inverter, which has a capacity measured in kWAC." https://atb.nrel.gov/electricity/2019/index.html?t=su
Note on A48: Turkmani, Natasha: "The FOM costs include augmentation costs needed to keep the battery system operating at rated capacity for its lifetime. In the ATB, FOM is defined as the value needed to compensate for degradation to enable the battery system to have a constant capacity throughout its life. The literature review states that FOM costs are estimated at 2.5% of the $/kW capital costs." https://atb.nrel.gov/electricity/2019/index.html?t=st
Note on A51: Turkmani, Natasha: Total System Cost ($/kW) = Battery Pack Cost ($/kWh) × Storage Duration (hr) + BOS Cost ($/kW) Cost breakdown of power and energy costs based on: https://www.nrel.gov/docs/fy19osti/71714.pdf which assumes 1.3 ILR, 60 MW DC battery