R 9-01-05


FLOWABLE BACKFILL

The Standard Specifications are revised as follows:

SECTION 213, DELETE LINES 1 THROUGH 112.
SECTION 213, AFTER LINE 113, INSERT AS FOLLOWS:

SECTION 213 – FLOWABLE BACKFILL

213.01 Description

This work shall consist of placing flowable backfill in trenches for pipe structures, culverts, utility cuts and other work extending under pavement locations, to fill cavities beneath slopewalls and other locations in accordance with 105.03.

MATERIALS

213.02 Materials

Materials shall be in accordance with the following:



Concrete Admixtures
912.03



Fine Aggregate*
904



Fly Ash
901.02



Portland Cement
901.01(b)



Water
913.01




* Except that steel furnace slag shall not be used


The supplier may propose an alternate air entraining admixture. The proposed admixture shall be included in the flowable backfill mix design, FBMD.

If fly ash is used as a filler and not as a pozzolan, the fly ash shall be in accordance with 904.


The supplier may elect to use gradations in accordance with 904 or may propose the use of alternate gradations. The alternate gradation and proposed tolerances of material passing each sieve shall be included in the FBMD.

213.03 Flowable Backfill Mix Design


The Contractor shall submit a FBMD to the Engineer and arrange a trial batch. The FBMD will be approved based on compliance with 213.04. The FBMD shall be submitted in a format acceptable to the Engineer and shall include the following:



(a)
a list of all ingredients



(b)
the source of all materials



(c)
the gradation of the aggregates



(d)
the batch weight (mass)



(e)
the names of all admixtures



(f)
the admixture dosage rates and manufacturer’s recommended range


After the completion of the trial batch and all test results have been reviewed for compliance with the specifications, a mixture number will be assigned by the Engineer.


Mix design changes will not be allowed after the FBMD approval, except for adjustments to compensate for routine moisture fluctuations. All other changes require a new FBMD.


213.04 Flowable Backfill Mix Criteria

The FBMD shall produce a workable mixture with the following properties:



(a) Flow

The test for flow shall consist of filling a 3 in. (75 mm) diameter by 6 in. (150 mm) high open-ended cylinder placed on a smooth level surface to the top with the flowable mortar. If necessary, the cylinder shall be struck off so that the mixture is level. The cylinder shall be pulled straight up within 5 s. The spread of the mortar shall be measured. The diameter of the mortar spread shall be at least 8 in. (200 mm). Minor flow adjustments may be made by making minor adjustments in the water or fly ash filler content in the mixture.



(b) Average Penetration Resistance

The average penetration resistance in 14 days shall not be greater than 5,000 psi (34 500 kPa) nor less than 1,200 psi (8000 kPa) in accordance with ITM 213.


213.05 Flowable Backfill Trial Batch

A trial batch shall be produced by the Contractor and tested by the District Materials and Tests Engineer to verify that the FBMD meets the flowable backfill mix criteria. The flowable backfill shall be batched within the proportioning tolerances of 508.02(b). The Engineer will determine and provide the Contractor with test results. The trial batch shall be of sufficient quantity to allow the Engineer to perform all required tests from the same batch.

213.06 Mixing Equipment

The mixing equipment shall be in accordance with the applicable requirements of 702 or 722, except that in lieu of the calibration requirements of 722.11, the mixer operator shall make delivery in a properly calibrated continuous mixer.

CONSTRUCTION REQUIREMENTS


213.07 Placement

The flowable backfill shall not be placed on frozen ground. Flowable backfill shall be protected from freezing until the material has set.


The diameter of the flowable backfill spread shall be at least 8 in. (200 mm) at time of placement.


The flowable backfill shall be brought up uniformly to the fill line as shown on the plans or as directed.


The flowable backfill shall not be subjected to load nor disturbed by construction activities until minimum penetration resistance has been achieved. Testing shall be in accordance with ITM 213. The minimum penetration resistance shall be as follows:



For PCCP
70 psi (500 kPa)



For all Other Applications
1200 psi (8000 kPa)


213.08 Method of Measurement

Flowable backfill will be measured by the cubic yard (cubic meter) as computed from the neat line limits shown on the plans, or as adjusted. If neat line limits are not shown on the plans, the volume in cubic yards (cubic meters) of flowable backfill furnished and placed will be computed from the nominal volume of each batch and a count of the batches. Unused and wasted flowable backfill will be estimated and deducted. Drilled holes will be measured by the number of holes drilled.


213.09 Basis of Payment

The accepted quantities of flowable backfill will be paid for at the contract unit price per cubic yard (cubic meter) furnished and placed. Holes drilled in the pavement will be paid for at the contract unit price per each.


Payment will be made under:



Pay Item
Pay Unit Symbol


Drilled Hole for Flowable Backfill
EACH



Flowable Backfill
CYS (m3)
213-R-446

1 of 3

