Scott County Health Department
Financial Impact Statement for Scott County OSS Ordinance
Date: 11/21/2024


	Ordinance Requirement1
	Ord. Section
	Types of Systems Affected2
	Increased Cost/System3
	Comments

	Required connection to sewer in the case of a failed OSS

	6b
	Only systems within 300 feet of sanitary sewer
	$25,000/site
	

	Installer registration

	7b
	All OSS
	$50/year
	

	Sewage holding tank  (min. size, operating permit)

	8c
	Sites with sewage holding tanks
	Min Size: 1000 gal=$2000
3 bedroom:1500 gal: $3000
Operating Permit=$50/2 year period
	

	Min. 3 soil borings 
	9b
	All new construction and repair/replacement with new septic tanks
	$500 per site
	

	Inspection required for connection or reconnection to an existing OSS

	10a
	All OSS
	$40
	




1 Briefly describe ordinance requirement.
2 Describe what type(s) of systems that would be affected by this requirement.  If it would apply to all systems, indicate ALL OSS.
3 Increased cost is per system.
Overall anticipated price increase for residential OSS:
Minimum 	$__0.00____ 
Maximum 	$__28,640____ 



