| Ordinance Requirement1 | Ord. Section | Types of Systems Affected2 | Increased Cost/System3 | Comments |
| --- | --- | --- | --- | --- |
| Required connection to sewer in the case of a failed OSS | 6b | Only systems within 300 feet of sanitary sewer | $25,000/site |  |
| Installer registration | 7b | All OSS | $50/year |  |
| Sewage holding tank (min. size, operating permit) | 8c | Sites with sewage holding tanks | Min Size: 1000 gal=$2000 3 bedroom:1500 gal: $3000 Operating Permit=$50/2 year period |  |
| Min. 3 soil borings | 9b | All new construction and repair/replacement with new septic tanks | $500 per site |  |
| Inspection required for connection or reconnection to an existing OSS | 10a | All OSS | $40 |  |

1 Briefly describe ordinance requirement.

2 Describe what type(s) of systems that would be affected by this requirement.  If it would apply to all systems, indicate ALL OSS.

3 Increased cost is per system.

Overall anticipated price increase for residential OSS:

Minimum 	$__0.00____

Maximum 	$__28,640____