| Spectrophotometer – Total Nitrogen (If samples for TNTplus 835 and TNTplus 839 are NOT preserved) |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Total Nitrogen Results - Hach Methods 10242, 10206 and 10207, TNTplus 880, TNTplus 835 and TNTplus 839 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
|  |  |  |  |  |  |  |  | (A) |  |  | (B) |  |  | (C) |  |  |
| Analyst | Sample ID | Sample Date | Sample Time | TKN Preservation Date | TKN Preservation Time | Analysis Date | Analysis Time | Reagent TNTplus 880 0 to 16 mg/L TKN | Analysis Date | Analysis Time | Reagent TNTplus 835 0.23 to 13.50 mg/L NO3–N | Analysis Date | Analysis Time | Reagent TNT 839 0.015–0.60 mg/L NO2 ––N | Calculation | Total Nitrogen |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Add A + B+C = Total Nitrogen |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Add A + B+C = Total Nitrogen |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Add A + B+C = Total Nitrogen |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Add A + B+C = Total Nitrogen |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Add A + B+C = Total Nitrogen |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Add A + B+C = Total Nitrogen |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Add A + B+C = Total Nitrogen |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Add A + B+C = Total Nitrogen |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Add A + B+C = Total Nitrogen |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Add A + B+C = Total Nitrogen |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Add A + B+C = Total Nitrogen |  |
|  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | Add A + B+C = Total Nitrogen |  |

If the result is outside the range for the TNTplus Reagent used, it must be analyzed again using a dilution or a TNTplus Reagent where the sample result is bracketed within the range.

TNTplus 880 samples must be preserved to pH < 2 using concentrated sulfuric acid.  If samples for TNTplus 835 and TNTplus 839 are not analyzed immediately (within 3 hours), they must be preserved.  If preserving Nitrate/Nitrite, use IDEM’s Total Nitrogen, preserved samples bench sheet.  All samples must be analyzed at room temperature and at a pH 7.

Created By: Kim Rohr 11/22