# PROCESS INFORMATION: Combustion – INSTRUCTIONS

The purpose of PI-02F (state form 52540) is to identify each fuel that will be used in the combustion unit.  Complete one form for each combustion unit (or group of identical combustion units).  PI-02F is a required form for all air permit applications submitted to IDEM, OAQ.  For the purposes of this form, the term “source” refers to the plant as a whole and NOT to the individual emissions units.  If you do not provide the enough information to adequately describe the process, the application process may be stopped.

If you have any questions, contact the Office of Pollution Prevention and Technical Assistance (OPPTA) at (317) 232-8172 or (800) 988-7901 extension 2-8172 (toll free call within Indiana).

| Summary of Possible Fuel Types |
| --- |
| Gaseous Fuels | Liquid Fuels | Solid Fuels |
| Natural Gas | Residual Fuel Oil | Anthracite Coal |
| Liquefied Petroleum Gas | No. 5 – Heavy Residual Fuel Oil | Anthracite |
| Commercial-Grade Propane | No. 5 – Light Residual Fuel Oil | Culm |
| Engine Fuel-Grade Propane (HD-5) | No. 6 Residual Fuel Oil (Bunker C) | Bituminous Coal |
| Commercial-Grade Butane | Distillate Fuel Oil | Sub-bituminous Coal |
| Process Gas | No. 1 Distillate Fuel Oil | Lignite Coal |
| Landfill Gas | No. 2 Distillate Fuel Oil (Diesel) | Coke |
|  | No. 4 Distillate Fuel Oil | Wood / Wood Waste |
|  | Gasoline | Wood Only |
|  | Waste Oil | Wood Residue Only |
|  | Liquid Waste | Wood and Wood Residue |
|  |  | Tires or Tire Derived Fuel |
|  |  | Whole Tires |
|  |  | Tire Derived Fuel |
|  |  | Bagasse |
|  |  | Solid Waste |

## Part A: Process Unit Identification

- Unit ID:
Provide the identification number for the unit.  The identification numbers listed on this form should correspond to the emissions unit identified on the Plant Layout and Process Flow diagrams.  If there are multiple combustion units that are identical in nature, capacity, and use, you may use one row to summarize the data for the identical combustion units.

## Part B: Gaseous Fuels

Part B identifies the gaseous fuels that will be used in the combustion unit.

- Fuel Type: 
Identify all gaseous fuels used in this process.  If none of the listed gaseous fuels is applicable, specify the gaseous fuel under the “other” option.

- Natural Gas: If natural gas is the only fuel used for this process, this form is not necessary.

- Liquefied Petroleum Gas (LPG):  Indicate the grade of LPG used in the process.

- Process Gas: Indicate the source of the process gas in the last row of the table.

- Landfill Gas: Indicate the source of the landfill gas in the last row of the table.

- Percent of Fuel Use:
Specify the volumetric percent of this fuel used in comparison to the total amount of fuel used annually.  For example, if this is the only fuel used for this process, the amount would be 100 percent (100.00%)

- Primary or Secondary Fuel?
Specify whether the fuel used is the primary or secondary fuel.

- Component Percentages: 
Indicate maximum content of each component (e.g., sulfur, ash, moisture) on a weight percentage basis.  If a blend of the fuel is used, indicate the highest content for each component.

- Natural Gas: If sulfur content is not indicated, a default value of 0.00% will be used.

- Liquefied Petroleum Gas: If sulfur content is not indicated, a default value of 1.50% will be used.  If butane content is not indicated, a default value of 0.00% will be used.  If propane content is not indicated, a default value of 0.00% will be used.

- Process Gas or Landfill Gas: If sulfur content is not indicated, a default value of 7.00% will be used.

- Heating Value:
Indicate minimum heating value of the fuel used.  If a blend of the fuel is used, indicate the lowest heating value.  For gaseous fuels, the units of measure should be British thermal units per cubic foot (Btu/ft3).

## Part C: Liquid Fuels

Part C identifies the liquid fuels that will be used in the combustion unit.

- Fuel Type: 
Identify all liquid fuels used in this process.  If none of the listed liquid fuels is applicable, specify the liquid fuel under the “other” option.

If liquid waste is used, indicate the Resource Conservation and Recovery Act (RCRA) alpha-numeric codes for each special or hazardous waste used for this process.

- Percent of Fuel Use:
Specify the volumetric percent of this fuel used in comparison to the total amount of fuel used annually.  For example, if this is the only fuel used for this process, the amount would be 100 percent (100.00%)

- Primary or Secondary Fuel?
Specify whether the fuel used is the primary or secondary fuel.

- Component Percentages: 
Indicate maximum content of each component (e.g., sulfur, ash, moisture) on a weight percentage basis.  If a blend of the fuel is used, indicate the highest content for each component.

- Residual Oil: If sulfur content is not indicated, a default value of 2% will be used.

- Distillate Fuel Oil: If sulfur content is not indicated, the following default values will be used: No.1  0.3%; No.2  0.3%; No.4  2.0%

- Gasoline: If sulfur content is not indicated, a default value of 0.00% will be used.

- Waste Oil: If sulfur content is not indicated, a default value of 2.0% will be used.  If ash content is not indicated, a default value of 0.3% will be used.  If lead content is not indicated, a default value of 0.5% will be used.  If chlorine content is not indicated, a default value of 0.5% will be used.

- Liquid Waste: If sulfur content is not indicated, a default value of 7.0% will be used.  If fluorine content is not indicated, a default value of 3.0% will be used.  If chlorine content is not indicated, a default value of 7.0% will be used.

- Heating Value:
Indicate minimum heating value of the fuel used.  If a blend of the fuel is used, indicate the lowest heating value.  For gaseous fuels, the units of measure should be British thermal units per gallon (Btu/gal).

- Percent Heat:
Indicate the portion of heat input that is provided by the fuel.

## Part D1: Solid Fuels – Coal

Part D1 identifies all variations of coal that will be used in the combustion unit.

- Fuel Type: 
Identify all types of coal used in this process.  If none of the listed types of coal is applicable, specify the coal type under the “other” option.

- Percent of Fuel Use:
Specify the volumetric percent of this fuel used in comparison to the total amount of fuel used annually.  For example, if this is the only fuel used for this process, the amount would be 100 percent (100.00%)

- Primary or Secondary Fuel?
Specify whether the fuel used is the primary or secondary fuel.

- Component Percentages: 
Indicate maximum content of each component (e.g., sulfur, ash, moisture) on a weight percentage basis.  If a blend of the fuel is used, indicate the highest content for each component.

- Sulfur Content: If sulfur content is not indicated, a default value of 0.00% will be used.

- Ash Content: If ash content is not indicated, a default value of 0.00% will be used.

- Moisture Content: If moisture content is not indicated, a default value of 0.00% will be used.

- Heating Value:
Indicate minimum heating value of the fuel used.  If a blend of the fuel is used, indicate the lowest heating value.  For solid fuels, the units of measure should be British thermal units per pound (Btu/lb).

- Basis:
Indicate whether the heating value was calculated on a dry or moist basis.

## Part D2: Other Solid Fuels

Part D2 identifies the solid fuels, other than coal, that will be used in the combustion unit.

- Fuel Type: 
Identify all solid fuels, other than coal, used in this process.  If none of the listed solid fuels is applicable, specify the solid fuel under the “other” option.

If solid waste is used, indicate the Resource Conservation and Recovery Act (RCRA) alpha-numeric codes for each special or hazardous waste used for this process.

- Percent of Fuel Use:
Specify the volumetric percent of this fuel used in comparison to the total amount of fuel used annually.  For example, if this were the only fuel used for this process, the amount would be 100 percent (100.00%)

- Primary or Secondary Fuel?
Specify whether the fuel used is the primary or secondary fuel.

- Component Percentages: 
Indicate maximum content of each component (e.g., sulfur, ash, moisture) on a weight percentage basis.  If a blend of the fuel is used, indicate the highest content for each component.

- Wood / Wood Waste: If moisture content is not indicated, a default value of 30% will be used.

- Tires / Tire Derived Fuel: If sulfur content is not indicated, a default value of 2.5% will be used.  If chromium content is not indicated, a default value of 0.2% will be used.  If chlorine content is not indicated, a default value of 0.3% will be used.

- Bagasse: If ash content is not indicated, a default value of 0.00% will be used.  If moisture content is not indicated, a default value of 0.00% will be used.

- Solid Waste: Identify and quantify any relevant component percentages.

- Heating Value:
Indicate minimum heating value of the fuel used.  If a blend of the fuel is used, indicate the lowest heating value.  For solid fuels, the units of measure should be British thermal units per pound (Btu/lb).  For wood or wood waste, use British thermal units per ton (Btu/ton).

- Percent Heat:
Indicate the portion of heat input that is provided by the fuel.

## Part E: Fuel Consumption Limitations

Part E provides a place for the applicant to specify any fuel consumption limitations that are acceptable for the combustion unit.

In the case that one or more fuel is burned either intermittently or as a backup, use the space provided to identify any acceptable fuel consumption limitations.  Stating an acceptable limit on fuel consumption at this point will facilitate permit review.  If a limit is not stated, it will be assumed that the fuel will be burned at the full rate capacity of the unit for 8760 hours per year.

## ***SUBMISSION OF CONFIDENTIAL RECORDS***

All information submitted to IDEM will be made available to the public unless it is submitted under a claim of confidentiality.  Claim of confidentiality must be made at the time the information is submitted to IDEM, and must follow the requirements set out in 326 IAC 17.1-4-1.  Failure to follow these requirements exactly will result in your confidential information becoming a public record, available for public inspection.  To ensure that your information remains confidential, refer to the IDEM, OAQ information regarding submittal of confidential business information.  For more information on confidentiality for certain types of business information, please review IDEM’s Nonrule Policy Document Air-031-NPD regarding Emission Data.