Mercury Checklist for Sewage Treatment Plants
What Items Contain Mercury at Your Facility?

This checklist is intended to help facilities identify sources of mercury. If you are uncertain if a device or solution contains mercury, contact the manufacturer for verification.

First, determine what items are found at your facility and whether or not mercury 
is present. For those items containing mercury, indicate the date the item was replaced with a non-mercury alternative. (For mercury-containing items still in use, revisit this checklist periodically and record the date the mercury was eliminated.)

Next, review where you found mercury on site and answer the questions in each of the following sections about how the mercury will be managed or eliminated.

Contact Name:_________________________________________ Date Completed:_______________

Facility Name: ______________________________________________________________________

Telephone Number:__________________________________________________________________

1.  LABORATORY EQUIPMENT				       Does this item        Date mercury

Check those items found on site:			                    Contain mercury?       eliminated?

A. Manometers						         YES    NO		_____/_____

B. Barometers					         YES    NO		_____/_____
C. Thermometers					         YES    NO		_____/_____

D. Ion exchange cartridges for lab water purification system           YES    NO		_____/_____

E. Hanging mercury drop electrodes for polarographic analyzers    YES    NO		_____/_____

F. Mercury Hallow Cathode lamp for AA analysis 	                      YES    NO		_____/_____

What barriers exist to replacing mercury-containing items with a non-mercury alternatives?_________________________________________________________________________________________________________________________________________

What plans are in place for replacing the mercury containing items? _______________

__________________________________________________________________________

Describe procedures for proper mercury disposal._______________________________

__________________________________________________________________________

Checklist materials borrowed from the Delta Institute.

2.  LABORATORY CHEMICALS 		        Does this item      Date mercury

Check those items found on site:			                        Contain mercury?    eliminated?

A. COD analysis reagent (mercuric sulfate)			YES    NO	_____/_____

B. TKN and TP analysis digestion reagents			YES    NO	_____/_____

C. Nessler reagent						YES    NO	_____/_____

D. Mercury analytical standards					YES    NO	_____/_____

E. Gas chromatograph sample interferences 			YES    NO	_____/_____  
    (elemental mercury)

F. Sodium hypochlorite (Clorox)					YES    NO	_____/_____

G. Mercury or mercurous chloride				YES    NO	_____/_____

H. Mercury iodide						YES    NO	_____/_____

I. Mercury nitrate 						YES    NO	_____/_____

J. Mercury (II) oxide 						YES    NO	_____/_____

K. Mercury (II) sulfate						YES    NO	_____/_____

L. Merthiolate 							YES    NO	_____/_____

What barriers exist to replacing mercury-containing items with a non-mercury alternatives?__________________________________________________________________________________________________________________________________________

What plans are in place for replacing the mercury containing items?________________

__________________________________________________________________________

Describe procedures for proper mercury disposal._______________________________

___________________________________________________________________________

3.  BULK CHEMICALS				                        Does this item     Date mercury

Check those items found on site:			                        Contain mercury?    eliminated?

A. Phosphorus removal chemicals				YES    NO	_____/_____

B.	Dechlorination chemicals					YES    NO	_____/_____

C.	Sludge thickening polymers				YES    NO	_____/_____

D.	Potassium hydroxide					YES    NO	_____/_____

E.	Sodium hydroxide						YES    NO	_____/_____

F.	Sodium chloride						YES    NO	_____/_____

G.	Chlorine							YES    NO	_____/_____

H.	Sodium hypochlorite					YES    NO	_____/_____

I.	Sulfuric acid 						YES    NO	_____/_____

J.	Nitric acid 							YES    NO	_____/_____

K.	Ferric or ferrous chloride					YES    NO	_____/_____

L. Pickling liquor (for phosphorus removal)			YES    NO	_____/_____

What barriers exist to replacing mercury-containing items with a non-mercury alternatives?__________________________________________________________________________________________________________________________________________

What plans are in place for replacing the mercury containing items?________________

__________________________________________________________________________

Describe procedures for proper mercury disposal._______________________________

___________________________________________________________________________

Checklist materials borrowed from the Delta Institute.

4.  PROCESS CONTROL AND MEASURING EQUIPMENT	          Does this item     Date mercury

Check those items found on site:			                        Contain mercury?    eliminated?

A.	 Accustats							YES   NO	_____/_____

B. Barometers							YES   NO	_____/_____

C. Counterweights						YES   NO	_____/_____  
D. Elemental mercury for refilling mercury-containing	YES   NO	_____/_____  
    equipment

E. Flow meters						YES    NO	_____/_____

F. Gas regulators and meters					YES    NO	_____/_____

G. Gyroscopes							YES    NO	_____/_____

H.   Hydrometers with thermometers				YES    NO	_____/_____

I. Level and rotation sensors 				YES    NO	_____/_____

J. Manometers, pressure gauges and vacuum gauges 	YES    NO	_____/_____

K.  Mercury-sealed pistons				  	YES    NO	_____/_____

L.  Permeters							YES    NO	_____/_____

M. Pressure-trols						YES    NO	_____/_____

N. Pyrometers							YES    NO	_____/_____

O.	Rectifiers							YES    NO	_____/_____

P.	Ring balances						YES   NO	_____/_____

Q.	 Shunt trips							YES   NO	_____/_____

R.	Steam flow meters						YES   NO	_____/_____

S.	Stokes gauges						YES   NO	_____/_____

T.   Switches and relays:					YES   NO	_____/_____

1. Displacement plunger relays				YES   NO	_____/_____

2. Mercoid control switches				YES   NO	_____/_____

3. Pressure control switches (mounted on bourdon 
    tube or diaphragm)					YES     NO	_____/_____

4. Relay switches,					YES     NO	_____/_____

5. Mercury wetted relays,					YES     NO	_____/_____

6. Mercury displacement relays (found in motors)		YES     NO	_____/_____

7. Sump pump, bilge pump and other float controls,	YES     NO	_____/_____

8. Tilt switches.						YES     NO	_____/_____

U.	 Thermometers (including industrial dial face 
	 thermostats with capillary tubes.				YES     NO	_____/_____

V.	 Thermostats and thermoregulators			YES     NO	_____/_____

W. Transmitters 						YES     NO	_____/_____

What barriers exist to replacing mercury-containing items with a non-mercury alternatives?__________________________________________________________________________________________________________________________________________

What plans are in place for replacing the mercury containing items?________________

__________________________________________________________________________

Describe procedures for proper mercury disposal._______________________________

___________________________________________________________________________

Checklist materials borrowed from the Delta Institute.

5.  Buildings	          					          Does this item     Date mercury

Check those items found on site:			                        Contain mercury?    eliminated?

A. DC watt-hour meters					YES    NO	_____/_____

B. Flame sensors (found in the pilot light and burner 	YES    NO	_____/_____

assembly on gas-fired furnaces, boilers, unit heaters 
    and space heaters)						YES    NO	_____/_____

C. Hydronic and warm air controls with tilt switches 
     such as:

1. Aquastats						YES    NO	_____/_____

2. Pressurestats					YES    NO	_____/_____

3. Firestats						YES    NO	_____/_____

4. Fan limit controls					YES    NO	_____/_____

5. Pressure/flow controls on air handling units.		YES    NO	_____/_____

D. Switches and relays:					YES    NO	_____/_____

1. Fire alarm box switches				YES    NO	_____/_____

2. Silent light switches					YES    NO	_____/_____

3. Relay switches					YES    NO	_____/_____

4. Mercury wetted relays				YES    NO	_____/_____

5. Mercury displacement relays (found in lighting,

Resistance heating and motors)			YES    NO	_____/_____

6. Sump pump, bilge pump, flow monitor, float switches, 
    	    and other float controls 				YES    NO	_____/_____

7. Tilt switches						YES    NO	_____/_____

E. Phosphorus removal chemicals:				YES    NO	_____/_____

1.  Ferric or ferrous chloride				YES    NO	_____/_____

2.  Pickling liquor					YES    NO	_____/_____

F. Thermostats						YES    NO	_____/_____

What barriers exist to replacing mercury-containing items with a non-mercury alternatives?__________________________________________________________________________________________________________________________________________

What plans are in place for replacing the mercury containing items?________________

__________________________________________________________________________

Describe procedures for proper mercury disposal._______________________________

___________________________________________________________________________

Checklist materials borrowed from the Delta Institute.

6.  Bearings and Seals	          		                       Does this item      Date mercury

Check those items found on site:			                       Contain mercury?    eliminated?

A. Trickling filter Pivot Arm Bearings 
    (mercury bearings/water seals)				YES    NO	_____/_____

What barriers exist to replacing mercury-containing items with a non-mercury alternatives?__________________________________________________________________________________________________________________________________________

What plans are in place for replacing the mercury containing items?________________

___________________________________________________________________________

Describe procedures for proper mercury disposal._______________________________

___________________________________________________________________________

7.  Lamps	          		                       		         Does this item      Date mercury

Check those items found on site:			                      Contain mercury?     eliminated?

A.  Fluorescent						YES    NO	_____/_____

B.	 High-pressure sodium					YES    NO	_____/_____

C.	 Mercury arc						YES    NO	_____/_____

D.	 Mercury vapor lamps					YES    NO	_____/_____

E.	 Metal halide						YES    NO	_____/_____

F.	 Ultraviolet disinfection					YES    NO	_____/_____

What barriers exist to replacing mercury-containing items with a non-mercury alternatives?__________________________________________________________________________________________________________________________________________

What plans are in place for replacing the mercury containing items?________________

___________________________________________________________________________

Describe procedures for proper mercury disposal._______________________________

___________________________________________________________________________

Checklist materials borrowed from the Delta Institute.

8.  Batteries	          		                       		          Does this item      Date mercury

Check those items found on site:			                        Contain mercury?     eliminated?

A. Mercury-zinc (button) batteries				YES    NO	_____/_____

B. Mercury-cadmium batteries					YES    NO	_____/_____

C. Mercury alkaline batteries					YES    NO	_____/_____

D. Mercury oxide batteries					YES    NO	_____/_____

What barriers exist to replacing mercury-containing items with a non-mercury alternatives?__________________________________________________________________________________________________________________________________________

What plans are in place for replacing the mercury containing items?________________

___________________________________________________________________________

Describe procedures for proper mercury disposal._______________________________

___________________________________________________________________________

9.  Paint	          		                       		         	          Does this item      Date mercury

Check those items found on site:			                        Contain mercury?    eliminated?

A. Old latex-paint (pre-1990)					YES    NO	_____/_____

B. Marine paint							YES    NO	_____/_____

What barriers exist to replacing mercury-containing items with a non-mercury alternatives?__________________________________________________________________________________________________________________________________________

What plans are in place for replacing the mercury containing items?________________

___________________________________________________________________________

Describe procedures for proper mercury disposal._______________________________

___________________________________________________________________________

10.  First Aid/Medical	          		                       	         Does this item      Date mercury

Check those items found on site:			                       Contain mercury?    eliminated?

A. Mercurochrome							YES    NO	_____/_____

B. Sphygmomanometers						YES    NO	_____/_____

C. Thermometers							YES    NO	_____/_____

D. Thimerosal (contained in eye wash)				YES    NO	_____/_____

What barriers exist to replacing mercury-containing items with a non-mercury alternatives?__________________________________________________________________________________________________________________________________________

What plans are in place for replacing the mercury containing items?________________

___________________________________________________________________________

Describe procedures for proper mercury disposal._______________________________

___________________________________________________________________________

Checklist materials borrowed from the Delta Institute.

11.  Other	          		                       	         	          Does this item      Date Mercury

Check those items found on site:			                                        Contain Mercury?    eliminated?

A. Old pesticides, fungicides and herbicides			YES    NO	_____/_____

B. Tree root growth control products				YES    NO	_____/_____

C. Computer monitors						YES    NO	_____/_____

D. Fleet vehicles may contain ABS, convenience and 
     trunk lighting switches and HID headlamps			YES    NO	_____/_____

What barriers exist to replacing mercury-containing items with a non-mercury alternatives?__________________________________________________________________________________________________________________________________________

What plans are in place for replacing the mercury containing items?________________

___________________________________________________________________________

Describe procedures for proper mercury disposal._______________________________

___________________________________________________________________________

12.  Collection System	          		                         Does this item       Date mercury

Check those items found on site:			                         Contain mercury?      eliminated?

A. Lift station equipment					YES    NO	_____/_____

___________________________________________________________________________

___________________________________________________________________________

B. Traps with accumulated mercury				YES    NO	_____/_____

C. Sumps with accumulated mercury				YES    NO	_____/_____

D. Sewer lines with accumulated mercury			YES    NO	_____/_____

E. Other mercury containing equipment: 			YES    NO	_____/_____

___________________________________________________________________________

___________________________________________________________________________

F. Mercury-containing chemicals used and/or stored 
    on-site								YES    NO	_____/_____

___________________________________________________________________________

___________________________________________________________________________

What barriers exist to replacing mercury-containing items with a non-mercury alternatives?__________________________________________________________________________________________________________________________________________

What plans are in place for replacing the mercury containing items?________________

__________________________________________________________________________

Describe procedures for proper mercury disposal._______________________________

___________________________________________________________________________

Checklist materials borrowed from the Delta Institute.

Mercury Policies and Procedures at Your Facility

The following checklist, adapted for sewage treatment plants from the Ohio EPA Mercury Challenge Handbook (for medical facilities), can be used to evaluate and improve your mercury reduction efforts.

Does your facility…

1. Have a policy regarding the purchase of mercury-free

equipment and products?					YES_____  NO_____

2. Track or have an inventory form for mercury-containing

equipment and products?					YES_____  NO_____

3. Have a policy on how to clean up a mercury spill?		YES_____  NO_____

4. Train staff in preventing and cleaning up mercury spills?	YES_____  NO_____

5. Have procedures for cleaning and refilling instruments

containing mercury?						YES_____  NO_____

6. Label equipment that contains mercury?			YES_____  NO_____

7. Recycle mercury parts when you replace old equipment?

(e.g., switches)							YES_____  NO_____

8. Require the manufacturer or vendor to disclose mercury

content or concentration?					YES_____  NO_____

9. Have a policy to ensure mercury products are not

disposed of down the drain or in the  garbage?		YES_____  NO_____

10. Clean mercury out of traps, sumps and sewer lines?	YES_____  NO_____

11. Recycle spent fluorescent lamps and other lamps that

contain mercury?						YES_____  NO_____

12. Recycle batteries containing mercury?			YES_____  NO_____

Checklist materials borrowed from the Delta Institute.