## Graybar QPA Pricing
APPROVED MATERIALS
Mfg Name | GBID | Mfg Model # |  | Product Description
CAT 6 CABLE
General Cable | 25202428 | 7131800 | * | BLUE CAT6 PLENUM 4PR POP BOX - PPF
Belden | 22071132 | 2413 D15A1000 | * | BLUE CAT6 PLENUM 4PR POP BOX - PPF
General Cable | 25202458 | 7133800 | * | BLUE CAT6 NON PLENUM 4PR POP BOX - PPF
Belden | 22071135 | 2412 006A1000 | * | BLUE CAT6 NON PLENUM 4PR POP BOX - PPF
DMARC FEED CABLE
General Cable | 93161712 | 2131246 |  | 6 PAIR VOICE GRADE PLENUM - PPF
General Cable | 92055092 | 2133021 |  | 6 PAIR VOICE GRADE NON PLENUM - PPF
General Cable | 25193783 | 2131772.99 |  | 12 PAIR VOICE GRADE PLENUM - PPF
General Cable | 22065306 | 2133027 |  | 12 PAIR VOICE GRADE NON PLENUM - PPF
Superior Essex | 22077112 | 18-499-36 |  | 25 PAIR VOICE GRADE PLENUM - PPF
Superior Essex | 22103739 | 18-499-33 |  | 25PAIR VOICE GRADE NON PLENUM - PPF
COPPER PATCH CORDS & CABLE ASSEMBLIES
Panduit | 25085767 | UTPSP3RDY | * | CAT6 TX-6 PLUS PTCHCD 3FT RED
Panduit | 25085768 | UTPSP5RDY | * | CAT6 TX-6 PLUS PTCHCD 5FT RED
Panduit | 25085769 | UTPSP7RDY | * | CAT6 TX-6 PLUS PTCHCD 7FT RED
Panduit | 25092139 | UTPSP10RDY | * | CAT6 TX-6 PLUS PTCHCD 10FT RED
Panduit | 25092141 | UTPSP14RDY | * | CAT6 TX-6 PLUS PTCHCD 14FT RED
Panduit | 25092143 | UTPSP20RDY | * | CAT6 TX-6 PLUS PTCHCD 20FT RED
Panduit | 25117049 | UTPSP35RDY | * | CAT6 TX-6 PLUS PTCHCD 35FT RED
CAT 6 MODULES
Panduit | 25046159 | CJ688TGRD | * | RED CAT 6 RJ45 8-POS 8-WIRE UNIV MOD
Panduit | 25111128 | CJ688TGRD-24 | * | RED CAT 6 RJ45 8-POS 8-WIRE UNIV MOD
FACEPLATES, SURFACE MOUNT BOXES & SURFACE RACEWAY
Panduit | 96012780 | CMBEI-X | * | 1-PORT BLANK MINI-COM ELECTRIC IVORY
Panduit | 25096469 | CBX2IG-AY | * | 2-PORT SURFACE MOUNT
Panduit | 25093153 | CBX4IG-AY | * | 4-PORT SURFACE MOUNT
Panduit | 25076149 | CFPE1EIY | * | 1-PORT FACEPLATE EXECUTIVE SERIES
Panduit | 25076151 | CFPE2EIY | * | 2-PORT FACEPLATE EXECUTIVE SERIES
Panduit | 25076154 | CFPE4EIY | * | 4-PORT FACEPLATE EXECUTIVE SERIES
Panduit | 98334818 | CFPH2IG | * | 2-PORT HORIZONTAL FACEPLATE FOR CUBES
Panduit | 98334820 | CFPH4IG | * | 4-PORT HORIZONTAL FACEPLATE FOR CUBES
Panduit | 96051765 | CFFP4IG | * | 4-PORT SNAP IN FURNITURE FACEPLATE
Panduit | 99842185 | CFFPA2IG | * | 2-PORT SNAP IN ANGLED FURNITURE FACEPLATE
Panduit | 25096614 | CF1062EIY | * | 2-PORT 106 DUPLEX MODULE
Panduit | 25097157 | CF1064EIY | * | 4-PORT 106 DUPLEX MODULE
Panduit | 98334847 | CFG2EI | * | 2-PORT DECORA MODULE FRAM
Panduit | 98334838 | CFG4EI | * | 4-PORT DECORA MODULE FRAM
Panduit | 25076140 | KWP6PYS |  | SS WALL PHONE PLATE WITH CAT6 JACK LOADED
Leviton | 88158214 | 80714-I | * | BLANK PLATE IVORY
Panduit | 22015114 | T70SDB-X |  | SNAPON DEVICE BRACKET FOR FACEPLATE
Panduit | 90074397 | LD5IG6-A | * | GRAY LD5 MODLING
Panduit | 90074394 | ECF5IG-E | * | GRAY LD5 END CAP
Panduit | 90074380 | RAF5IG-E | * | GRAY LD5 RIGHT ANGLE FITTING
Panduit | 98412793 | PCPA11EI | * | 11-FT DATA POLE
Caddy | 99439520 | MP1P |  | CADDY FASTNER
PUNCHDOWN BLOCKS & WAFERS
Panduit | 25076267 | P110CB5-XY |  | 110C-5 WAFERS 5-PAIR 110 CONNECTING BLOCK
Panduit | 25076266 | P110CB4-XY |  | 110C-4 WAFERS 4-PAIR 110 CONNECTING BLOCK
Panduit | 25076264 | P110CB3-XY |  | 110C-3 WAFERS 3-PAIR 110 CONNECTING BLOCK
Panduit | 25096796 | GPCB4-XY |  | CAT6 GIGAPUNCH WAFER 4-PAIR
Panduit | 99488883 | GPBW24-X |  | CAT6 GIGAPUNCH BLOCK w/ LEGS - 24-PORT PUNCKDOWN
Panduit | 99488884 | GPBW72-X |  | CAT6 GIGAPUNCH BLOCK w/ LEGS - 72 PORT PUNCKDOWN
Panduit | 96078185 | P110BW300-X |  | 110 - 300 PAIR WIRING BLOCK W/ LEGS
Panduit | 96078184 | P110BW100-X |  | 110 - 100 PAIR WIRING BLOCK W/ LEGS
Panduit | 25076136 | GPKBW72Y |  | 72 PORT FIELD TEMINAT KIT
Panduit | 25076134 | GPKBW24Y |  | 24PORT FIELD TERMINATION
PANDUIT FIBER CONNECTORS AND HARDWARE
Panduit | 25047115 | FSCSCBU |  | SC OPTICAM SM SIMPLEX FIBER OPTIC CONN
Panduit | 25075423 | FLCSSCBUY |  | LC OPTICAM SINGLEMODE SIMPLEX CONNECTOR
Panduit | 25046644 | FSCMC6BL |  | SC OPTICAM 62.MM
Panduit | 25076124 | FLCSMC6BLY |  | LC OPTICAM 62.MM
Panduit | 25047892 | FSCMCXAQ |  | SC OPTICAM 10GIG 50/125UM SIMPLX
Panduit | 25076125 | FLCSMCXAQY |  | LC OPTICAM 10GIG 50/125UM
Panduit | 25190397 | FRME1U |  | 1U RACK MT FIBER ENCLOSURE(HOLDS 3 PANELS)
Panduit | 25190398 | FRME2U |  | 2U RACK MT FIBER ENCLOSURE(HOLDS 6 PANELS)
Panduit | 22052265 | FWME2 |  | WALL MT FIBER ENCLOSURE(HOLDS 2 PANELS)
Panduit | 22052266 | FWME4 |  | WALL MT FIBER ENCLOSURE(HOLDS 4 PANELS)
Panduit | 25229665 | ACG24K |  | CBL STRP FOR GROUNDING CBL SHTH TO HSING
Panduit | 22044877 | FAP3WBUDSCZ |  | PANEL W/3 DPLX SC ADPT SM BLUE
Panduit | 22044891 | FAP6WBUDSCZ |  | PANEL W/6 DPLX SC ADPT SM BLUE
Panduit | 22125345 | FAP6WBUDLCZ |  | PANEL W/6 DPLX LC ADPT SM BLUE
Panduit | 25054765 | FAP12WBUDLCZ |  | PANEL W/12 DPLX LC ADPT SM BLUE
Panduit | 25047828 | FAP3WAQDSCZ |  | PANEL W/3 DPLX SC ADPT MM AQUA
Panduit | 25047834 | FAP6WAQDSCZ |  | PANEL W/6 DPLX SC ADPT MM AQUA
Panduit | 25047832 | FAP6WAQDLCZ |  | PANEL W/6 DPLX LC ADPT MM AQUA
Panduit | 25047837 | FAP12WAQDLCZ |  | PANEL W/12 DPLX LC ADPT MM AQUA
Panduit | 25393707 | FOPPZ06Y |  | 50 Micron OM4 Plenum fiber 6 strand Armored (Aqua) PPF
Panduit | 25279057 | FOPPZ12Y |  | 50 Micron OM4 Plenum fiber 12 strand Armored (Aqua) PPF
Panduit | 25450889 | FOPPZ24Y |  | 50 Micron OM4 Plenum fiber 24 strand Armored (Aqua) PPF
Panduit | 25184782 | FSPP906Y |  | Single Mode Plenum 6 strand Armored (Yellow) PPF
Panduit | 25184779 | FSPP912Y |  | Single Mode Plenum 12 strand Armored (Yellow) PPF
Panduit | 25184780 | FSPP924Y |  | Single Mode Plenum 24 strand Armored (Yellow) PPF
CORNING FIBER CONNECTORS AND HARDWARE
Corning | 25314192 | 95-200-41 |  | SC UNICAM SM SIMPLEX FIBER OPTIC CONN
Corning | 25314196 | 95-200-99 |  | LC UNICAM SINGLEMODE SIMPLEX CONNECTOR
Corning | 96015244 | 95-000-40 |  | SC UNICAM 62.MM
Corning | 22110795 | 95-000-99 |  | LC UNICAM 62.MM
Corning | 22110792 | 95-050-40 |  | SC UNICAM 10GIG 50/125UM SIMPLX
Corning | 22110796 | 95-050-99 |  | LC UNICAM 10GIG 50/125UM
Corning | 25415405 | CCH-01U |  | 1U RACK MT FIBER ENCLOSURE(HOLDS 2 PANELS)
Corning | 25415406 | CCH-02U |  | 2U RACK MT FIBER ENCLOSURE(HOLDS 4 PANELS)
Corning | 25671436 | WCH-02P |  | WALL MT FIBER ENCLOSURE(HOLDS 2 PANELS)
Corning | 25671437 | WCH-04P |  | WALL MT FIBER ENCLOSURE(HOLDS 4 PANELS)
Corning | 25156327 | FDC-CABLE-GRND |  | CBL STRP FOR GROUNDING CBL SHTH TO HSING
Corning | 98304121 | CCH-CP06-59 |  | PANEL W/3 DPLX SC ADPT SM BLUE
Corning | 97221942 | CCH-CP12-59 |  | PANEL W/6 DPLX SC ADPT SM BLUE
Corning | 25075655 | CCH-CP06-A9 |  | PANEL W/3 DPLX LC ADPT SM BLUE
Corning | 22054973 | CCH-CP12-A9 |  | PANEL W/6 DPLX LC ADPT SM BLUE
Corning | 22054975 | CCH-CP24-A9 |  | PANEL W/12 DPLX LC ADPT SM BLUE
Corning | 25160096 | CCH-CP06-E6 |  | PANEL W/3 DPLX SC ADPT MM AQUA
Corning | 25069918 | CCH-CP12-E6 |  | PANEL W/6 DPLX SC ADPT MM AQUA
Corning | 25044466 | CCH-CP06-E4 |  | PANEL W/3 DPLX LC ADPT MM AQUA
Corning | 22071344 | CCH-CP12-E4 |  | PANEL W/6 DPLX LC ADPT MM AQUA
Corning | 22121493 | CCH-CP24-E4 |  | PANEL W/12 DPLX LC ADPT MM AQUA
Corning | 25202810 | 006T88-33180-A3 |  | 50 Micron OM4 Plenum fiber 6 strand Armored (Aqua) PPF
Corning | 25123633 | 012T88-33190-A3 |  | 50 Micron OM4 Plenum fiber 12 strand Armored (Aqua) PPF
Corning | 25127337 | 024T88-33190-A3 |  | 50 Micron OM4 Plenum fiber 24 strand Armored (Aqua) PPF
Corning | 25202811 | 006E88-31131-A3 |  | Single Mode Plenum 6 strand Armored (Yellow) PPF
Corning | 22070079 | 012E88-33131-A3 |  | Single Mode Plenum 12 strand Armored (Yellow) PPF
Corning | 22124204 | 024E88-33131-A3 |  | Single Mode Plenum 24 strand Armored (Yellow) PPF
PANDUIT OFFICE FURNITURE RACEWAY
Panduit | 25113670 | OFR20OS8 | * | OFFICE FURNITURE HORIZONTAL PPF
Panduit | 25113669 | OFR20OS6 | * | OFFICE FURNITURE HORIZONTAL PPF
Panduit | 22115066 | OFR20TOS | * | OFFICE FURNITURE TEE FITTING
Panduit | 22115072 | OFVR5OS6 | * | OFFICE FURNITURE VERTICAL PPF
Panduit | 25113673 | OFR20SOOS | * | OFFICE FURNITURE SINGLE SPILL OVER
Panduit | 25113642 | OFR20DSOOS | * | OFFICE FURNITURE DOUBLE SPILL OVER
Panduit | 22115036 | OFR20ECOS | * | OFFICE FURNITURE END CAP FITTING
Panduit | 22115033 | OFR20DMBOS | * | OFFICE FURNITURE DESK MOUNT BOX
Panduit | 22115060 | OFR20RAOS | * | OFFICE FURNITURE RIGHT ANGLE FITTING
Panduit | 22115042 | OFR20MPTOS | * | OFFICE FURNITURE MID-PANEL TEE FITTING
Panduit | 25113637 | OFR20CPOS8 | * | OFFICE FURNITURE COMM POLE
Panduit | 22115030 | OFR20CROS | * | OFFICE FURNITURE CROSS FITTING
Panduit | 22115024 | OFR20CCOS-X | * | OFFICE FURNITURE COUPLER FITTING
Panduit | 25113647 | OFR20LC0S | * | OFFICE FURNITURE LONG COUPLER FITTING
Panduit | 22115006 | OF70FH4OS | * | 4P HORZ OFFICE FURNITURE FACEPLATE
Panduit | 22115003 | OF70FH2OS | * | 2P HORZ OFFICE FURNITURE FACEPLATE
Panduit | 22115039 | OFR20ICOS | * | INSIDE CORNER FITTING
Panduit | 22115046 | OFR20OCOS | * | OUTSIDE CORNER FITTING
Panduit | 22115069 | OFR20WEOS | * | WALL ENTRANCE
POWER DISTRIBUTIOB & PROTECTION
APC | 25176242 | P11VT3 |  | 11 OUTLET STRIP TEL2/SPLITTER COAX JACKS
PANDUIT | 25456961 | CMRPSH15S |  | HORIZONTAL PDU 15AMP W SURGE P
PANDUIT | 25482912 | CMRPSH20S |  | HORIZONTAL PDU 20AMP W SURGE P
CIRCA | 99429515 | 1880ENA1/NSC-6 |  | 6pr telco lightning protection
CIRCA | 99429516 | 1880ENA1/NSC-25 |  | 25pr telco lightning protection
CIRCA | 99544505 | 4B1S-300 |  | Solid State protector units (w/heat coils 300V DC Black)
WIRE | 22061562 | THHN-6-STR-GRN |  | 6 AWG GROUND WIRE GREEN
SQUARE D | 88242156 | PK9GTA |  | LOAD CENTER EQUIPMENT GROUND BAR ASSY
FIRESTOP
STI | 25259280 | FP200 |  | 2" FIRESTOP PLUG
STI | 25259281 | FP400 |  | 4" FIRESTOP PLUG
STI | 91029552 | SSS100 |  | FIRESTOP CAULK
STI | 91029553 | SSP100 |  | FIRESTOP PUTTY
CABLE SUPPORT
CADDY ERICO | 25180529 | CAT64HP |  | JHOOK 4 INCH DIAMETER LOOP
CADDY ERICO | 25180527 | CAT32HP |  | JHOOK 2 INCH DIAMETER LOOP
CADDY ERICO | 97122898 | CAT124Z34 |  | JHOOK 3/4 INCH DIAMETER LOOP W DROP WIRE CLIP
DOTTIE | 25266268 | CWS6 |  | 6 FOOT CEILING WIRE BARE
ARLINGTON | 96079052 | EMT400 |  | 4-IN NM BUSHING FOR EMT CONDUIT
SEMTRON | 22124474 | WP804-1.00L |  | 1G SS HORIZ SPLIT PLATE WITH 1 INCH GROMMET
CADDY ERICO | 88091768 | 4Z34 |  | CLIPMULTI-FUNCTION BATWING
EMT | 88272943 | 4-EMT |  | 4" EMT - PRICED PER FT - SOLD IN 10 FT PIECES
CROUSE HINDS | 89041780 | 1B |  | 3/4 IN COND HANGER W BOLT
HILTI |  | 289968 |  | 6' CEILING WIRE WITH CLIP 100PK
HILTI |  | 289969 |  | 12' CEILING WIRE WITH CLIP 100PK
CABINETS
CHATSWORTH | 22058859 | 11900-748 |  | CABINET CUBE 24X48X24
CHATSWORTH | 22066163 | 11807-725 |  | SWG GATE 19X49 HX25 D BK
CHATSWORTH | 25027384 | 13496-760 |  | CUBE IT 27X60X30D PLEX BK
CHATSWORTH | 22058882 | 12804-701 |  | FAN KIT FOR CUBE IT CABINETS
PATCH PANELS, RACKS & CABLE MANAGEMENT
Panduit | 25076168 | CPP48WBLY |  | 48-PORT PANEL UNLOADED SNAP-IN CFFP4 FACEPLATEBLK W/OUT LABEL ROHS
Panduit | 25076171 | CPPL48WBLY |  | 48-PORT PANEL UNLOADED SNAP-IN CFFPL4 FACEPLATEBLK WITH LABEL ROHS
Panduit | 25076167 | CPP24WBLY |  | 24-PORT PANEL UNLOADED SNAP-IN CFFP4 FACEPLATEBLK W/OUT LABEL ROHS
Panduit | 25076170 | CPPL24WBLY |  | 24-PORT PANEL UNLOADED SNAP-IN CFFPL4 FACEPLATEBLK WITH LABEL ROHS
Panduit | 25025397 | WMPVHC45E |  | VERTICAL WIRE MANAGEMENT 45U (Side and Center)
Panduit | 25025391 | WMPV22E |  | VERTICAL WIRE MANAGEMENT 22U (Side and Center)
Panduit | 99685397 | NCMH2 |  | HRZ CBLMGR 19IN FRNT/REAR 2U
Panduit | 99685400 | NCMHF2 |  | HRZ.CBLMGR 19IN FRNT ONLY 2U
Panduit | 22026005 | NCMHF1 |  | HRZ.CBLMGR 19IN FRNT ONLY 1U
CHATSWORTH | 25267942 | 11308-701 |  | J-BOLT KIT RUNWAY-ANGLE BLACK
CHATSWORTH | 22026123 | 11302-701 |  | JUNCTION SPLICE 1 1/2 STG
CHATSWORTH | 94058660 | 11421-712 |  | WALL ANGL SPPRT 12IN BLK
CHATSWORTH | 22025504 | 11314-701 |  | SPLICE KIT 90DEG1.5 STGR
CHATSWORTH | 94058657 | 10595-712 |  | RCK MOUNTING PLT 9-12 BLK
CHATSWORTH | 94058656 | 10250-712 |  | 12IN CABLE RWAY TUBE BLK - PPF
CHATSWORTH | 94058665 | 55053-703 |  | STANDARD 19IN RACK BLK
Panduit | 25025393 | WMPVCBE |  | VTR CBL MGT CTR MOUNT BRKT KIT
Panduit | 25117085 | NM3 |  | HRZ CBLMGR 19IN HIGH CAP 3U
ALLEN TEL | 95013797 | AT55B-PNL-24 |  | UNIVERSAL CAT 5E 24 PORT PATCH PANEL
ALLEN TEL | 95013798 | AT55B-PNL-48 |  | UNIVERSAL CAT 5E 48 PORT PATCH PANEL
VELCRO | 25046857 | 189755 |  | 1/2IN VELCRO BLK 75FT
PAGING
Bogan | 25312009 | TAMB2 |  | Telephone Acess Module
Valcom | 88276213 | V-1109RTVA |  | 9-Zone Page Control Unit
Valcom | 25163193 | V-1001 |  | P-Tec Ceiling Speaker
Valcom | 98310489 | V-9022A-2 |  | 2x2 Lay-In Ceiling Speakers
Valcom | 88276187 | V-1020C |  | 8" Ceiling Speaker (white)
Valcom | 88276249 | V-9916M |  | 8" Bridges & Backboxes
Valcom | 88276189 | V-1022C |  | Wall Speaker
Valcom | 92131966 | V-1030M |  | Exterior 5-watt Horn Speaker
Valcom | 25311676 | VP-1124D |  | 1 Amp Power Supply
Valcom | 25312565 | VP-2124D |  | 2 Amp Power Supply
Valcom | 25358367 | VP-4124D |  | 4 Amp Power Supply
Valcom | 96000258 | VP-6124 |  | 6 Amp Power Supply
Valcom | 88276207 | V-1092 |  | Speaker Volume Control
* Pricing must include all standard colors