## Question Submission Template
State of Indiana RFP 18-035
Attachment G - Question Submission Template
Question No. | RFP Section | Page | Topic | Specific Question/Inquiry | State Response
1 | Attachment D: Cost Proposal |  | Security System | What are the quantities of devices should we calculate to be in each branch location for security systems? | Your cost should be based on 5 dvr cameras, 4 motion detectors, 2 door contacts, and 4 panic alarms per branch.
2 | Attachment D: Cost Proposal |  | Camera System | How many cameras should we propose for each location? | See answer #1.
3 | Attachment D: Cost Proposal |  | Camera System | How many days of storage would you like to maintain? | 30 days
4 | Attachment D: Cost Proposal |  | Camera System | Is there an IT rack/room at each site? | Yes
5 | Attachment D: Cost Proposal |  | Camera System | Will there be an outside internet connection at each site for the video appliance? | No, currently it runs off the data line.
6 | Attachment D: Cost Proposal |  | Security & Camera System | Does it make sense to show the security maintenance and monitoring seperately on the price sheet? | The State of Indiana is looking for an all inclusvie cost of the rental of the new equipment and maintenance on exisiting equipment. We want one rental/maintenance cost per month.
7 | RFP Section 1: General Information and Requested Products or Services |  | Current Equipment in place | Since BMV ownes all of the current equipment and it is all fairly new does it make since to look at a maintenance agreement using all existing equipment instead of leasing all new equipment? The maintenance would cover all parts & labor etc… | See answer #6.
8 | RFP Section 1: General Information and Requested Products or Services |  | Page 1, question 4 on Mandatory requirements attachment F | Is the 5% per day reduction in monthly monitoring fees for that particular location or for all locations? Also what is the 2 year period at no additional cost referring to? | The 5% per day reduction is per location that issue is with. Disregard the 2 year additional cost..
9 | RFP Section 1: General Information and Requested Products or Services |  | Proposal Delivery | If a proposal is going to be hand delivered where should it be taken to, (address, room number)? | State of Indiana Department of Administration Procurement Division 402 W. Washington Street, Rm. w468 Indiana Government Center South Indianapolis, In. 46204
10 | RFP Section 1: General Information and Requested Products or Services |  | Service | Is the 24 hour service mandate for emergency calls only? | Response time for normal outage is 24 hours, emergency response time will be 4 hours. This is only acknowledge/response not a fix.
11 | RFP Section 1: General Information and Requested Products or Services |  | Monitoring | Is the monitoring to be done here in Indiana? | Yes, provided that service levels are and can be met.
12 | RFP Section 1: General Information and Requested Products or Services |  | Current Equipment | Is there a list of equipment per branch? | See answer #1.
13 | RFP Section 1: General Information and Requested Products or Services |  | Site layouts | Are there any drawings of the branch locations available? | No, we do not have this information at this time.
14 | RFP Section 1: General Information and Requested Products or Services |  | Equipment | How long do the cameras need to record and what resolution? | 30 days and the standard is set by the brand and model listed througout the RFP.
15 | RFP Section 1: General Information and Requested Products or Services |  | Equipment | Do the systems need to have Redundancy Power? | Yes
16 | RFP Section 1: General Information and Requested Products or Services |  | Equipment | What are the current manufacturers by location for current alarm equipment? | The panels are DMP model XT30/XT50 - See Attachment L.
17 | RFP Section 1: General Information and Requested Products or Services |  | Service Agreement | Does the Bid Require 24 hour fix or simply response? | See answer #10.
18 | RFP Section 1: General Information and Requested Products or Services |  | Description of facilities | Will blue print or general diagram be made available for each location | No, this information is not available at this time.
19 | RFP Section 1: General Information and Requested Products or Services |  | Remote administration of security Systems | Will BMV personell require or need the ability to manage codes see event log information remotely? | Yes
20 | RFP Section 1: General Information and Requested Products or Services |  | Communication to central station | Will each location require cellular communication to central station | Yes
21 | RFP Section 1: General Information and Requested Products or Services |  | Communication to central station | Will each location require internet communication to central station | Yes
22 | RFP Section 1: General Information and Requested Products or Services |  | Equipment replacement | As I understand it, there is NO requirement in this RFP to replace existing equipment unless it becomes inoperable, is that correct? | Yes
23 | RFP Section 1: General Information and Requested Products or Services |  | Deficiencies | Will the BMV notify about any existing deficiencies of existing equipment? E.g.; false alarms etc. | No
24 | RFP Section 1: General Information and Requested Products or Services |  | Existing equipment | Will there be a detailed list of both (existing burglar alarm and surveillance equipment), make model etc. | See Attachment L. This is all the information available at this time.
25 | RFP Section 1: General Information and Requested Products or Services |  | Existing Equipment | Attachment J lists 135 BMV locations. Can you confirm whether the BMV wants to see new equipment in these location or just the maintenance/monitoring of existing equipment? | We would be open to either solution. The cost proposal has been updated with fields for this informataion, should this be the way you bid.
26 | RFP Section 1: General Information and Requested Products or Services |  | Existing Equipment | Does any new alarm equipment need to be DMP or would an equal product be acceptable to install? | Equivalent is acceptable.
27 | RFP Section 1: General Information and Requested Products or Services |  | Existing Equipment | Is the BMV looking to lease new surveillance equipment across the board for all locations? (Including the replacement at locations that already have surveillance equipment installed?) | Yes we would like to lease suveillance equipment for all branches. If existing equipment can be used as part of the proposal that would be excellent.
28 | RFP Section 1: General Information and Requested Products or Services |  | Existing Equipment | Can you confirm that the BMV is wanting a trade-in credit for all existing Avigilon equipment? Is it possible to know the model of the equipment so that trade-in value may be accurately obtained? | The BMV is open to any workable solution for handling all of the existing equipment. I believe the model of the equipmen has been provided.
29 | RFP Section 1: General Information and Requested Products or Services |  | Existing Equipment | Is there an expected installation deadline for all locations? | To be negotiated.
Please make a selection
RFP Section 1: General Information and Requested Products or Services
RFP Section 2: Proposal Preparation Instructions
RFP Section 3: Proposal Evaluation Criteria
Attachment A: M/WBE Sub-Contractor Commitment Form
Attachment A1: IVBE Participation Plan Form
Attachment B: Sample Contract
Attachment C: Indiana Economic Impact Form
Attachment D: Cost Proposal
Attachment E: Business Proposal Template
Attachment F: Technical Proposal Template
Attachment G: Question Submission Template