## Instructions
STATE OF INDIANA NEGOTIATED BID # 100-22-68743; Comparison Microscopes
| COMPANY NAME: | Leeds Precision Instruments, Inc.
BID of the State of Indiana due September 01, 2021 BY 3:00 PM EDT
INSTRUCTIONS:
Please populate the YELLOW-SHADED CELLS in this workbook. Blue cells will automatically populate.
1. UNIT PRICE shall be the price of each item offered to the State.
2. Price must be ALL INCLUSIVE, including delivery, packaging, and all administrative costs including, but not limited to, any US import charges. No additional charges will be accepted.
3. The State intends to award to the overall low bidder meeting all specifications.
4. The Total Bid Amount is automatically calculated based on the unit prices submitted by the respondent. This total bid amount shall be used when Respondent is completing the Indiana Economic Impact (IEI) form, Minority and Woman-Owned Business (M/WBE) form, and Indiana Veteran Owned Small Business (IVOSB) form.
5. Return WORKING Excel file with bid response (ie: NO PDFs). Bids submitted without a working copy of this Excel file may be deemed unresponsive.

## Requirements & Bidlist
STATE OF INDIANA NEGOTIATED BID # 100-22-68743; Comparison Microscopes
| COMPANY NAME: | Leeds Precision Instruments, Inc.
Minimum Requirements | Select "Yes" or "No" | Comments/Exceptions to Specifications
The specifications located in Attachment A have been defined by the Indiana State Police and all items bid must meet or exceed these requirements. Please confirm whether or not your product meets or exceeds the specifications. If NO, then a comment or explanation must be provided in the Comments section. | Yes | (Full detail in attached Compliance Statement) The LCF2 quotes for this bid, defined in quotation 21010, provides the following performance to meet or exceed requirements of Appendix A: Stand with Comparison Bridge is provided by the integrated workstation (LCF2-STATION) and its optical system (LCF2-OCU1.0). A dust cover for the LCF2 (LCF3-COVER) is included in the offered configuration. Integrated optical system (LCF2-OCU1.0) provides a magnification range of 5.6 – 56x with eleven (11) matched magnification setpoints, seven (7) more setpoints than the required four (4) objective magnifications of Appendix A. The LCF2 optical system includes a Certification of Magnification Match which is ISO/IEC 17025:2017 accredited utilizing NIST traceable standards. All magnifications provided by the optical system have the same 81 mm working distance. Ergon. tilting phototube (LCF-3-U137) with inclination range of 5˚ - 35˚ and associated photo tube (LCF-U-IT134EC) Eyepiece (LCF-2-U100H6), high eyepoint eyepiece, plan with 10x/22 mm FN optics providing a 21% larger field of view at the same magnification. Light bar (LCF3-LEDKIT-SM) includes LED lighting mounted to the stage with articulating arms. LED spot illuminator (LCF2-LEDSP). The LED light bars and LED spot illuminators quoted both have integrated power controls. (ThMV CoolContol Advanced 3-Channel). Leeds’ universal holder (LCF3-UVLHLR) holds bullets and cartridge cases and can be manipulated in all axis’ to hold from .030” to as large as a 10-guage shotgun shell and includes cementing stages. Paired with the set of pin mounts (LCF-PINMTS), this holder provides the ability to mount any bullet sample, both pristine and deformed without the need for other fixtures or attachments. The workbench (LCF2-STATION) is offered with the system which provides a height adjustable table worksurface from 22” to 50” in addition to a height adjustable motorized column to adjust the height of the optics above the table surface to allowing for mounting of larger sized samples. A camera and software (AU-600-HD) is included with this microscope which gives real-time external viewing of the sample in HD. The software and compatible PC allows for live/still measurement and annotation along with extended depth of focus, image stitching, and high dynamic range imaging. A 0.63x C-Mount camera adapter (LCF-DE63BXC) is included. This system includes a monitor for external viewing in addition to a PC compatible for use with the digital camera and software kit. Shipping, installation, and on-site training are included at no additional cost for the end user.
Confirm your company's willingness to work with the Indiana State Police on the delivery timeline of the microscopes, in order to deliver the microscopes the first week the new FTW lab is open. Currently, it is anticipated that the lab will open the first week of October. Provide your company's anticipated delivery timeframe from the date a PO is received. | Yes
Item Description | Quantity | Unit Price | Total
Leica FS M Comparison Microscope* *See Attachment A for detailed specifications. Bidder must submit a product brochure and/or quote detailing all the specifications. | 2 | 54409.26 | 108818.52

## Additional Cost Savings
STATE OF INDIANA NEGOTIATED BID # 100-22-68743; Comparison Microscopes
| COMPANY NAME: | Leeds Precision Instruments, Inc.
ADDITIONAL SAVINGS:
Please list any additional savings offered to the State.
Provided a GSA price match discount to match GSA Contract #GS-07F-097CA