## NH3 Soil
Method Detection Limit Study
Laboratory Name: |  |  | Pace Analytical Inc. (WI) |  |  | Matrix: |  |  | Water
Analytical Method: |  |  | EPA 3501 |  |  | Initial Sample Amount (g/mL): |  |  | 0.2
Preparation Method: |  |  | EPA 3501 |  |  | Final Amount (g/mL): |  |  | 6
40CFR | Instrument | Analyte: | NH3 | Analytical |  | 40CFR | Instrument | Analyte: | NH3 | Analytical
|  | Test Conc: | 0.5 |  |  |  |  | Test Conc: | 0.25
|  | Unit: | mg/L | Date: | Time: |  |  | Unit: | mg/L | Date: | Time:
| 40WTAC | 1549614 | 0.4416 | 2017-08-02 | 16:29 |  | 40WTAC | 1549617 | 0.2527 | 2017-08-02 | 16:33
| 40WTAC | 1549615 | 0.4293 | 2017-08-02 | 16:32 |  | 40WTAC | 1549618 | 0.2063 | 2017-08-02 | 16:34
| 40WTAC | 1549616 | 0.4618 | 2017-08-02 | 16:33 |  | 40WTAC | 1549619 | 0.198 | 2017-08-02 | 16:35
| 40WTAC | 1566352 | 0.5057 | 2017-09-01 | 17:03 |  | 40WTAC | 1566355 | 0.2208 | 2017-09-01 | 17:08
| 40WTAC | 1566353 | 0.4662 | 2017-09-01 | 17:06 |  | 40WTAC | 1566356 | 0.2101 | 2017-09-01 | 17:09
| 40WTAC | 1566354 | 0.4888 | 2017-09-01 | 17:07 |  | 40WTAC | 1566357 | 0.2104 | 2017-09-01 | 17:09
| 40WTAC | 1623861 | 0.458 | 2017-12-04 | 16:02 |  | 40WTAC | 1623864 | 0.194 | 2017-12-04 | 16:05
| 40WTAC | 1623862 | 0.4686 | 2017-12-04 | 16:03 |  | 40WTAC | 1623865 | 0.1997 | 2017-12-04 | 16:06
| 40WTAC | 1623863 | 0.4624 | 2017-12-04 | 16:04 |  | 40WTAC | 1623866 | 0.1948 | 2017-12-04 | 16:07
| 40WTAC | 1631006 | 0.5768 | 2017-12-18 | 14:50 |  | 40WTAC | 1631009 | 0.1815 | 2017-12-18 | 14:53
| 40WTAC | 1631007 | 0.4439 | 2017-12-18 | 14:51 |  | 40WTAC | 1631010 | 0.2221 | 2017-12-18 | 14:54
| 40WTAC | 1631008 | 0.4493 | 2017-12-18 | 14:52 |  | 40WTAC | 1631011 | 0.2164 | 2017-12-18 | 14:55
| 40WTAC | 1636292 | 0.4116 | 2018-01-05 | 15:06 |  | 40WTAC | 1636295 | 0.1781 | 2018-01-05 | 15:08
| 40WTAC | 1636293 | 0.4241 | 2018-01-05 | 15:07 |  | 40WTAC | 1636296 | 0.1576 | 2018-01-05 | 15:09
| 40WTAC | 1636294 | 0.4269 | 2018-01-05 | 15:07 |  | 40WTAC | 1636297 | 0.175 | 2018-01-05 | 15:12
| 40WTAC | 1641711 | 0.4263 | 2018-01-24 | 15:58 |  | 40WTAC | 1641714 | 0.1938 | 2018-01-24 | 16:02
| 40WTAC | 1641712 | 0.6606 | 2018-01-24 | 16:00 |  | 40WTAC | 1641715 | 0.1675 | 2018-01-24 | 16:03
| 40WTAC | 1641713 | 0.4658 | 2018-01-24 | 16:01 |  | 40WTAC | 1641716 | 0.2801 | 2018-01-24 | 16:04
| 40WTAC | 1673305 | 0.5248 | 2018-04-13 | 13:39 |  | 40WTAC | 1673308 | 0.268 | 2018-04-13 | 13:42
| 40WTAC | 1673306 | 0.4818 | 2018-04-13 | 13:40 |  | 40WTAC | 1673309 | 0.2857 | 2018-04-13 | 13:43
| 40WTAC | 1673307 | 0.476 | 2018-04-13 | 13:41 |  | 40WTAC | 1673310 | 0.2887 | 2018-04-13 | 13:46
| 40WTAC | 1705140 | 0.4459 | 2018-06-12 | 13:28 |  | 40WTAC | 1705143 | 0.1878 | 2018-06-12 | 13:33
| 40WTAC | 1705141 | 0.45 | 2018-06-12 | 13:31 |  | 40WTAC | 1705144 | 0.2452 | 2018-06-12 | 13:34
| 40WTAC | 1705142 | 0.4345 | 2018-06-12 | 13:32 |  | 40WTAC | 1705145 | 0.1821 | 2018-06-12 | 13:35
| 40WTAC | 1734317 | 0.4171 | 2018-08-10 | 14:20 |  | 40WTAC | 1734320 | 0.2361 | 2018-08-10 | 14:23
| 40WTAC | 1734318 | 0.4674 | 2018-08-10 | 14:20 |  | 40WTAC | 1734321 | 0.2036 | 2018-08-10 | 14:28
| 40WTAC | 1734319 | 0.415 | 2018-08-10 | 14:22 |  | 40WTAC | 1734322 | 0.4979 | 2018-08-10 | 14:24
| 40WTAC | 1736663 | 0.4378 | 2018-08-16 | 12:42 |  | 40WTAC | 1736664 | 0.1499 | 2018-08-16 | 12:43
| 40WTAC | 1806213 | 0.4544 | 2018-12-14 | 15:12 |  | 40WTAC | 1806214 | 0.2111 | 2018-12-14 | 15:13
| 40WTAC | 1811109 | 0.5742 | 2018-12-26 | 17:54 |  | 40WTAC | 1811110 | 0.2346 | 2018-12-26 | 17:56
| 40WTAC | 1825343 | 0.4234 | 2019-02-13 | 15:56 |  | 40WTAC | 1825344 | 0.1701 | 2019-02-13 | 15:57
| 40WTAC | 1829731 | 0.4157 | 2019-02-25 | 18:08 |  | 40WTAC | 1829732 | 0.1445 | 2019-02-25 | 18:09
| 40WTAC | 1865958 | 0.4251 | 2019-05-14 | 16:37 |  | 40WTAC | 1865959 | 0.1693 | 2019-05-14 | 16:38
| 40WTAC | 1887303 | 0.3693 | 2019-06-20 | 13:58 |  | 40WTAC | 1887304 | 0.1277 | 2019-06-20 | 13:59
| 40WTAC | 1915832 | 0.4504 | 2019-08-09 | 15:17 |  | 40WTAC | 1915833 | 0.2102 | 2019-08-09 | 15:18
Stats | % Recovery: |  | 92.1743 |  |  | Stats | % Recovery: |  | 85.3874
| Average: |  | 0.46087 |  |  |  | Average: |  | 0.21347
| SD: |  | 0.05441 |  |  |  | SD: |  | 0.063054
| Student t: |  | 2.4411 |  |  |  | Student t: |  | 2.4411
Pass / Fail | Raw MDL: |  | 0.13282 |  |  | Pass / Fail | Raw MDL: |  | 0.15392
| TNI LOQ: |  | 0.44274 |  |  |  | TNI LOQ: |  | 0.51308
| Low Std Cal: |  | 0.5 |  |  |  | Low Std Cal: |  | 0.5
| LOQ*3 > Low Standard: |  | OK |  |  |  | LOQ*3 > Low Standard: |  | OK
| MDL > 0: |  | OK |  |  |  | MDL > 0: |  | OK
| MDL*10 > std: |  | OK |  |  |  | MDL*10 > std: |  | OK
| MDL < Amount Spiked: |  | OK |  |  |  | MDL < Amount Spiked: |  | OK
| Overall: |  | PASS |  |  |  | Overall: |  | PASS
|  | Blank Data Verification | [5 empty] | LIMS Current: |  |  |  | Applicable
|  | Blank Population: | 121 |  |  |  |  | On Instrument LOD: | 0.25 | mg/L |  | Test Codes
|  | Date Range: | 2017-08-01 | 2019-07-31 |  |  |  | On Instrument LOQ: | 0.5 | mg/L |  | EPA 3501 SM2
|  | Blank 99th Percentile | [5 empty] | Final Study Results | Source: | BC
|  | B99 LOD: | 0.21667 | mg/L |  |  |  | On Instrument LOD: | 0.21451 | mg/L
|  | B99 LOQ: | 0.72222 | mg/L |  |  |  | On Instrument LOQ: | 0.71504 | mg/L
|  | Blank Calculation mg/L | [5 empty] | Final Reported | ∆ Units: | Yes
|  | BC LOD: | 0.21451 | mg/L |  |  |  | Reported LOD: | 6.4354 | mg/Kg
|  | BC LOQ: | 0.71504 | mg/L |  |  |  | Reported LOQ: | 21.4513 | mg/Kg
Horizon limits & custom updated 11/8/19
Product book updated 11/8/19
SDJ

## Round 2
SAMPLE NUMBER | ACODE | ANALYSIS DATE | INSTRUMENT | RESULT | UNITS
1641708 | 3501 SM2 | 2018-01-24 15:55 | 40WTAC | -7.8 | mg/kg
1734298 | 3501 SM2 | 2018-08-10 13:36 | 40WTAC | -4.1 | mg/kg
1636291 | 3501 SM2 | 2018-01-05 15:05 | 40WTAC | -4 | mg/kg
1636290 | 3501 SM2 | 2018-01-05 15:04 | 40WTAC | -3.9 | mg/kg
1741179 | 3501 SM2 | 2018-08-24 12:52 | 40WTAC | -3.8 | mg/kg
1636289 | 3501 SM2 | 2018-01-05 15:03 | 40WTAC | -3.8 | mg/kg
1630999 | 3501 SM2 | 2017-12-18 14:36 | 40WTAC | -3.6 | mg/kg
1658117 | 3501 SM2 | 2018-03-12 14:11 | 40WTAC | -3.4 | mg/kg
1767439 | 3501 SM2 | 2018-10-09 12:22 | 40WTAC | -3.3 | mg/kg
1736662 | 3501 SM2 | 2018-08-16 12:41 | 40WTAC | -3.3 | mg/kg
1646348 | 3501 SM2 | 2018-02-07 13:27 | 40WTAC | -3.3 | mg/kg
1550469 | 3501 SM2 | 2017-08-03 17:19 | 40WTAC | -3.3 | mg/kg
1636280 | 3501 SM2 | 2018-01-05 14:51 | 40WTAC | -3.2 | mg/kg
1634002 | 3501 SM2 | 2017-12-26 16:36 | 40WTAC | -3.1 | mg/kg
1829733 | 3501 SM2 | 2019-02-25 18:02 | 40WTAC | -3 | mg/kg
1623860 | 3501 SM2 | 2017-12-04 16:01 | 40WTAC | -3 | mg/kg
1549612 | 3501 SM2 | 2017-08-02 16:27 | 40WTAC | -3 | mg/kg
1549611 | 3501 SM2 | 2017-08-02 16:26 | 40WTAC | -3 | mg/kg
1736649 | 3501 SM2 | 2018-08-16 12:37 | 40WTAC | -2.9 | mg/kg
1623859 | 3501 SM2 | 2017-12-04 16:00 | 40WTAC | -2.9 | mg/kg
1549613 | 3501 SM2 | 2017-08-02 16:28 | 40WTAC | -2.9 | mg/kg
1887298 | 3501 SM2 | 2019-06-20 13:52 | 40WTAC | -2.8 | mg/kg
1705139 | 3501 SM2 | 2018-06-12 13:28 | 40WTAC | -2.8 | mg/kg
1693084 | 3501 SM2 | 2018-05-18 15:08 | 40WTAC | -2.8 | mg/kg
1612384 | 3501 SM2 | 2017-11-13 14:46 | 40WTAC | -2.8 | mg/kg
1865957 | 3501 SM2 | 2019-05-14 16:37 | 40WTAC | -2.7 | mg/kg
1804106 | 3501 SM2 | 2018-12-10 12:58 | 40WTAC | -2.7 | mg/kg
1785609 | 3501 SM2 | 2018-11-06 13:04 | 40WTAC | -2.7 | mg/kg
1641709 | 3501 SM2 | 2018-01-24 15:56 | 40WTAC | -2.7 | mg/kg
1631004 | 3501 SM2 | 2017-12-18 14:49 | 40WTAC | -2.6 | mg/kg
1623858 | 3501 SM2 | 2017-12-04 16:00 | 40WTAC | -2.6 | mg/kg
1887302 | 3501 SM2 | 2019-06-20 13:57 | 40WTAC | -2.5 | mg/kg
1833409 | 3501 SM2 | 2019-03-08 17:00 | 40WTAC | -2.5 | mg/kg
1801019 | 3501 SM2 | 2018-12-04 13:10 | 40WTAC | -2.5 | mg/kg
1894911 | 3501 SM2 | 2019-07-02 14:25 | 40WTAC | -2.4 | mg/kg
1863716 | 3501 SM2 | 2019-05-09 17:10 | 40WTAC | -2.4 | mg/kg
1829730 | 3501 SM2 | 2019-02-25 18:08 | 40WTAC | -2.4 | mg/kg
1819736 | 3501 SM2 | 2019-01-23 14:10 | 40WTAC | -2.4 | mg/kg
1873544 | 3501 SM2 | 2019-05-28 12:32 | 40WTAC | -2.3 | mg/kg
1806206 | 3501 SM2 | 2018-12-14 14:36 | 40WTAC | -2.3 | mg/kg
1637937 | 3501 SM2 | 2018-01-11 14:49 | 40WTAC | -2.3 | mg/kg
1627403 | 3501 SM2 | 2017-12-11 13:39 | 40WTAC | -2.3 | mg/kg
1910300 | 3501 SM2 | 2019-07-31 16:09 | 40WTAC | -2.2 | mg/kg
1844578 | 3501 SM2 | 2019-04-03 16:03 | 40WTAC | -2.2 | mg/kg
1781201 | 3501 SM2 | 2018-10-30 13:22 | 40WTAC | -2.2 | mg/kg
1662508 | 3501 SM2 | 2018-03-22 13:56 | 40WTAC | -2.2 | mg/kg
1650256 | 3501 SM2 | 2018-02-20 14:41 | 40WTAC | -2.2 | mg/kg
1641702 | 3501 SM2 | 2018-01-24 15:50 | 40WTAC | -2.2 | mg/kg
1865961 | 3501 SM2 | 2019-05-14 16:20 | 40WTAC | -2.1 | mg/kg
1812699 | 3501 SM2 | 2019-01-02 14:50 | 40WTAC | -2.1 | mg/kg
1705138 | 3501 SM2 | 2018-06-12 13:27 | 40WTAC | -2.1 | mg/kg
1645270 | 3501 SM2 | 2018-02-02 15:32 | 40WTAC | -2.1 | mg/kg
1569225 | 3501 SM2 | 2017-09-08 15:32 | 40WTAC | -2.1 | mg/kg
1851115 | 3501 SM2 | 2019-04-16 14:30 | 40WTAC | -2 | mg/kg
1835441 | 3501 SM2 | 2019-03-14 15:56 | 40WTAC | -2 | mg/kg
1825324 | 3501 SM2 | 2019-02-13 15:03 | 40WTAC | -2 | mg/kg
1822221 | 3501 SM2 | 2019-02-01 13:48 | 40WTAC | -2 | mg/kg
1731205 | 3501 SM2 | 2018-08-03 15:08 | 40WTAC | -2 | mg/kg
1702285 | 3501 SM2 | 2018-06-06 16:08 | 40WTAC | -2 | mg/kg
1811080 | 3501 SM2 | 2018-12-26 16:33 | 40WTAC | -1.9 | mg/kg
1705137 | 3501 SM2 | 2018-06-12 13:26 | 40WTAC | -1.9 | mg/kg
1812693 | 3501 SM2 | 2019-01-02 14:27 | 40WTAC | -1.8 | mg/kg
1734315 | 3501 SM2 | 2018-08-10 13:53 | 40WTAC | -1.8 | mg/kg
1566349 | 3501 SM2 | 2017-09-01 17:01 | 40WTAC | -1.8 | mg/kg
1901927 | 3501 SM2 | 2019-07-15 14:30 | 40WTAC | -1.7 | mg/kg
1856279 | 3501 SM2 | 2019-04-25 15:34 | 40WTAC | -1.7 | mg/kg
1814209 | 3501 SM2 | 2019-01-08 12:52 | 40WTAC | -1.7 | mg/kg
1758946 | 3501 SM2 | 2018-09-25 13:52 | 40WTAC | -1.7 | mg/kg
1714481 | 3501 SM2 | 2018-06-28 18:24 | 40WTAC | -1.7 | mg/kg
1706588 | 3501 SM2 | 2018-06-14 12:59 | 40WTAC | -1.7 | mg/kg
1641710 | 3501 SM2 | 2018-01-24 15:57 | 40WTAC | -1.7 | mg/kg
1631005 | 3501 SM2 | 2017-12-18 14:49 | 40WTAC | -1.7 | mg/kg
1575242 | 3501 SM2 | 2017-09-20 15:53 | 40WTAC | -1.7 | mg/kg
1566350 | 3501 SM2 | 2017-09-01 17:02 | 40WTAC | -1.7 | mg/kg
1765562 | 3501 SM2 | 2018-10-05 12:21 | 40WTAC | -1.6 | mg/kg
1734316 | 3501 SM2 | 2018-08-10 14:58 | 40WTAC | -1.6 | mg/kg
1897906 | 3501 SM2 | 2019-07-09 16:25 | 40WTAC | -1.5 | mg/kg
1811108 | 3501 SM2 | 2018-12-26 17:53 | 40WTAC | -1.5 | mg/kg
1673277 | 3501 SM2 | 2018-04-13 13:03 | 40WTAC | -1.5 | mg/kg
1561443 | 3501 SM2 | 2017-08-23 17:11 | 40WTAC | -1.5 | mg/kg
1618583 | 3501 SM2 | 2017-11-22 15:34 | 40WTAC | -1.4 | mg/kg
1811089 | 3501 SM2 | 2018-12-26 16:59 | 40WTAC | -1.3 | mg/kg
1792675 | 3501 SM2 | 2018-11-14 13:15 | 40WTAC | -1.3 | mg/kg
1892231 | 3501 SM2 | 2019-06-27 13:45 | 40WTAC | -1.2 | mg/kg
1841097 | 3501 SM2 | 2019-03-27 16:46 | 40WTAC | -1.2 | mg/kg
1673302 | 3501 SM2 | 2018-04-13 13:37 | 40WTAC | -1.2 | mg/kg
1642167 | 3501 SM2 | 2018-01-25 14:34 | 40WTAC | -1.2 | mg/kg
1723836 | 3501 SM2 | 2018-07-18 14:12 | 40WTAC | -1.1 | mg/kg
1596636 | 3501 SM2 | 2017-10-23 14:22 | 40WTAC | -1.1 | mg/kg
1815598 | 3501 SM2 | 2019-01-11 13:24 | 40WTAC | -1 | mg/kg
1750827 | 3501 SM2 | 2018-09-11 13:29 | 40WTAC | -0.99 | mg/kg
1688289 | 3501 SM2 | 2018-05-10 15:24 | 40WTAC | -0.99 | mg/kg
1580766 | 3501 SM2 | 2017-09-29 15:16 | 40WTAC | -0.88 | mg/kg
1718992 | 3501 SM2 | 2018-07-09 14:39 | 40WTAC | -0.85 | mg/kg
1601900 | 3501 SM2 | 2017-10-30 17:18 | 40WTAC | -0.77 | mg/kg
1879597 | 3501 SM2 | 2019-06-07 14:20 | 40WTAC | -0.7 | mg/kg
1631003 | 3501 SM2 | 2017-12-18 14:48 | 40WTAC | -0.67 | mg/kg
1623848 | 3501 SM2 | 2017-12-04 15:28 | 40WTAC | -0.63 | mg/kg
1652479 | 3501 SM2 | 2018-02-27 14:50 | 40WTAC | -0.49 | mg/kg
1636284 | 3501 SM2 | 2018-01-05 14:57 | 40WTAC | -0.33 | mg/kg
1755705 | 3501 SM2 | 2018-09-19 14:06 | 40WTAC | -0.17 | mg/kg
1587714 | 3501 SM2 | 2017-10-11 12:50 | 40WTAC | -0.12 | mg/kg
1825342 | 3501 SM2 | 2019-02-13 15:55 | 40WTAC | -0.059 | mg/kg
1681653 | 3501 SM2 | 2018-04-30 14:19 | 40WTAC | -0.041 | mg/kg
1555490 | 3501 SM2 | 2017-08-11 14:28 | 40WTAC | 0.11 | mg/kg
1667712 | 3501 SM2 | 2018-04-02 16:11 | 40WTAC | 0.23 | mg/kg
1677943 | 3501 SM2 | 2018-04-24 14:53 | 40WTAC | 0.24 | mg/kg
1734314 | 3501 SM2 | 2018-08-10 13:52 | 40WTAC | 0.4 | mg/kg
1903932 | 3501 SM2 | 2019-07-18 15:59 | 40WTAC | 0.64 | mg/kg
1620214 | 3501 SM2 | 2017-11-28 16:05 | 40WTAC | 0.67 | mg/kg
1812705 | 3501 SM2 | 2019-01-02 15:16 | 40WTAC | 1.1 | mg/kg
1806212 | 3501 SM2 | 2018-12-14 15:12 | 40WTAC | 2 | mg/kg
1673303 | 3501 SM2 | 2018-04-13 13:37 | 40WTAC | 2.3 | mg/kg
1673304 | 3501 SM2 | 2018-04-13 13:38 | 40WTAC | 2.9 | mg/kg
1814204 | 3501 SM2 | 2019-01-08 13:27 | 40WTAC | 3 | mg/kg
1797743 | 3501 SM2 | 2018-11-26 12:45 | 40WTAC | 3.4 | mg/kg
1772497 | 3501 SM2 | 2018-10-17 16:19 | 40WTAC | 3.8 | mg/kg
1566351 | 3501 SM2 | 2017-09-01 17:03 | 40WTAC | 4.4 | mg/kg
1573745 | 3501 SM2 | 2017-09-18 15:15 | 40WTAC | 5.4 | mg/kg
1811102 | 3501 SM2 | 2018-12-26 17:27 | 40WTAC | 6.5 | mg/kg
1772491 | 3501 SM2 | 2018-10-17 15:52 | 40WTAC | 8 | mg/kg
121 | MB results (population) |  | Average | 1.4364
119.79 | 99th percentile |  | SD | 2.1202
6.5 | B99 LOD | mg/kg | Student T | 2.3578
21.6667 | B99 LOQ | mg/kg | BC LOD | 6.4354 | mg/kg
|  |  | BC LOQ | 21.4513 | mg/kg
0.21667 | mg/L
0.72222 | mg/L |  |  | 0.21451 | mg/L
|  |  |  | 0.71504 | mg/L