## Lloyd Kahn
Method Detection Limit Study
Laboratory Name: |  |  | Pace Analytical Inc. (WI) |  |  | Matrix: |  |  | Soil
Analytical Method: |  |  | Lloyd Kahn |  |  | Initial Sample Amount (g/mL): |  |  | 1
Preparation Method: |  |  | Lloyd Kahn |  |  | Final Amount (g/mL): |  |  | 1
40CFR | Instrument | Analyte: | TOC | Analytical |  | 40CFR | Instrument | Analyte: | TOC | Analytical
|  | Test Conc: | 100 |  |  |  |  | Test Conc: | 50
|  | Unit: | mg/kg | Date: | Time: |  |  | Unit: | mg/kg | Date: | Time:
| 40WTAA | 1570111 | 102.99 | 2017-09-11 | 10:16 |  | 40WTAA | 1570112 | 39.97 | 2017-09-11 | 10:22
| 40WTAA | 1593029 | 101.2068 | 2017-10-18 | 8:36 |  | 40WTAA | 1593030 | 37.8448 | 2017-10-18 | 8:41
| 40WTAA | 1600177 | 81.1445 | 2017-10-27 | 10:53 |  | 40WTAA | 1600178 | 16.4881 | 2017-10-27 | 10:59
| 40WTAG | 1602751 | 126.6063 | 2017-10-31 | 13:24 |  | 40WTAG | 1602758 | 20.5892 | 2017-10-31 | 14:01
| 40WTAG | 1602752 | 105.0511 | 2017-10-31 | 13:29 |  | 40WTAG | 1602759 | 102.5671 | 2017-10-31 | 14:06
| 40WTAG | 1602753 | 103.7592 | 2017-10-31 | 13:34 |  | 40WTAG | 1602760 | 39.6089 | 2017-10-31 | 14:22
| 40WTAG | 1602754 | 73.8892 | 2017-10-31 | 13:40 |  | 40WTAG | 1602761 | 32.8611 | 2017-10-31 | 14:28
| 40WTAG | 1602755 | 78.8736 | 2017-10-31 | 13:45 |  | 40WTAG | 1602762 | 69.3484 | 2017-10-31 | 14:33
| 40WTAG | 1602756 | 85.0991 | 2017-10-31 | 13:50 |  | 40WTAG | 1602763 | 66.0104 | 2017-10-31 | 14:38
| 40WTAG | 1602757 | 97.6626 | 2017-10-31 | 13:55 |  | 40WTAG | 1602764 | 32.5879 | 2017-10-31 | 14:44
| 40WTAG | 1603805 | 71.8126 | 2017-11-03 | 10:33 |  | 40WTAG | 1603812 | 47.5184 | 2017-11-03 | 11:21
| 40WTAG | 1603806 | 95.1661 | 2017-11-03 | 10:38 |  | 40WTAG | 1603813 | 26.7051 | 2017-11-03 | 11:26
| 40WTAG | 1603807 | 100.5134 | 2017-11-03 | 10:43 |  | 40WTAG | 1603814 | 46.5523 | 2017-11-03 | 11:31
| 40WTAG | 1603808 | 117.7452 | 2017-11-03 | 10:48 |  | 40WTAG | 1603815 | 35.2118 | 2017-11-03 | 11:36
| 40WTAG | 1603809 | 129.7169 | 2017-11-03 | 11:04 |  | 40WTAG | 1603816 | 38.5801 | 2017-11-03 | 11:41
| 40WTAG | 1603810 | 99.4859 | 2017-11-03 | 11:10 |  | 40WTAG | 1603817 | 71.4929 | 2017-11-03 | 11:47
| 40WTAG | 1603811 | 84.1699 | 2017-11-03 | 11:15 |  | 40WTAG | 1603844 | 51.4771 | 2017-11-03 | 11:52
| 40WTAG | 1610519 | 156.5035 | 2017-11-10 | 10:53 |  | 40WTAG | 1610526 | 59.3172 | 2017-11-13 | 10:00
| 40WTAG | 1610520 | 56.609 | 2017-11-10 | 10:58 |  | 40WTAG | 1610527 | 62.2894 | 2017-11-13 | 10:05
| 40WTAG | 1610521 | 77.3414 | 2017-11-10 | 11:04 |  | 40WTAG | 1610528 | 87.1401 | 2017-11-13 | 10:11
| 40WTAG | 1610522 | 76.7865 | 2017-11-10 | 11:09 |  | 40WTAG | 1610529 | 103.2896 | 2017-11-13 | 10:16
| 40WTAG | 1610523 | 80.6394 | 2017-11-10 | 11:14 |  | 40WTAG | 1610530 | 93.8676 | 2017-11-13 | 10:21
| 40WTAG | 1610524 | 66.875 | 2017-11-10 | 11:19 |  | 40WTAG | 1610531 | 101.6263 | 2017-11-13 | 10:26
| 40WTAG | 1610525 | 60.2206 | 2017-11-10 | 11:24 |  | 40WTAG | 1610532 | 57.7537 | 2017-11-13 | 10:31
| 40WTAG | 1636696 | 59.8152 | 2018-01-08 | 11:41 |  | 40WTAG | 1636698 | 59.8152 | 2018-01-08 | 11:41
| 40WTAA | 1636692 | 102.3779 | 2018-01-08 | 13:29 |  | 40WTAA | 1636693 | 87.3734 | 2018-01-08 | 13:36
| 40WTAG | 1637059 | 111.668 | 2018-01-09 | 10:39 |  | 40WTAG | 1637060 | 60.1316 | 2018-01-09 | 10:44
| 40WTAA | 1637092 | 106.2092 | 2018-01-09 | 13:51 |  | 40WTAA | 1637093 | 35.017 | 2018-01-09 | 13:56
| 40WTAG | 1671882 | 96.7621 | 2018-04-11 | 13:18 |  | 40WTAG | 1671883 | 52.8355 | 2018-04-11 | 13:24
| 40WTAA | 1671874 | 121.1023 | 2018-04-11 | 13:03 |  | 40WTAA | 1671875 | 52.5465 | 2018-04-11 | 13:09
| 40WTAG | 1672397 | 66.7409 | 2018-04-18 | 12:43 |  | 40WTAG | 1672398 | 31.2985 | 2018-04-18 | 12:48
| 40WTAA | 1672394 | 77.0479 | 2018-04-18 | 12:06 |  | 40WTAA | 1672395 | 54.9847 | 2018-04-18 | 12:11
| 40WTAG | 1758404 | 88.4953 | 2018-09-24 | 12:52 |  | 40WTAG | 1758405 | 52.0229 | 2018-09-24 | 12:57
| 40WTAA | 1758400 | 96.1983 | 2018-09-24 | 12:48 |  | 40WTAA | 1758401 | 81.7657 | 2018-09-24 | 12:54
| 40WTAG | 1758811 | 87.8672 | 2018-09-25 | 12:29 |  | 40WTAG | 1758812 | 51.9578 | 2018-09-25 | 12:34
| 40WTAA | 1758808 | 76.7432 | 2018-09-25 | 12:34 |  | 40WTAA | 1758809 | 26.5521 | 2018-09-25 | 12:40
| 40WTAG | 1802165 | 127.3113 | 2018-12-06 | 10:50 |  | 40WTAG | 1802166 | 15.1265 | 2018-12-06 | 10:55
| 40WTAA | 1809189 | 104.6422 | 2018-12-21 | 13:21 |  | 40WTAA | 1809190 | 55.8081 | 2018-12-21 | 13:26
| 40WTAG | 1805078 | 88.8606 | 2018-12-14 | 11:26 |  | 40WTAG | 1805079 | 20.9891 | 2018-12-14 | 11:32
| 40WTAA | 1811129 | 148.3293 | 2018-12-26 | 11:37 |  | 40WTAA | 1811130 | 44.8358 | 2018-12-26 | 11:43
| 40WTAA | 1817459 | 90.7842 | 2019-01-29 | 10:28 |  | 40WTAA | 1817460 | 79.6037 | 2019-01-29 | 10:39
| 40WTAA | 1852331 | 129.8174 | 2019-04-18 | 11:43 |  | 40WTAA | 1852332 | 50.3716 | 2019-04-18 | 11:51
| 40WTAG | 1852335 | 91.5258 | 2019-04-18 | 9:32 |  | 40WTAG | 1852336 | 45.5822 | 2019-04-18 | 9:37
| 40WTAA | 1859873 | 105.5855 | 2019-05-02 | 10:43 |  | 40WTAA | 1859874 | 102.487 | 2019-05-02 | 10:49
| 40WTAG | 1859876 | 101.611 | 2019-05-02 | 10:54 |  | 40WTAG | 1859877 | 19.7712 | 2019-05-02 | 11:00 |  | removed from
Stats | % Recovery: |  | 97.1058 |  |  | Stats | % Recovery: |  | 107.6255 |  |  |  | stats (>CRDL recovery)
| Average: |  | 97.1058 |  |  |  | Average: |  | 53.8128
| SD: |  | 20.9395 |  |  |  | SD: |  | 24.5971
| Student t: |  | 2.4141 |  |  |  | Student t: |  | 2.4141
Pass / Fail | Raw MDL: |  | 50.5509 |  |  | Pass / Fail | Raw MDL: |  | 59.3808
| TNI LOQ: |  | 168.5029 |  |  |  | TNI LOQ: |  | 197.9361
| Low Std Cal: |  | 100 |  |  |  | Low Std Cal: |  | 100
| LOQ*3 > Low Standard: |  | OK |  |  |  | LOQ*3 > Low Standard: |  | OK
| MDL > 0: |  | OK |  |  |  | MDL > 0: |  | OK
| MDL*10 > std: |  | OK |  |  |  | MDL*10 > std: |  | OK
| MDL < Amount Spiked: |  | OK |  |  |  | MDL < Amount Spiked: |  | FAIL
| Overall: |  | PASS |  |  |  | Overall: |  | FAIL
|  | Blank Data Verification | [5 empty] | LIMS Current: |  |  |  | Applicable
|  | Blank Population: | 196 |  |  |  |  | Calculated LOD: | 33.883 | mg/Kg |  | Test Codes
|  | Date Range: | 2017-08-01 | 2019-07-31 |  |  |  | Calculated LOQ: | 100 | mg/Kg |  | Lloyd Kahn
|  | Blank 99th Percentile | [5 empty] | Final Study Results | Source: | 40CFR1
|  | B99 LOD: | 29.7 | mg/L |  |  |  | Calculated LOD: | 50.5509 | mg/Kg
|  | B99 LOQ: | 99 | mg/L |  |  |  | Calculated LOQ: | 100 | mg/Kg
|  | Blank Calculation | [5 empty] | Final Reported | ∆ Units: | Yes
|  | BC LOD: | 12.0594 | mg/L |  |  |  | Reported LOD: | 50.5509 | mg/Kg
|  | BC LOQ: | 40.1981 | mg/L |  |  |  | Reported LOQ: | 100 | mg/Kg
Horizon limits and custom updated 11/11/19
Product book kupdated 11/11/19
SDJ
Formulas:
Analytical = [Analytical]

## Sheet1
SAMPLE NUMBER | ACODE | ANALYSIS DATE | INSTRUMENT | RESULT | UNITS
1909946 | Lloyd Kahn | 2019-07-31 07:07 | 40WTAG | 0 | mg/kg
1906853 | Lloyd Kahn | 2019-07-24 05:24 | 40WTAG | 0 | mg/kg
1898628 | Lloyd Kahn | 2019-07-10 11:21 | 40WTAG | 0 | mg/kg
1889478 | Lloyd Kahn | 2019-06-25 07:19 | 40WTAG | 0 | mg/kg
1881908 | Lloyd Kahn | 2019-06-12 09:37 | 40WTAG | 0 | mg/kg
1881902 | Lloyd Kahn | 2019-06-12 06:18 | 40WTAG | 0 | mg/kg
1877753 | Lloyd Kahn | 2019-06-05 10:02 | 40WTAG | 0 | mg/kg
1867026 | Lloyd Kahn | 2019-05-17 05:06 | 40WTAA | 0 | mg/kg
1867020 | Lloyd Kahn | 2019-05-16 08:10 | 40WTAA | 0 | mg/kg
1859875 | Lloyd Kahn | 2019-05-02 10:50 | 40WTAG | 0 | mg/kg
1852334 | Lloyd Kahn | 2019-04-18 09:27 | 40WTAG | 0 | mg/kg
1852330 | Lloyd Kahn | 2019-04-18 11:38 | 40WTAA | 0 | mg/kg
1851714 | Lloyd Kahn | 2019-04-18 08:29 | 40WTAA | 0 | mg/kg
1842304 | Lloyd Kahn | 2019-03-29 05:08 | 40WTAG | 0 | mg/kg
1841690 | Lloyd Kahn | 2019-03-28 10:24 | 40WTAA | 0 | mg/kg
1841686 | Lloyd Kahn | 2019-03-28 10:52 | 40WTAG | 0 | mg/kg
1821514 | Lloyd Kahn | 2019-01-30 08:41 | 40WTAA | 0 | mg/kg
1821508 | Lloyd Kahn | 2019-01-30 06:57 | 40WTAA | 0 | mg/kg
1817458 | Lloyd Kahn | 2019-01-29 10:23 | 40WTAA | 0 | mg/kg
1809188 | Lloyd Kahn | 2018-12-20 13:14 | 40WTAA | 0 | mg/kg
1807201 | Lloyd Kahn | 2018-12-17 12:35 | 40WTAG | 0 | mg/kg
1807195 | Lloyd Kahn | 2018-12-17 08:42 | 40WTAG | 0 | mg/kg
1806017 | Lloyd Kahn | 2018-12-14 06:37 | 40WTAG | 0 | mg/kg
1805077 | Lloyd Kahn | 2018-12-14 11:20 | 40WTAG | 0 | mg/kg
1802164 | Lloyd Kahn | 2018-12-06 10:45 | 40WTAG | 0 | mg/kg
1801423 | Lloyd Kahn | 2018-12-06 07:41 | 40WTAG | 0 | mg/kg
1801419 | Lloyd Kahn | 2018-12-05 07:05 | 40WTAG | 0 | mg/kg
1797958 | Lloyd Kahn | 2018-11-27 13:01 | 40WTAG | 0 | mg/kg
1797952 | Lloyd Kahn | 2018-11-27 08:34 | 40WTAG | 0 | mg/kg
1797542 | Lloyd Kahn | 2018-11-26 14:26 | 40WTAG | 0 | mg/kg
1793418 | Lloyd Kahn | 2018-11-26 08:46 | 40WTAG | 0 | mg/kg
1792446 | Lloyd Kahn | 2018-11-14 10:44 | 40WTAG | 0 | mg/kg
1792438 | Lloyd Kahn | 2018-11-14 06:10 | 40WTAG | 0 | mg/kg
1790722 | Lloyd Kahn | 2018-11-12 09:58 | 40WTAG | 0 | mg/kg
1788804 | Lloyd Kahn | 2018-11-09 12:24 | 40WTAG | 0 | mg/kg
1787861 | Lloyd Kahn | 2018-11-09 08:04 | 40WTAG | 0 | mg/kg
1787705 | Lloyd Kahn | 2018-11-08 07:49 | 40WTAG | 0 | mg/kg
1785888 | Lloyd Kahn | 2018-11-07 11:11 | 40WTAG | 0 | mg/kg
1777514 | Lloyd Kahn | 2018-10-25 12:03 | 40WTAG | 0 | mg/kg
1776807 | Lloyd Kahn | 2018-10-25 05:33 | 40WTAG | 0 | mg/kg
1776801 | Lloyd Kahn | 2018-10-24 11:22 | 40WTAA | 0 | mg/kg
1776795 | Lloyd Kahn | 2018-10-24 10:10 | 40WTAG | 0 | mg/kg
1776789 | Lloyd Kahn | 2018-10-24 08:21 | 40WTAA | 0 | mg/kg
1775647 | Lloyd Kahn | 2018-10-22 12:31 | 40WTAG | 0 | mg/kg
1775429 | Lloyd Kahn | 2018-10-24 04:51 | 40WTAG | 0 | mg/kg
1773397 | Lloyd Kahn | 2018-10-22 09:22 | 40WTAG | 0 | mg/kg
1771674 | Lloyd Kahn | 2018-10-19 06:37 | 40WTAG | 0 | mg/kg
1767255 | Lloyd Kahn | 2018-10-10 05:16 | 40WTAG | 0 | mg/kg
1761356 | Lloyd Kahn | 2018-09-28 09:03 | 40WTAG | 0 | mg/kg
1758810 | Lloyd Kahn | 2018-09-25 12:24 | 40WTAG | 0 | mg/kg
1758807 | Lloyd Kahn | 2018-09-25 12:28 | 40WTAA | 0 | mg/kg
1758403 | Lloyd Kahn | 2018-09-24 12:46 | 40WTAG | 0 | mg/kg
1758399 | Lloyd Kahn | 2018-09-24 12:43 | 40WTAA | 0 | mg/kg
1755290 | Lloyd Kahn | 2018-09-20 10:56 | 40WTAG | 0 | mg/kg
1754562 | Lloyd Kahn | 2018-09-19 12:24 | 40WTAG | 0 | mg/kg
1753078 | Lloyd Kahn | 2018-09-14 11:30 | 40WTAG | 0 | mg/kg
1753009 | Lloyd Kahn | 2018-09-18 10:52 | 40WTAG | 0 | mg/kg
1752155 | Lloyd Kahn | 2018-09-14 07:58 | 40WTAG | 0 | mg/kg
1751245 | Lloyd Kahn | 2018-09-12 14:15 | 40WTAG | 0 | mg/kg
1750728 | Lloyd Kahn | 2018-09-11 15:02 | 40WTAG | 0 | mg/kg
1750707 | Lloyd Kahn | 2018-09-11 11:55 | 40WTAG | 0 | mg/kg
1748459 | Lloyd Kahn | 2018-09-07 12:16 | 40WTAG | 0 | mg/kg
1747529 | Lloyd Kahn | 2018-09-06 11:32 | 40WTAG | 0 | mg/kg
1746826 | Lloyd Kahn | 2018-09-05 14:39 | 40WTAG | 0 | mg/kg
1746819 | Lloyd Kahn | 2018-09-05 11:35 | 40WTAG | 0 | mg/kg
1746773 | Lloyd Kahn | 2018-09-04 17:07 | 40WTAG | 0 | mg/kg
1745238 | Lloyd Kahn | 2018-08-31 07:23 | 40WTAG | 0 | mg/kg
1743843 | Lloyd Kahn | 2018-08-30 14:40 | 40WTAG | 0 | mg/kg
1743830 | Lloyd Kahn | 2018-08-30 11:02 | 40WTAG | 0 | mg/kg
1743824 | Lloyd Kahn | 2018-08-30 07:38 | 40WTAG | 0 | mg/kg
1742155 | Lloyd Kahn | 2018-08-27 12:11 | 40WTAG | 0 | mg/kg
1742134 | Lloyd Kahn | 2018-08-27 09:13 | 40WTAG | 0 | mg/kg
1741029 | Lloyd Kahn | 2018-08-24 10:32 | 40WTAG | 0 | mg/kg
1741023 | Lloyd Kahn | 2018-08-24 07:32 | 40WTAG | 0 | mg/kg
1739661 | Lloyd Kahn | 2018-08-27 06:04 | 40WTAG | 0 | mg/kg
1739655 | Lloyd Kahn | 2018-08-23 09:17 | 40WTAG | 0 | mg/kg
1739433 | Lloyd Kahn | 2018-08-22 10:25 | 40WTAG | 0 | mg/kg
1738842 | Lloyd Kahn | 2018-08-22 07:24 | 40WTAG | 0 | mg/kg
1738472 | Lloyd Kahn | 2018-08-21 08:50 | 40WTAG | 0 | mg/kg
1738404 | Lloyd Kahn | 2018-08-20 12:48 | 40WTAG | 0 | mg/kg
1735911 | Lloyd Kahn | 2018-08-16 09:50 | 40WTAG | 0 | mg/kg
1735905 | Lloyd Kahn | 2018-08-16 06:57 | 40WTAG | 0 | mg/kg
1735899 | Lloyd Kahn | 2018-08-15 11:10 | 40WTAG | 0 | mg/kg
1716215 | Lloyd Kahn | 2018-07-03 06:43 | 40WTAG | 0 | mg/kg
1704641 | Lloyd Kahn | 2018-06-11 09:14 | 40WTAA | 0 | mg/kg
1672396 | Lloyd Kahn | 2018-04-18 12:37 | 40WTAG | 0 | mg/kg
1672393 | Lloyd Kahn | 2018-04-18 12:00 | 40WTAA | 0 | mg/kg
1671873 | Lloyd Kahn | 2018-04-11 12:58 | 40WTAA | 0 | mg/kg
1658669 | Lloyd Kahn | 2018-03-14 09:25 | 40WTAG | 0 | mg/kg
1649911 | Lloyd Kahn | 2018-02-20 10:28 | 40WTAG | 0 | mg/kg
1646191 | Lloyd Kahn | 2018-02-07 11:54 | 40WTAG | 0 | mg/kg
1642386 | Lloyd Kahn | 2018-01-29 12:05 | 40WTAG | 0 | mg/kg
1637641 | Lloyd Kahn | 2018-01-12 09:36 | 40WTAG | 0 | mg/kg
1637058 | Lloyd Kahn | 2018-01-09 10:34 | 40WTAG | 0 | mg/kg
1636695 | Lloyd Kahn | 2018-01-08 11:31 | 40WTAG | 0 | mg/kg
1636691 | Lloyd Kahn | 2018-01-08 13:24 | 40WTAA | 0 | mg/kg
1634055 | Lloyd Kahn | 2017-12-28 05:33 | 40WTAG | 0 | mg/kg
1633749 | Lloyd Kahn | 2017-12-26 15:10 | 40WTAG | 0 | mg/kg
1633258 | Lloyd Kahn | 2017-12-26 09:52 | 40WTAG | 0 | mg/kg
1629146 | Lloyd Kahn | 2017-12-15 08:46 | 40WTAG | 0 | mg/kg
1629140 | Lloyd Kahn | 2017-12-15 05:40 | 40WTAG | 0 | mg/kg
1628485 | Lloyd Kahn | 2017-12-13 13:50 | 40WTAG | 0 | mg/kg
1628479 | Lloyd Kahn | 2017-12-13 10:21 | 40WTAG | 0 | mg/kg
1623747 | Lloyd Kahn | 2017-12-08 09:28 | 40WTAG | 0 | mg/kg
1623741 | Lloyd Kahn | 2017-12-07 06:07 | 40WTAG | 0 | mg/kg
1621285 | Lloyd Kahn | 2017-12-01 12:34 | 40WTAG | 0 | mg/kg
1620484 | Lloyd Kahn | 2017-11-29 13:04 | 40WTAG | 0 | mg/kg
1619840 | Lloyd Kahn | 2017-11-29 09:44 | 40WTAG | 0 | mg/kg
1619729 | Lloyd Kahn | 2017-11-28 05:52 | 40WTAG | 0 | mg/kg
1619372 | Lloyd Kahn | 2017-11-27 14:10 | 40WTAG | 0 | mg/kg
1619366 | Lloyd Kahn | 2017-11-27 11:01 | 40WTAG | 0 | mg/kg
1615308 | Lloyd Kahn | 2017-11-17 06:47 | 40WTAA | 0 | mg/kg
1614649 | Lloyd Kahn | 2017-11-17 06:43 | 40WTAG | 0 | mg/kg
1614641 | Lloyd Kahn | 2017-11-16 15:38 | 40WTAG | 0 | mg/kg
1614626 | Lloyd Kahn | 2017-11-16 11:21 | 40WTAG | 0 | mg/kg
1613611 | Lloyd Kahn | 2017-11-15 13:07 | 40WTAA | 0 | mg/kg
1613536 | Lloyd Kahn | 2017-11-15 09:13 | 40WTAA | 0 | mg/kg
1613530 | Lloyd Kahn | 2017-11-15 05:44 | 40WTAA | 0 | mg/kg
1612986 | Lloyd Kahn | 2017-11-14 14:29 | 40WTAA | 0 | mg/kg
1612640 | Lloyd Kahn | 2017-11-14 10:21 | 40WTAA | 0 | mg/kg
1612542 | Lloyd Kahn | 2017-11-14 04:41 | 40WTAA | 0 | mg/kg
1609520 | Lloyd Kahn | 2017-11-10 06:06 | 40WTAA | 0 | mg/kg
1608417 | Lloyd Kahn | 2017-11-08 17:47 | 40WTAA | 0 | mg/kg
1608411 | Lloyd Kahn | 2017-11-08 14:02 | 40WTAA | 0 | mg/kg
1607677 | Lloyd Kahn | 2017-11-08 05:49 | 40WTAA | 0 | mg/kg
1607667 | Lloyd Kahn | 2017-11-08 09:57 | 40WTAA | 0 | mg/kg
1607661 | Lloyd Kahn | 2017-11-07 11:55 | 40WTAA | 0 | mg/kg
1607365 | Lloyd Kahn | 2017-11-07 08:28 | 40WTAA | 0 | mg/kg
1604878 | Lloyd Kahn | 2017-11-03 10:00 | 40WTAG | 0 | mg/kg
1603804 | Lloyd Kahn | 2017-11-03 10:27 | 40WTAG | 0 | mg/kg
1602750 | Lloyd Kahn | 2017-10-31 13:19 | 40WTAG | 0 | mg/kg
1600176 | Lloyd Kahn | 2017-10-27 10:48 | 40WTAA | 0 | mg/kg
1599177 | Lloyd Kahn | 2017-10-27 08:16 | 40WTAA | 0 | mg/kg
1599171 | Lloyd Kahn | 2017-10-27 05:01 | 40WTAA | 0 | mg/kg
1593028 | Lloyd Kahn | 2017-10-18 08:30 | 40WTAA | 0 | mg/kg
1593022 | Lloyd Kahn | 2017-10-18 11:19 | 40WTAA | 0 | mg/kg
1591493 | Lloyd Kahn | 2017-10-18 04:47 | 40WTAA | 0 | mg/kg
1591483 | Lloyd Kahn | 2017-10-17 12:58 | 40WTAA | 0 | mg/kg
1586288 | Lloyd Kahn | 2017-10-09 11:55 | 40WTAA | 0 | mg/kg
1582383 | Lloyd Kahn | 2017-10-03 15:18 | 40WTAA | 0 | mg/kg
1581765 | Lloyd Kahn | 2017-10-03 12:01 | 40WTAA | 0 | mg/kg
1581759 | Lloyd Kahn | 2017-10-03 08:52 | 40WTAA | 0 | mg/kg
1570635 | Lloyd Kahn | 2017-09-13 11:24 | 40WTAA | 0 | mg/kg
1570110 | Lloyd Kahn | 2017-09-11 10:11 | 40WTAA | 0 | mg/kg
1567303 | Lloyd Kahn | 2017-09-06 09:23 | 40WTAA | 0 | mg/kg
1566098 | Lloyd Kahn | 2017-09-06 06:30 | 40WTAA | 0 | mg/kg
1565238 | Lloyd Kahn | 2017-08-31 16:14 | 40WTAA | 0 | mg/kg
1565232 | Lloyd Kahn | 2017-08-31 12:54 | 40WTAA | 0 | mg/kg
1565226 | Lloyd Kahn | 2017-08-31 09:35 | 40WTAA | 0 | mg/kg
1564489 | Lloyd Kahn | 2017-08-31 06:06 | 40WTAA | 0 | mg/kg
1564483 | Lloyd Kahn | 2017-08-30 11:54 | 40WTAA | 0 | mg/kg
1564477 | Lloyd Kahn | 2017-08-30 08:51 | 40WTAA | 0 | mg/kg
1563534 | Lloyd Kahn | 2017-08-28 13:00 | 40WTAA | 0 | mg/kg
1563525 | Lloyd Kahn | 2017-08-28 09:33 | 40WTAA | 0 | mg/kg
1561756 | Lloyd Kahn | 2017-08-24 13:30 | 40WTAA | 0 | mg/kg
1560372 | Lloyd Kahn | 2017-08-24 10:07 | 40WTAA | 0 | mg/kg
1560366 | Lloyd Kahn | 2017-08-22 15:30 | 40WTAA | 0 | mg/kg
1560162 | Lloyd Kahn | 2017-08-22 12:24 | 40WTAA | 0 | mg/kg
1559912 | Lloyd Kahn | 2017-08-24 06:58 | 40WTAA | 0 | mg/kg
1559904 | Lloyd Kahn | 2017-08-21 12:11 | 40WTAA | 0 | mg/kg
1559898 | Lloyd Kahn | 2017-08-21 08:52 | 40WTAA | 0 | mg/kg
1558886 | Lloyd Kahn | 2017-08-21 05:47 | 40WTAA | 0 | mg/kg
1558880 | Lloyd Kahn | 2017-08-18 12:53 | 40WTAA | 0 | mg/kg
1557615 | Lloyd Kahn | 2017-08-18 09:46 | 40WTAA | 0 | mg/kg
1557595 | Lloyd Kahn | 2017-08-17 12:28 | 40WTAA | 0 | mg/kg
1556706 | Lloyd Kahn | 2017-08-17 09:01 | 40WTAA | 0 | mg/kg
1556688 | Lloyd Kahn | 2017-08-15 14:36 | 40WTAA | 0 | mg/kg
1556682 | Lloyd Kahn | 2017-08-15 11:09 | 40WTAA | 0 | mg/kg
1556610 | Lloyd Kahn | 2017-08-15 07:54 | 40WTAA | 0 | mg/kg
1555333 | Lloyd Kahn | 2017-08-11 13:50 | 40WTAA | 0 | mg/kg
1555327 | Lloyd Kahn | 2017-08-11 10:16 | 40WTAA | 0 | mg/kg
1555321 | Lloyd Kahn | 2017-08-11 06:59 | 40WTAA | 0 | mg/kg
1554354 | Lloyd Kahn | 2017-08-10 13:46 | 40WTAA | 0 | mg/kg
1554250 | Lloyd Kahn | 2017-08-10 10:07 | 40WTAA | 0 | mg/kg
1553033 | Lloyd Kahn | 2017-08-10 06:51 | 40WTAA | 0 | mg/kg
1553027 | Lloyd Kahn | 2017-08-09 14:42 | 40WTAA | 0 | mg/kg
1552960 | Lloyd Kahn | 2017-08-09 05:29 | 40WTAA | 0 | mg/kg
1552567 | Lloyd Kahn | 2017-08-09 10:45 | 40WTAA | 0 | mg/kg
1552561 | Lloyd Kahn | 2017-08-08 12:28 | 40WTAA | 0 | mg/kg
1551295 | Lloyd Kahn | 2017-08-04 14:58 | 40WTAA | 0 | mg/kg
1551289 | Lloyd Kahn | 2017-08-04 11:25 | 40WTAA | 0 | mg/kg
1551283 | Lloyd Kahn | 2017-08-04 07:38 | 40WTAA | 0 | mg/kg
1549350 | Lloyd Kahn | 2017-08-02 13:31 | 40WTAA | 0 | mg/kg
1548207 | Lloyd Kahn | 2017-08-02 06:30 | 40WTAA | 0 | mg/kg
1547951 | Lloyd Kahn | 2017-08-01 14:42 | 40WTAA | 0 | mg/kg
1591477 | Lloyd Kahn | 2017-10-17 09:19 | 40WTAA | 0.46 | mg/kg
1817462 | Lloyd Kahn | 2019-01-29 10:45 | 40WTAA | 2.6 | mg/kg
1636736 | Lloyd Kahn | 2018-01-09 14:01 | 40WTAA | 3.7 | mg/kg
1823329 | Lloyd Kahn | 2019-02-27 16:00 | 40WTAA | 5 | mg/kg
1694286 | Lloyd Kahn | 2018-05-23 08:57 | 40WTAA | 6.1 | mg/kg
1811128 | Lloyd Kahn | 2018-12-26 11:31 | 40WTAA | 11.4 | mg/kg
1859872 | Lloyd Kahn | 2019-05-02 10:38 | 40WTAA | 13.9 | mg/kg
1549344 | Lloyd Kahn | 2017-08-02 09:55 | 40WTAA | 23.3 | mg/kg
1783631 | Lloyd Kahn | 2018-11-02 10:46 | 40WTAG | 29.7 | mg/kg
1637091 | Lloyd Kahn | 2018-01-09 13:45 | 40WTAA | 30.7 | mg/kg
1610518 | Lloyd Kahn | 2017-11-10 10:47 | 40WTAG | 42.6 | mg/kg
196 | MB results (population) |  | Average | 0.86459
194.04 | 99th percentile |  | SD | 4.7727
29.7 | B99 LOD |  | Student T | 2.3456
99 | B99 LOQ |  | BC LOD | 12.0594
|  |  | BC LOQ | 40.1981