Instructions:  Please supply all requested information in the areas shaded yellow and indicate any attachments that have been included to support your responses.

2.4.1 PRELIMINARY REQUIREMENTS

2.4.1.1 Provide documentation confirming that at least one senior staff member is, or shall become, a professional member of the Association of Racing Chemists. Confirm respondents understanding that a staff member must maintain that status for the duration of the contractual agreement without gaps in membership.

2.4.1.2 Affirm understanding and details of compliance of TOBA guidelines as it relates to race day sample testing.

2.4.1.3 Provide quantitation of all ARCI approved threshold drugs, and any other substances listed in 71 IAC 8, and 71 IAC 8.5.

2.4.1.4 Provide quantitation of 16β – hydroxystanozolol, boldenone, nardrolone, and testosterone in biological samples.

2.4.1.5 Provide a comprehensive description of the internal quality assurance/quality control programs. The external, independent quality assurance program, to include proficiency samples and blind sample testing shall be described, and the specific entity to administer the external testing program must be identified in the Proposal and has been approved by the IHRC’s representative.

2.4.1.6 Confirm and provide details of key laboratory personnel and accessibly outside of normal business hours including weekends, holidays, and evenings which correspond with the IHRC’s race schedule for the year.

2.4.1.7 Provide a description of testing capabilities for equine biological samples, specifically blood, urine, and hair.

2.4.1.8 Provide a description of testing capabilities for equine biological samples other than blood, urine, or hair (i.e. saliva, semen, etc.).

2.4.1.9 Affirm that IHRC staff will have the opportunity to inspect the premises, either in-person or virtually via video conferencing software. Acknowledge that the inspection may be scheduled at random, yet it will take place during regular business hours.

2.4.1.10 Provide documentation confirming participation in both internal and external quality control programs as described above as part of bid.

2.4.1.11 Affirm understanding and detail how the laboratory is capable of handling a significant number of blood samples for total carbon dioxide (“TCO2”) testing.

2.4.2 TESTING OF SAMPLES

2.4.2.1 Provide existing or proposed ISO/IEC 17025 accreditation including scope(s) of accreditation.

2.4.2.2 Provide a description of similar equine contracts performed in the last three (3) years including contact person(s) and telephone number(s).

2.4.2.3 Provide a list of other relevant certifications and/or accreditations, including but not limited to RMTC.

2.4.2.4 Provide a detailed report of equine analyses performed for the previous three (3) calendar years. The report must include:

A) Number of equine samples analyzed, categorized as urine, blood (serum or plasma), or 	hair.

B) Listing of prohibited drugs detected, during that period, by name and frequency of detection.

C) Number of overages identified for anti-inflammatory drugs and furosemide.

D) Number of test results that resulted in testimony provided for administrative or court 	proceedings.

E) Names of cases and jurisdiction in which testimony was given.

F) Results of expert testimony. Include information on any determination made by a hearing officer or quasi-judicial officer that the testimony of the laboratory personnel was not 	credible. Explain the circumstances and provide information on corrective actions taken subsequent to the determination.

2.4.2.5 Confirm understanding that upon being awarded the contract from this RFP, the laboratory will confirm its understanding and compliance details. Details must include the capacity to process non-graded stakes hair samples within seven days for initial screening and an additional seven days for confirmatory analysis.

2.4.2.6 Provide two (2) copies of litigation packages used in actual cases. Provide case outcomes and scientific challenges proffered. Identifying information, such as would violate client confidentiality, may be removed prior to inclusion in the Proposal. If the laboratory has a case that was successfully challenged on scientific merit, it should be submitted as one of the litigation packages. The respondent shall comment on the challenge and provide recommendations for remediation of the existent flaws.

2.4.2.7 Affirm understanding and details of the respondent’s ability to comply with the following:

Blood samples identified for TCO2 testing shall be subjected to analysis on a Headspace instrument using validated methodology. If the laboratory proposes to employ a different instrument, it must demonstrate the proposed instrument is equivalent to, and provides results consistent with, Headspace equipment.

Samples shall be subjected to analysis within one hundred and twenty (120) hours of collection from the horse. The laboratory shall not analyze samples greater than one hundred and twenty (120) hours post-collection. The laboratory shall promptly notify the regulatory agency of any samples excluded from analysis due to sample age.

2.4.3 GRADED STAKES TESTING

2.4.3.1 Provide a comprehensive description of ability to comply with TOBA guidelines or provide an acceptable alternative for the testing of these samples outlined in this RFP.

2.4.3.2 Affirm and provide details of ability, if awarded the contract from this RFP, the laboratory will be able to complete confirmatory analysis as necessary on a high volume of hair samples within seven (7) days to ensure that IHRC can take necessary action based upon testing results prior to a graded stakes race.

2.4.4 RECORD KEEPING AND RECORD RETENTION

2.4.4.1 Provide a detailed sample “chain-of-custody” document that is currently being utilized with a similar client.

2.4.4.2 Provide a detailed example of a record retention schedule.

2.4.5 OWNERSHIP

2.4.5.1 Provide a complete list of all officers and directors of the company as well as any person(s)_ who owns more than 5% of the company or the company stock.

2.4.5.2 Please affirm understanding and how the respondent will comply that no person that has a direct financial interest in the racing laboratory is a shareholder, officer, partner, or director shall have a direct financial interest in the ownership of racehorses, either directly or indirectly, or any other financial interest connected with horse racing.

2.4.5.3 Please affirm understanding and how the respondent will comply that no laboratory staff shall have a financial interest in the ownership of racehorses, either directly or indirectly, or any other financial interest connected with horse racing.

2.4.6 STANDARD OPERATING PROCEDURES AND LABORATORY MANUAL

2.4.6.1 Provide a current Standard Operating Procedure Manual and Quality Manual. Describing how the laboratory will archive retired copies of the standard operating procedures in such a manner that the procedures that were used to test each specific sample can be identified.

2.4.7 COLLECTING AND SHIPPING SAMPLES

2.4.7.1 Please submit a sample of the following with the proposal, unless otherwise indicated. Further specifications can be found in section 1.4.6 Summary Scope of Work.

A) Sample Container – lockable, insulated, secure containers. All sample shipping containers must be fitted with locks and hasps to ensure sample integrity and security. The containers should be insulated against extreme heat and cold. Please submit a photograph of actual shipping containers to be used including a photograph of the lock and hasp closure. The IHRC reserves the right to request a physical sample. Please submit a schematic of how the shipping container should be packed for shipment in order to ensure the integrity of the 	samples. Include the dimensions of the shipping container and maximum number of blood and urine samples each shipping container can hold.

B) Collection cups with lids – sealed, leakproof and unbreakable containers with a minimum 	capacity of 250 milliliters.

C) Split sample cups with lids – sealed, leakproof 100 milliliter specimen cups for frozen 	storage.

D) Blood tubes – 8.5 mL serum separator vacuum tubes including SS tubes for split blood 	sample collection and storage. If multiple tubes of blood are necessary to fulfill the testing 	requirements of IHRC, please provide a number of tubes per sample and reason(s) why 	multiple tubes are necessary.

E) Needle – 20 gauge 1” vacutainer needles.

F) Sample tickets and tamper proof evidence seals for blood and urine samples.

2.4.7.2 Provide a list and description of the materials to be shipped to the racetracks for sample collection, sample containment, sample preparation, sample identification, sample security (sealing), sample packing and shipment, container security and sample documentation. Additionally, include proposed supplies shipment schedule for each race meet (harness and flat racing).

2.4.7.3 Affirm understanding and include details of the respondents ability to ship additional samples as directed for non-pari-mutuel (out of competition) testing.

2.4.7.4 Provide the current courier’s name and sample shipping schedule.

2.4.8 METHODOLOGY

2.4.8.1 Provide a description of instrumental methods of analysis proposed including:

A) The scope of drug coverage by instrumental methods, specifying where applicable, preferred methods for individual drugs or their metabolites to include each of the following:

- GC/MS (gas chromatography/mass spectrometry) or GC/MSⁿ

- LC/MS (liquid chromatography/mass spectrometry) or LC/MSⁿ

B) Identification of substances for exclusion from instrumental screening and justification for said exclusion to include each of the following:

  - GC/MS (gas chromatography/mass spectrometry) GC/MSⁿ

  - LC/MS (liquid chromatography/mass spectrometry) LC/MSⁿ

  - Other instrumental methods that achieve the stated goals of the commission

C) The relevant standards used for identification to include each of the following:

- GC/MS (gas chromatography/mass spectrometry) GC/MSⁿ

- LC/MS (liquid chromatography/mass spectrometry) LC/MSⁿ

- Other instrumental methods that achieve the stated goals of the commission

D) Standard Operating Procedures for each of the instrumental screening methodologies to be performed by the laboratory.

2.4.8.2 Description of panel of immunoassay test proposed including scope of drug coverage

- Describe fully and provide justification for selecting the proposed ELISA tests to be performed as a complement to instrumental screening methods.

- Identify proposed ELISA tests to be performed daily. Provide a list of available tests for inclusion in rotations.

- Describe all immunoassay tests to be offered including the scope of drug coverage and the limits of detection.

- The offer must include all SOPs employed in ELISA testing from sample preparation through reporting of results.

- Request for approval to pool samples for immunoassay testing including number of samples to be pooled per test, ELISA tests for which pooled sample testing is requested, and justification for pooling of samples, if applicable.

2.4.8.3 Provide description of phenylbutazone and furosemide quantitation methods and the coefficient of variation or other estimate of measurement uncertainty for the standard method of quantitation for these analytes as used in the laboratory.

2.4.8.4 Provide description of screening and confirmation analysis for out of competition testing for blood doping drugs such as erythropoietin and darbepoietin.

2.4.8.5 Provide description of screening and confirmation analysis for zilpaterol and ractopamine.

2.4.8.6 Provide description of any other tests or testing methodologies that the laboratory proposes to employ in testing IHRC’s samples.

2.4.8.7 Provide detailed description of confirmatory testing methodology.

2.4.8.8 Provide a data package used to support chemical identification; the laboratory may delete any information in the data package that would identify the source of the sample tested.

2.4.9 QUALITY ASSURANCE/QUALITY CONTROL PROGRAM/PROFICIENCY AND BLIND SAMPLE TESTING PROGRAM

2.4.9.1 Provide a comprehensive description of the internal quality assurance/quality control program. The external, independent quality assurance program, ability to include proficiency samples and blind sample testing shall be scribed, and the specific entity to administer the external testing program must be identified in the Proposal and approved by the IHRC’s representative.

2.4.9.2 Provide a comprehensive description of any results of external quality control samples and independent quality assurance activities over the past three (3) years must be included.

2.4.9.3 Provide the total number of internal and external quality control (QC) samples (positive controls and blind samples) analyzed over each of the previous three (3) years along with total number of samples analyzed, categorized as urine, blood (serum or plasma) samples. QC samples for phenylbutazone, flunixin, and furosemide quantitation in serum or plasma should be itemized separately.

2.4.9.4 Provide a description of corrective action taken if any of the internal and external quality control (QC) samples resulted in failed analysis.

2.4.10 LABORATORY STAFF

2.4.10.1 Provide detailed projected staffing description, including lead, technical, and support personnel and a plan to implement required staffing for this contract if not currently in place.

2.4.10.2 Provide resumes for all current personnel having any responsibility for the IHRC contract work. This must fully reflect any and all required experience and expertise in the field of equine drug testing.

2.4.10.3 Identify the person dedicated to the proposed IHRC work along with his/her status as a member of the Association of Official Racing Chemists. Include the following as well:

  - Key contact to and from whom all communications with IHRC will take place.

  - Laboratory technical manager/director – if different from above.

  - Laboratory quality manager.

  - Technical Staff.

  - Support Staff.

2.4.10.4 List all AORC members and their term (years) of membership.

2.4.10.5 The scientific and support staff must include sufficient technically competent people to support the workload of the IHRC samples, along with any other contractual obligations of the laboratory within the prescribed time limits. Please indicate these staffing positions and provide their resume.

2.4.10.6 Describe  your companies  ability to have key laboratory personnel accessible outside of normal business hours, including weekends, holidays, and evenings which correspond to the IHRC’s race schedule for the year? Please answer yes or no. If no, please explain.

2.4.10.7 Please affirm and describe controls preventing the laboratory will not make changes in key personnel without the approval of the IHRC.

2.4.10.8 Provide name(s), resume(s) and experience of qualified personnel who would provide expert testimony upon request of the IHRC.

2.4.11 LABORATORY FACILITIES

2.4.11.1 Describe fully the laboratory facility including the physical location and address, the total square footage of the laboratory, the date established, total number of full-time and part-time employees, and the total of areas of the laboratory to be used for work dedicated to the IHRC.

2.4.11.2 Describe fully the security systems routinely implemented to ensure sample integrity, chain of custody, restricted access sample storage and control methodology.

2.4.11.3 List all normal business hours that the proposed work for the IHRC is to be performed.

2.4.11.4 Describe the secure and sample-appropriate storage space for the IHRC’s official samples to maintain chain of custody and chemical integrity. Describe the storage space for testing related supplies and lockable file cabinets for confidential materials including, but not limited to, test results, documentation packets, evidentiary materials, security, and correspondence with the IHRC.

2.4.11.5 Describe the laboratory space equipped with proper bench space, fume hoods, acid/base storage, flammable solvent storage and reagent storage sufficient to satisfy the State and/or Federal Occupational Safety and Health Requirements and standards set forth through ISO/IEC 17025.

2.4.11.6 Confirm the laboratory shall have and maintain all applicable Federal and State drug and/or controlled dangerous substances licenses or permits. Please provide copies of those permits.

2.4.11.7 Please affirm understanding and agreement that your organization understand the requirement to admit any IHRC Commissioners, the Executive Director, and/or designated representative(s) to the laboratory premises for random inspection during regular business hours.

2.4.11.8 Please affirm that in lieu of an in-person site visit, your organization is capable of conducting a virtual tour of the laboratory premises using Skype or an equivalent video conference tool.

2.4.12 LABORATORY EQUIPMENT

2.4.12.1 Describe fully the following instrumentation and equipment. Details must include whether the equipment is on-site and owned wholly by the laboratory, leased, rented, or on loan. In the case of temporary assignment, state the terms of equipment availability.

2.4.12.2 Confirm and provide details that the laboratory shall have and maintain the necessary equipment in proper working order at all times, provide schedules, and documentation for routine maintenance and or calibration of the following:

- Gas chromatograph/mass spectrometer equipped with computer data system and libraries.

- High performance liquid chromatograph equipped with ultra-violent absorbance, fluorescence, diode array, mass spectrometric devices and detectors.

- Liquid chromatograph/mass spectrometer.

- Any additional equipment identified in the laboratory’s response to this RFP.

2.4.12.3 Provide documentation that demonstrates proficiency in the performance of the following:

- Liquid/liquid extraction or comparable methodologies.

- ELISA and/or other immunoassay techniques, which may include automated sample handling, washing, reagent

dispensing apparatus and an endpoint reading instrument.

- Additional methodologies identified in the laboratory’s response to this RFP.

2.4.12.4 List all additional equipment available for the performance of the proposed work for the IHRC. State whether the equipment is on-site and owned wholly by the laboratory, leased, rented, or on loan. In case of temporary assignment, state the terms of equipment availability.

2.4.12.5 List all instrumentation that is currently under a preventative maintenance service contract or agreement.

2.4.12.6 List all staff dedicated to the IHRC proposed work that have been trained in the operation of each piece of instrumentation and by whom the training was performed.

2.4.12.7 List any back-up or contingency plans in case of equipment failure.

2.4.13 ADDITIONAL REQUIREMENTS

2.4.13.1 Provide a listing of peer reviewed scientific publications relating to equine racing chemistry resulting from work performed in your laboratory.

2.4.13.2 Describe fully all equine research projects originating in or from work in your laboratory and the funding sources within the last three (3) years.

2.4.13.3 The IHRC has budgeted and is holding in reserve $50,000 annually for future testing needs. As the use of performance enhancing drugs in horse racing evolves, the IHRC will need technical assistance from vendor(s) to develop tests as new drugs arise. Please detail how you will assist the IHRC in developing these tests and your typical price development process. The IHRC anticipates adding blood profiles, intended to monitor equine health and organ function, to its drug testing program. Bidders should be prepared to secure a vendor capable of performing this service upon request of IHRC. The reserve money will be used to compensate the primary laboratory for this work.

2.4.13.4 Provide confirmation that screening analyses of race day samples can be accomplished within five (5) business days of receipt of the sample. Describe circumstances, and provide examples of drugs, where additional time to confirm suspicious findings might be requested. Provide affirmation that you will notify IHRC immediately if race day samples cannot be screened within five (5) business days. Additionally, provide confirmation that confirmatory analyses can be completed within five (5) business days following an initial screening of a sample if required by the IHRC. Provide affirmation that you will notify IHRC immediately if confirmatory analyses cannot be completed within five (5) business days following the initial screening.

2.4.13.5 Identify the laboratory you propose to use for facilitation of testing of serum samples and for the presence of cobalt in excess of threshold levels established by IHRC rules (currently 25 parts per billion). Provide technical specifications regarding that laboratory’s ability to accurately and efficiently analyze serum for the presence of cobalt. Include the per-test cost associated with each serum sample submitted for cobalt analysis, and the selected laboratory’s anticipated time for providing results. Further, provide a proposed Memorandum of Understanding between the laboratory proposed for cobalt testing and your laboratory.

2.4.13.6 Identify, by drug and number of called positives, all confirmed positive equine tests over the past five (5) years. The laboratory may redact information that specifically identifies clients, trainers, or horses.

2.4.13.7 Provide information relating to any efforts made in the past to educate horsemen about testing and responsible use of permitted medications. The laboratory shall also provide a plan for educational efforts directed toward Indiana horsemen if the lab is awarded the Indiana contract.

2.4.14 SUGGESTED ADDITIONAL INFORMATION

2.4.14.1 The IHRC intends to form a partnership with the chosen laboratory to remain at the cutting edge of testing and sanctioning illegal or illicit drug use in horse racing in Indiana. As such, the IHRC strongly suggests that the bidders provide a list of substances/drugs for which the laboratory has the capability to test. Provide IHRC with the total number of substances/drugs that are screened for in each test. Understanding the proprietary nature of the above information, and the need for the information to be protected from potential bad actors in the horse racing industry, the IHRC is prepared to treat the above as confidential and proprietary if the bidder follows the instructions included for confidential information in this RFP. Bidders that decline to provide the above information should provide a detailed description of why that choice was made.