MANDATORY REQUIREMENTS

Instructions: Mark Yes or No to each mandatory requirement listed below to indicate your agreement and ability to meet the mandatory requirements.

Inability to meet any of the below requirements will end consideration of the proposal immediately.

| Mandatory Requirement | Agree (Yes or No) |
| --- | --- |
| - Laboratory is ISO/IEC 17025 and RMTC accredited. |  |
| - At least one senior staff member must be or shall become a professional member of the Association of Official Racing Chemists and must maintain that status for the duration of the contractual agreement. |  |
| - All race day samples shall be tested in accordance with TOBA guidelines. |  |
| - Quantitation of all ARCI approved threshold drugs and any other substances listed in 71 IAC 8, and 71 IAC 8.5. |  |
| - Quantitation of 16β – hydroxystanozolol, boldenone, nardrolone, and testosterone in biological samples. |  |
| - Affirm that key laboratory personnel will be accessible outside of normal business hours including weekends, holidays, and evenings which correspond with the IHRC’s race schedule for the year. |  |
| - Affirm that IHRC or IHRC staff will be afforded the opportunity to inspect the premises whether in-person or virtually through video conferencing software. Affirm understanding that inspection time/date may be random but will occur within normal business hours. |  |
| - Laboratory must participate in both internal and external quality control programs as described above as part of bid. Bidders should be participating in these programs prior to submitting a proposal. |  |
| - Affirm that the laboratory is capable of testing blood samples for total carbon dioxide (“TCO2”) using validated methods and a Headspace or comparable instrument. |  |