Mandatory Minimum Requirements

Provide a detailed response to each question. Only those proposals that meet the mandatory minimum requirements will be considered for evaluation.

| Mandatory Minimum Requirements | Bidder Response |
| --- | --- |
|  | Describe how you meet the Mandatory Minimum Requirements and provide documentation as requested. |
| - Bidder must meet all federal, state, and local requirements regarding business and transport operations and shall have obtained all required licenses, permits and registrations prior to submitting their bid. *All required information will be submitted with bid documents as separate attachments and labeled accordingly. |  |
| - A reliable source of fuel is essential. Contractors shall maintain, or have access to, an adequate inventory to provide delivery upon order from requesting facility. Bidders will submit with their bid the number and physical locations of terminals, propane storage capacity at each terminal, and number of delivery trucks in their fleet. |  |

Statement of Work Contract Activities

This document identifies the anticipated requirements of any Contract resulting from this RFP. The term “Contractor” in this document refers to a bidder responding to this RFP, as well as the Contractor who is awarded the contract. The term “bidder” is used to identify where specific responses to the RFP are required.

The Contractor must respond to each requirement or question and explain how it will fulfill each requirement.

IMPORTANT NOTE TO BIDDERS: There are specific requirements for which acceptance must be simply acknowledged through a checkbox(es), and others that require further explanation. Click one checkbox and complete the entries as identified.

BACKGROUND and SCOPE

The contract(s) that result from this RFP may be utilized by all State agencies and other governmental bodies that include County and Local levels of Government. Delivery locations are located throughout the State of Indiana. Anticipated primary users of this Contract include: Indiana Department of Natural Resources, Indiana Department of Corrections, Indiana State Police, Family and Social Services Administration, Indiana Department of Transportation, and Indiana Veterans Home.

There are approximately 204 separate delivery locations with approximately 589 tanks for propane utilizing approximately 330,000 gallons per year throughout the state.  More detailed usage is described in Attachment M – Tank Ownership & Locations.

Requirements

Contractor must be able to provide Liquid Propane Gas (LPG) to all locations as listed in Attachment M – Tank Ownership & Locations.

- General Requirements

  - Transition

For Propane Storage Tanks:

Transition In:

The State assumes no liability for any contractor owned tank during the removal of old tanks and the installation of new tanks.

Contractors may be required to transition from the previous LPG provider.  If the tank(s) are owned by the previous contractor, the contractor will be required to:

Work with the State in contacting the previous contractor to coordinate the disconnection and removal of the previous vendor’s tank(s) and replace with new tanks.

- Work with the State to determine how many gallons of propane are still in previous Contractor’s tank(s).  If any LPG remains in the tank, the State will mutually agree with previous contractor for possible credit of the unused LPG or previous Contractor agrees to leave tank in place until empty.

- Lines connected to the tanks are considered the property of the State from the service valve to the appliance.

If the tank(s) are State owned, the contractor agrees to:

- Perform pressure check at no charge to the State.

- Check to determine if the regulator system is acceptable.  If a new regulator is required, the cost will be incurred by the State.

- Existing fuel will not be required to be pumped from the tank prior to filling by the contractor.

- Check to insure that the tank has a legible data plate that identifies the following:

  - Working pressure

  - Year of manufacture

  - Manufacturer

  - Serial Number

Transition Out:

- Outgoing Contractor will take a reading of the tank to determine how much propane is left. Contractor agrees to either credit the unused propane or leave tank in place until empty.

- The outgoing contractor reserves the right to be present during the disconnection and removal of their tanks.  The State will make every effort to coordinate a time for both incoming and outgoing contractors to be present during the exchange.

- If outgoing contractor requests to be present, then outgoing contractor will be responsible for disconnecting and removing their tank.  To avoid a disruption in the delivery of propane to the connected appliance, outgoing contractor will not remove their tank without the new contractor being on site and ready to install the new tank.

The installation and/or removal of storage tank(s) shall be subject to reasonable weather conditions and operating parameters.

| Bidder Response: Bidder must check 1 box below and provide the requested information: |  |
| --- | --- |
|  | I have reviewed the above section and agree with no exception. |
|  | I have reviewed the above section and have noted all exception(s) within the response provided below. |
| List all exceptions(s): |  |

Bidder Response: Bidder must describe how they would transition into this contract if awarded some or all locations bid. Bidder must also describe how they will transition out at the conclusion of this agreement if they are not successful during the rebid.

  - Propane Specifications

A reliable source of fuel is essential.  Contractors shall maintain, or have access to, an adequate inventory to provide delivery upon request. The propane furnished shall be commercial propane conforming to the specification and test methods as required by Federal Specification HD5.

The proposed contract shall be subject to such modifications or adjustments as may be necessary or desirable by reason of any action or regulation set forth by the Federal, State, or Local Government relating to the use, production or sale of petroleum products during the contract period.

| Bidder Response: Bidder must check 1 box below and provide the requested information: |  |
| --- | --- |
|  | I have reviewed the above section and agree with no exception. |
|  | I have reviewed the above section and have noted all exception(s) within the response provided below. |
| List all exceptions(s): |  |

Bidder Response: The Bidder must provide answers to the following questions as it relates to propane supply disruptions: - What contingencies are in place to ensure the availability and deliverability of propane to State facilities in the event of a supply disruption?

  - Warranties

The State recognizes that the Contractor is not the manufacturer propane.  Ordering Agencies are eligible to receive manufacturers’ warranties, and the Contractor shall honor all manufacturers’ warranties and guarantees on entire catalog of products offered as part of this Contract. If the manufacturer offers an on-site warranty, those warranty services shall be passed on to the Ordering Agencies. If a product warranty extends beyond the term of this Contract, the Contractor shall agree to provide warranty services throughout the life of the warranty.

The State reserves the right to require additional warranties other than those identified by the Contractor in its response to this RFP.

| Bidder Response: Bidder must check 1 box below and provide the requested information: |  |
| --- | --- |
|  | I have reviewed the above section and agree with no exception. |
|  | I have reviewed the above section and have noted all exception(s) within the response provided below. |
| List all exceptions(s): |  |

Bidder Response: Bidder must describe any warranties included in the bid (if offered). If warranties are provided, bidder shall provide the following information: - Provide a description of the warranty: - Provide the length of the warranty: - Explain the process for reporting warranty issues: - Explain how any repairs or replacements are made, including timing, etc.: - If the warranty is provided through a third-party or manufacturer, the Contractor must confirm that the manufacturer’s warranty passes through to the State: - Provide the name, address, contact name, phone number and email address of the party responsible for the warranty:

  - Recall Requirements and Procedures

In the event product delivered has been recalled, seized, or embargoed and/or has been determined to be misbranded, or adulterated by the packer, processor, manufacturer or by any State or Federal regulatory State Agency, the Contractor shall be responsible for notifying the State Contract Manager and all ordering agencies/entities within two business days after notice has been given. Contractor shall, at the option of the ordering entity, either reimburse the purchase price or provide an equivalent replacement product at no additional cost. Contractor shall be responsible for removal and/or replacement of the affected product within a reasonable time as determined by the Ordering Agency. At the option of the ordering entity, Contractor may be required to reimburse storage and/or handling fees to be calculated from time of delivery and acceptance to actual removal.

Contractor will bear all costs associated with the removal and proper disposal of the affected product. Failure to reimburse the purchase price or provide equivalent replacement product will be considered a default.

| Bidder Response: Bidder must check 1 box below and provide the requested information: |  |
| --- | --- |
|  | I have reviewed the above section and agree with no exception. |
|  | I have reviewed the above section and have noted all exception(s) within the response provided below. |
| List all exceptions(s): |  |

  - Product Quality Testing

Contractor shall supply sample products in sufficient quantities for testing purposes when reasonable and requested. The Contractor shall contact the State Contract Manager in instances where the request for samples is believed to be unreasonable. The State Contract Manager shall determine if the request is reasonable or unreasonable. Samples shall be provided at no expense to the Ordering Agency and delivered within 2 – 4 business days of request.

Contractor shall bear the cost of removing any contaminated fuel from the storage tanks or any fuel not meeting specifications.

Contractor shall be responsible for the containment, cleanup, and disposal of petroleum spills which occur on the State owned or leased property and State roadways as a result of the contractor's equipment, leased or owned, being faulty and/or the negligence of their employee. When contractor is on the State owned or leased property and State roadways, contractor's equipment shall carry petroleum spill cleanup materials and equipment on board for cleaning petroleum spills up to 20 gallons.

| Bidder Response: Bidder must check 1 box below and provide the requested information: |  |
| --- | --- |
|  | I have reviewed the above section and agree with no exception. |
|  | I have reviewed the above section and have noted all exception(s) within the response provided below. |
| List all exceptions(s): |  |

  - Incentives

Explain any special incentives or services including, but not limited to, return policies, trade-in programs, quantity discounts, etc.

Bidder Response: Bidder must provide detailed information as requested in the above requirement(s). If none, enter N/A.

1.7. Contract Flexibility

The State reserves the right to add/delete Propane types, delivery locations, and end users during the contract term to meet the needs of the State. To make additions, the State shall adhere to the following procedure:

- The location shall be offered to currently awarded contractor(s), beginning with the contractor serving the nearest location currently on the contract, for a price not to exceed the nearest location on contract. If not accepted, to that contractor serving the second closest site already on contract shall be offered the site, and so on.

- If no contractor from Step 1 accepts the location, all currently awarded contractors shall be asked to bid on the site and awarded to the lowest cost contractor willing to make delivery to that location if pricing and delivery schedule proposed are deemed acceptable by the State.

- If no contractors bid on the location, or responses in Step 2 were not deemed acceptable by the State, no award shall be made and the State can find alternative means to procuring propane.

| Bidder Response: Bidder must check 1 box below and provide the requested information: |  |
| --- | --- |
|  | I have reviewed the above section and agree with no exception. |
|  | I have reviewed the above section and have noted all exception(s) within the response provided below. |
| List all exceptions(s): |  |

1.8. Site Inspection

It is the responsibility of the contractor to inspect any unfamiliar locations to determine the highway conditions, exact location, the size of the tank and the number of gallons that can be delivered at one time, and the accessibility of the storage tanks.

| Bidder Response: Bidder must check 1 box below and provide the requested information: |  |
| --- | --- |
|  | I have reviewed the above section and agree with no exception. |
|  | I have reviewed the above section and have noted all exception(s) within the response provided below. |
| List all exceptions(s): |  |

- Service Requirements

  - New Service and Installation

Tanks

The coordination of removal/replacement or purchase of existing tank not owned by the State needs to be done between the previous holder of the contract and the new vendor, if applicable. Tanks cannot be replaced or removed until all existing fuel has been used.

In locations where tanks are not owned by the State Agency, the vendor agrees to provide a tank at no cost.

| Bidder Response: Bidder must check 1 box below and provide the requested information: |  |
| --- | --- |
|  | I have reviewed the above section and agree with no exception. |
|  | I have reviewed the above section and have noted all exception(s) within the response provided below. |
| List all exceptions(s): |  |

  - Maintenance

On-site maintenance or emergency repair of storage tanks may need to be performed according to the recommended manufacturer maintenance schedule.

Bidder Response: Describe the proposed maintenance and onsite inspections you will complete during the contract. Also describe your capabilities for emergency response.

  - Training

It is preferred that Contractor staff delivering propane be certified through the Certified Employee Training Program (CETP) for hauling and installation of propane fuel and storage tanks.

Training should include the following topics:

- How to check tank levels.

- How to recognize and identify leaks.

- How to handle emergencies.

- How to set up new service.

- How to recognize potential hazards.

The contractor shall have a training program for employees as required in the code of federal regulations number 49, part 172.700.

## The Code of Federal Regulations Title 49: Transportation Subpart H – Training Paragraph §172.700 - Purpose and scope.

- Purpose. This subpart prescribes requirements for training hazmat employees.

- Scope. Training as used in this subpart means a systematic program that ensures a hazmat employee has familiarity with the general provisions of this subchapter, is able to recognize and identify hazardous materials, has knowledge of specific requirements of this subchapter applicable to functions performed by the employee, and has knowledge of emergency response information, self-protection measures and accident prevention methods and procedures (see §172.704).

- Modal-specific training requirements. Additional training requirements for the individual modes of transportation are prescribed in parts 174, 175, 176, and 177 of this subchapter.

| Bidder Response: Bidder must check 1 box below and provide the requested information: |  |
| --- | --- |
|  | I have reviewed the above section and agree with no exception. |
|  | I have reviewed the above section and have noted all exception(s) within the response provided below. |
| List all exceptions(s): |  |

Bidder Response: The Bidder must explain its training capabilities for ordering entities and any training that will be included.

  - Quarterly Business Reviews (QBR)

The State and the Contractor shall agree upon the reporting model during the first 60 days of contract implementation. The State may request that the Contractor include, but is not limited to, Service Level Agreements, Key Performance Indicator (KPI), Performance Metrics, Transaction Usage, Product Substitutions, Pricing Audit Report, K-12 usage and rebate, additional reporting fields, etc. over the life of the Contract. The Contractor shall be responsible for presenting the agreed upon reporting model to the State at the Quarterly Business Review (QBR), as well as, anytime upon the State’s request. The Contractor shall work with the State Contract Manager to develop a Savings Model that reflects the actual savings over the life of the Contract. The Contractor shall report on the Savings Model at each QBR and shall provide updates upon request.

| Bidder Response: Bidder must check 1 box below and provide the requested information: |  |
| --- | --- |
|  | I have reviewed the above section and agree with no exception. |
|  | I have reviewed the above section and have noted all exception(s) within the response provided below. |
| List all exceptions(s): |  |

- Staffing

  - Contractor Representative

The Contractor must appoint one individual, specifically assigned to State of Indiana accounts who will respond to State inquiries regarding the Contract Activities, answer questions related to ordering and delivery, etc. (the “Contractor Representative”).

The Contractor must notify the Contract Manager at least 14 Calendar days before removing or assigning a new Contractor Representative.

| Bidder Response: Bidder must check 1 box below and provide the requested information: |  |
| --- | --- |
|  | I have reviewed the above section and agree with no exception. |
|  | I have reviewed the above section and have noted all exception(s) within the response provided below. |
| List all exceptions(s): |  |

  - Customer Service, Technical Support, Repairs and Maintenance

The Contractor must specify its toll-free number for the State to contact the Contractor for technical support, repairs and maintenance. The Contractor must be available for calls and service during the hours of 8am to 5pm EST Monday through Friday at a minimum.

The Contractor must provide a 24/7 phone number for emergency deliveries or repairs.

| Bidder Response: Bidder must check 1 box below and provide the requested information: |  |
| --- | --- |
|  | I have reviewed the above section and agree with no exception. |
|  | I have reviewed the above section and have noted all exception(s) within the response provided below. |
| List all exceptions(s): |  |

Bidder Response: The Bidder must describe how they will comply with the above requirement(s). Please identify availability for this proposal by hours and days of the week.

- Ordering

Ways to Place an Order

The Contractor shall be able to receive orders by any of the following methods: phone, fax, in store via purchase order and confirming purchase order. The Contractor shall have internal controls, approved by the State of Indiana, to:

- Ensure that only authorized individuals place orders

- Verify any orders that appear to be abnormal

- State Contract Manager has authorized purchase from a State Agency of any non-market basket or special request item.

Order Confirmation

An e-mail order confirmation shall be sent to the Ordering Agencies buyer within one (1) hour of Contractor’s receipt of purchase order. This order confirmation shall include the following information:

- Purchase Order Number

- Order Date

- Ship To Information

- List of items ordered

- List of shipped items

- Back-ordered items

- Expected delivery date

In lieu of an email address, this confirmation shall be faxed. If the confirmation does not match the requested items, the Ordering Agency shall contact Customer Service.

Volume Discounts

The Contractor shall negotiate better pricing, while accomplishing the Ordering Agency’s needs, with an Ordering Agency on an individual basis at any time throughout this Contract period. If the Ordering Agency is a State Agency, prior written approval from the State Contract Manager is required.

| Bidder Response: Bidder must check 1 box below and provide the requested information: |  |
| --- | --- |
|  | I have reviewed the above section and agree with no exception. |
|  | I have reviewed the above section and have noted all exception(s) within the response provided below. |
| List all exceptions(s): |  |

  - Order Verification

The Contractor must have internal controls approved by the Indiana Department of Administration to verify abnormal orders and to ensure that only authorized individuals place orders.

| Bidder Response: Bidder must check 1 box below and provide the requested information: |  |
| --- | --- |
|  | I have reviewed the above section and agree with no exception. |
|  | I have reviewed the above section and have noted all exception(s) within the response provided below. |
| List all exceptions(s): |  |

Bidder Response: The Bidder must describe how they will comply with the above requirement(s).

- Shipping and Delivery

The Contractor shall be able to deliver to all current and potential delivery sites within the State of Indiana, where some may include desktop delivery, and meet specified delivery requirements as well as delivery to all other Ordering Agency locations. This shall include desktop delivery within given State facilities. The Contractor shall receive a weekly report from the State to identify delivery site updates or new locations.

Delivery Timeframes

The Contractor shall use commercially reasonable efforts to ship products ordered by the State before 5:00 p.m. local time by the next business day after acceptance of Purchase Order for all catalog items. The Contractor shall use commercially reasonable efforts to maintain an on-time delivery percentage of 99%.

Shipping Charges

The Contractor agrees that all prices include shipping and handling fees required to provide delivery to all State and Ordering Agency locations unless specifically approved in writing by the State of Indiana Contract Manager. The Contractor shall remain responsible for goods until the Ordering Agency takes possession.

Proof of Delivery

The Contractor shall provide proof of delivery for an order upon request from the Ordering Agency that shall include, but not limited to, the accepting individual’s name, signature, delivery date, delivery time, and packing list.

Backorders

In the event that a product is backordered, partial shipments or shipment is delayed for any reason, the Contractor shall notify the Ordering Agency of such delay in the following ways:

- A back-ordered item(s), item number (s), and expected delivery date(s) shall be annotated on the email order confirmation.

- A back-ordered item(s) shall be annotated on the packing list that the Ordering Agency receives with the order and includes the expected delivery date(s).

- Contractor’s online catalog/punch-out provides in-stock/backorder status.

The Contractor shall then work to fill the backorder. If the Contractor’s system is unable to fill a line, the Contractor’s local purchasing group shall source the back-ordered item. If an item is discontinued, or unavailable, the Contractor shall call the Ordering Agency and given a choice of canceling the order, or a like alternate.

Delivery Schedule

The Ordering Entity may also issue a delivery order to establish a weekly, bi-monthly or other suitable delivery schedule to deliver such quantities as may be determined by inspection of storage containers/tanks.

Product Substitutions

Product substitution is not allowed unless pre-approved, in writing, by the State

or Ordering Agency and only then may the item be shipped. The substituted item

shall be of equal functionality and quality and shall not exceed the contract price

of the back ordered or unavailable item. Contractor shall submit a quarterly

report of all items that have been substituted.

| Bidder Response: Bidder must check 1 box below and provide the requested information: |  |
| --- | --- |
|  | I have reviewed the above section and agree with no exception. |
|  | I have reviewed the above section and have noted all exception(s) within the response provided below. |
| List all exceptions(s): |  |

Bidder Response: The Bidder must describe how they will comply with the above requirement(s).

- Invoice and Payment

  - Invoice Requirements

The Contractor shall invoice the State only after items have been delivered prior to payment. The Contractor shall invoice the state only after completion of the work described in the purchase order/Contract, and as required below prior to any payment. The Contractor shall submit an invoice to the Ordering Agency’s Bill To Address. The Contractor’s invoice shall identify, at a minimum, the information listed below:

- Invoice Number

- Invoice Date

- Ordering Agency’s Bill To Information

- Ordering Agency’s Ship To Information

- Business Unit

- Purchase Order Number

- Item Number

- Item Description

- Order Qty for each Item

- Item Price

- Invoice Total

| Bidder Response: Bidder must check 1 box below and provide the requested information: |  |
| --- | --- |
|  | I have reviewed the above section and agree with no exception. |
|  | I have reviewed the above section and have noted all exception(s) within the response provided below. |
| List all exceptions(s): |  |

- Additional Requirements

  - Hazardous Chemical Identification

In accordance with the federal Emergency Planning and Community Right-to-Know Act, 42 USC 11001, et seq., as amended, the Contractor must provide a Material Safety Data Sheet listing any hazardous chemicals as defined in 40 CFR §370.2, to be delivered. Each hazardous chemical must be properly identified, including any applicable identification number, such as a National Stock Number or Special Item Number.

The Contractor must identify any hazardous chemicals that will be provided under any resulting contract.

| ☐ | I confirm the above requirement and agree with no exception. |
| --- | --- |

  - Spills

Accidental release or spillage during delivery of product by the contractor will result in the contractor being held responsible for all costs of cleanup and disposal of all contaminated soil. Cleanup and disposal must be conducted in accordance with state and federal EPA regulations and guidelines.

| ☐ | I confirm the above requirement and agree with no exception. |
| --- | --- |

  - Damages

The Contractor shall be held liable for any damages due to equipment malfunctions that may occur due to furnishing contaminated product, furnishing fuel other than specified, or failure to make deliveries when ordered.

| ☐ | I confirm the above requirement and agree with no exception. |
| --- | --- |

- Service-Level Agreements (SLAs) and Performance Metrics

The Contractor shall monitor and fulfill all Service Level Agreements and Performance Metrics. See Exhibit A and B for Service Level Agreements and Performance Metrics.

| Bidder Response: Bidder must check 1 box below and provide the requested information: |  |
| --- | --- |
|  | I have reviewed the above section and agree with no exception. |
|  | I have reviewed the above section and have noted all exception(s) within the response provided below. |
| List all exceptions(s): |  |

Bidder Response: Bidders shall submit a map that shows the location (including address) of every terminal that will be used for the delivery of propane.