Specifications for portable Cannabis analyzer:

All criteria listed below headlines must be met.

SOURCING EVENT ID: 001000000084738

| Yes? | No? |
| --- | --- |

Portable liquid chromatography for the separation and analysis of 20 or more specific cannabinoids

Detection limit down to 0.03% THC-A and D9THC (or better)

Capability to test wet or dry plant material, concentrates, and edible products

Ability to detect and quantify synthetic or “hemp-derived” cannabinoids

8-hour battery life for field use

Intuitive touchscreen user interface

Results in 12 minutes or less, accessible to non-scientific users

Results are displayed on-screen and embedded internally

Does not require a dedicated technician or additional laboratory equipment to operate.

The High Sensitivity Cannabis Analyzer offers enhanced features compared to standard cannabis analyzers, including:

Ultra Low Detection Limit

With 30 times higher sensitivity than standard models, this analyzer quantifies cannabinoids down to 1.7 ppm. This allows for analysis capabilities from 99% isolate to a 1 mg infused beverage.

Dedicated Standard Operating Procedures (SOPs)

The analyzer includes a user-friendly interface that automatically generates SOPs tailored to each sample. These SOPs can be saved for future use and triggered by scanning a product SKU barcode.

Versatile Testing Capabilities

You can quickly and easily test edibles in-house or on-site. The system automatically calculates dosage per package, dosage per serving, and detected cannabinoid weight percentage. It also supports testing for plants and concentrates.

Advanced Technology for Simplified Testing

Utilizing cutting-edge science and technology, this analyzer streamlines the analytical testing process, making potency testing more accessible and affordable. With real-time data access, your team can make informed decisions that enhance processes, improve efficiencies, manage costs, expedite release testing, and increase yields and margins.

High Performance Liquid Chromatograph (HPLC)

Designed for non-technical operators and field use

Analyzes 20+ cannabinoids, including D9THC, CBD, Delta-8, and Total THC (per 2018 USDA Federal Farm Bill)

Differentiates “Hemp” from “Adult-Use/Marijuana”

Tests nearly all sample formats, including wet/dry plant, concentrates, edibles, beverages, tinctures & intermediates

Presumptive and Quantitative Modes

Certificate of Analysis, traceable and encrypted

| YES? | NO? |
| --- | --- |

Sample Types Include:

All criteria below must be met.

Flower

Biomass

Young Plant

Concentrates

Processed Waste

Tinctures

Gummies

Beverages

Beverage Enhancers

Chocolates

Baked Goods

Hard Candies/Lollipops

Caramels

Nanoemulsions

Pet Treats

| Yes? | No? |
| --- | --- |

Custom Edibles

Standard Cannabinoids

All Criteria must be met.

D9THC

THCA

CBD

CBDA

CBN

CBG

CBGA

D8THC

CBNA

D10THC

CBCA

THCV

THCVA

CBC

Hemp-Derived Cannabinoids Module (Optional Add-On)

With the addition of the Hemp-Derived Cannabinoids Module, users can also measure levels of four common synthetic or converted cannabinoids:

D9THC-O

D8THC-O

D9THCP

HHC

Any questions regarding these specs, please reach out to Lynne Dutton at ldutton@isp.in.gov

If shipping/freight is applicable, please include within the cost of the analyzer.

Ship to address: 2101 Directors Row, Indianapolis, IN 46241

DEADLINE:  AUGUST 20, 2025 BY 11am EDST