SPECS FOR

14 X 24 UTILITY/STORAGE BUILDING

- Shall be 14’X 24’ utility/portable building

- Shall have 2x4 treated wall studs (16” On Center)

- Shall have metal siding and roof (color to be detrained later)

- Shall have a gable vent in the front and rear of building

- Shall have a 8’x7’ Insulated Roll-up Garage Door on the front of building

- Shall have 2”x6” treated floor joist (12” On Center)

- Shall have Advantech ¾” flooring boards

- Shall have ½” insulation in the roof, sides and floor