Acoustic Recorder	(26)

Features

- Able to program recorder’s location, settings, and schedule using a Bluetooth®-enabled device and/or a free companion app for iOS® and Android™

- Set GPS location and schedule to record at specific intervals

- Able to use confidently in all weather, having rugged, IP67-rated, water-resistant housing.

- A built-in, low-noise microphone producing high-quality sound files

- Compact and lightweight (0.95 lb/429 g with batteries) for ease in portability

- Ability to attach a second acoustic stub microphone compatible with Song Meter microphone model MIC-STUB-AU-V2

- Ability to secure recorder by attaching a weather-resistant padlock to its hinged enclosure.

- Able to mount in a variety of settings using the tripod mount and off-the-shelf equipment.

- Two-year warranty

Technical Specifications

Recording Format

16-bit PCM .wav files

Channels

1 built-in (2 with optional second microphone)

Sample Rates

The recorder should support the following sample rates in samples per second on one or two channels: 8000, 12000, 16000, 22050, 24000, 32000, 44100, 48000, 96000

Built-in Microphone

Directional Characteristic: Omni-Directional

Power Options

4 or 8 AA Alkaline/rechargeable NiMH batteries

Run-Time

8 AA Alkaline: up to 530 hours (using low-power mode at 24kHz mono)

Storage

1 SDHC/SDXC flash card slots (Class 4 or greater)

Support up to 2TB SDXC cards

Recommendation

Dimensions

Height:
4.7" / 120 mm

Width:
7.0" / 177 mm

Depth:
1.6" / 40 mm

Weight

Without batteries:
0.54 lb / 245g

With 8 AA batteries:
0.95 lb / 429g

Enclosure Material

IP67-rated Polycarbonate Housing

Enclosure Environmental Protection

Fully weatherproof with integrated humidity controls

Operating Temperature

-4°F to +185°F or -20°C to 85°C

Stub mic for Mini/SM5 Family              (4)

Product Code: MIC-STUB-AU-V2

Low-noise acoustic stub mic. Compatible with SM5BAT, SM5, Mini Bat 2, Mini Bat, Mini 2, Mini.

Replacement Windscreens (one pair) including clips   	(4)

Two replacement acoustic microphone stub windscreens. Includes clips. Compatible with all Song MeterÂ® microphones, excluding the SMM-U2.

Marine Grade Padlock              (26)

Master Lock® keyed-alike padlock w/ weather-resistant brass body and hardened steel shackle. Compatible with SM5BAT, SM5, SM4BATFS, SM4BATZC, SM4, SM4TS, Mini Bat 2, Mini 2.

All equipment must be compatible with the current type of Acoustic Recorder, Song Meter Acoustic Recorder.