## HVAC
SCHEDULE A - HVAC |  |  |  | Contractor:
PeopleSoft Dept ID: |  | 055739 |  | Address:
Property: |  | Shakamak State Park |  | Phone/Fax:
Address: |  | 6265 W. St. Rd. 48,Jasonville, In 47438 |  | Contact name:
Phone/Fax: |  | Park: 812-665-2158 Office: 812-665-3406 |  | Email:
Property Mgr.: |  | Sarah Short
Email: |  | SaShort@dnr.IN.gov |  |  |  |  | Inspection Months
Contractor Note: Please improve the accuracy of this equipment list as you progress through the year. | [6 empty] | Jan. Apr. May, Jul.
| Most equipment is checked quarterly, or biannually however certain summer equipment needs checked in May |  |  |  | Contractor must furnish filters |  | & October
Qty of Devices | Location Building or Area | Location Inside | Description | Manufacturer | Identification | Visits Per Year |  |  | Emergency visits Covered
1 | Office | Back Supply Room | Natural Gas Furnace | Lennox | Model G2003-4E-100-3 | 4 | Jan, Apr., July, Oct.
2 | Office | Back Side of Office | Outside A.C. Unit | Goodman Manufacturer | Model CKL36-1H | 4 | Jan, Apr., July, Oct.
1 | Carpenter Shop | Carpenter Shop | Natural Gas-over head Furnace | Modine | Model PAE100ACO111 | 1 | Oct.
1 | Service Area | Shop Bay | Over head Natural Gas Furnace | Reznor | Model CXLB45-5 115 Volt 1 ph 3.1 Amp | 1 | Oct.
1 | Service Area | Shop Bay | Over head Natural Gas Furnace | Reznor | Model CXLB45-5 115 Volt 1 ph 3.1 Amp | 1 | Oct.
1 | Service Area | Wash Bay | Over head Natural Gas Furnace | Reznor | Model CXLB45-5 115 Volt 1 ph 3.1 Amp | 1 | Oct.
1 | Service Area | Furnace Room | Natural Gas Furnace | Carrier | Model 58CS15C-CA | 2 | Jan, Oct.
1 | Service Area | Furnace Room | Natural Gas Furnace | Carrier | Model 58CS15C-CA | 2 | Jan, Oct.
1 | Pool | Mechanical Room | Electric Hot Water Heater Gallon? | A.O. Smith | CAT. No. DVE-250-60 4 Element 15,000 Watt each | 1 | May
1 | Lakeview A & B | Mechanical Room | Electric furnance | Carrier | Model FB4ANF030 | 4 | Jan,Apr.July Oct.
1 | Lakeview A & B | Mechanical Room | Electric Furnace | Carrier | Model FB4ANF030 | 4 | Jan,Apr.July Oct
2 | Lakeview A & B | Outside | Outside A.C. Units | Carrier | Model 38BYC030330 | 4 | Jan,Apr.July Oct
2 | Lakeview A & B | Outside | Outside A.C. Units | Carrier | Model 38BYC030330 | 4 | Jan,Apr.July Oct
1 | Managers Residence | Basement | Electric Furnace | Lennox | XP19-036 | 4 | Jan, Apr., July, Oct. | also strip heat, uv light, filter
2 | Managers Residence | Outside | Outside A.C. Unit | Lennox | CBX32MV-036 | 4 | Jan, Apr., July, Oct.
1 | Treatment Plant | Back Room | Electric Furnace | Carrier | Model FB4BNF018 | 2 | Jan, Oct.
2 | Treatment Plant | Outside | Outside A.C. Unit | Carrier | Model 38CKC018340 | 2 | Apr & July
1 | COMFORT STATION C-10 | MIDDLE | WATER HEATER | A.O. Smith | MODEL DRE 80917 | 2 | May & Oct
1 | COMFORT STATION C-7 | MIDDLE | WATER HEATER | A.O. Smith | MODEL DRE 80920 | 2 | May & Oct
1 | COMFORT STATION C-8 | MIDDLE | WATER HEATER | A.O. Smith | MODEL DRE 80921 | 2 | May & Oct
1 | COMFORT STATION C-9 | MIDDLE | WATER HEATER | A.O. Smith | MODEL DRE 80922 | 2 | May & Oct
1 | Property House | BASEMENT | ELECTRIC FURNACE | LENNOX | MODEL CBX32 | 4 | Jan, Apr., July, Oct. | also strip heat, uv light, filter
2 | Property House | OUTSIDE | OUTSIDE A.C. UNITS | LENNOX | MODEL XP19 | 4 | Jan, Apr., July, Oct. | also strip heat, uv light, filter
1 | Treatment Plant | Blower room | Heater | Marley | uh524ta | 1 | Oct.
1 | Treatment Plant | Blower room | Exhaust fan | Greenheck | 6080d6ex qd | 2 | Apr & July
1 | Treatment Plant | Blower room | electric motor | fasco | 301639 | 2 | Apr & July
1 | Treatment Plant | Blower room | thermo control | dayton | 2e+206 | 4 | Jan, Apr., July, Oct.
1 | Treatment Plant | Blower room | actuator | barber-colman | ma40550003 | 4 | Jan, Apr., July, Oct.
1 | Pool | Shower house | exhaust fan | penn vent | z 121 | 2 | May
1 | Pool | Shower house | Exhaust fan | penn vent | CB 18 | 2 | May
1 | pool | Pump house | Exhaust fan | penn vent | N/A | 2 | May
2 | Lakeview A & B |  | 2" Backflow Preventer | N/A | N/A | 2 | Apr & July
1 | Group Camp | Mess Hall | 100 gal. Water heater | Lochinvar | EPN 200-100 | 2 | Apr & July
1 | Group Camp | Mess Hall | Thermal expansion tank | Armstrong | TM-15-E-RF | 2 | Apr & July
1 | Group Camp | Mess Hall | Thermostatic Mixing valve | Leonard | 975XLS | 2 | Apr & July
1 | Group Camp | Mess Hall | Water Softener | N/A | N/A | 2 | Apr & July
1 | Group Camp | Cottage 1 | Furnace | Bryant | 0207X28986 | 2 | Jan, Oct. | CNPHP3017ATAABAA
1 | Group Camp | Cottage 1 | Condenser | Bryant | 3406E28484 | 2 | Apr & July | 123ANA024000BAAA
1 | Group Camp | Cottage 2 | Furnace | Bryant | 3706X24146 | 2 | Jan, Oct. | CPNHP3017ACAAAAA
1 | Group Camp | Cottage2 | Condenser | Bryant Legacy | 2606E22691 | 2 | Apr & July | 123ANA024-A
1 | Group Camp | Cottage3 | Furnace | Bryant | 0207X28991 | 2 | Jan, Oct. | CNPH3017ATAABAA
1 | Group Camp | Cottage 3 | Condenser | Bryant | 2606E22573 | 2 | Apr & July | 123ANA024A
1 | Group Camp | Cottage4 | Furnace | Bryant | 0207X28976 | 2 | Jan, Oct. | CNPHP3017ATAABAA
1 | Group Camp | Cottage 4 | Condenser | Bryant | 3106E33548 | 2 | Apr & July | 123ANA024-A
1 | Group Camp | Cottage 5 | Furnace | Bryant | 0207X28990 | 2 | Jan, Oct. | CNPHP3017ATAABAA
1 | Group Camp | Cottage 5 | Condenser | Bryant | 3406E28488 | 2 | Apr & July | 123ANA024-A
1 | Group Camp | Cottage 6 | Furnace | Bryant | 0207X29030 | 2 | Jan, Oct. | CNPHP3017ATAABAA
1 | Group Camp | Cottage 6 | Condenser | Bryant | 2606E22551 | 2 | Apr & July | 123ANA024-A
1 | Group Camp | Cottage 7 | Furnace | Bryant | 0207X29005 | 2 | Jan, Oct. | CNPHP3017ATAABAA
1 | Group Camp | Cottage 7 | Condenser | Bryant | 3106E33486 | 2 | Apr & July | 123ANA024-A
1 | Group Camp | Cottage 8 | Furnace | Bryant | 0207X28997 | 2 | Jan, Oct. | CNPHP3017ATAABAA
1 | Group Camp | Cottage 8 | Condenser | Bryant | 3406E28468 | 2 | Apr & July | 123ANA024-A
1 | Group Camp | Cottage 9 | Furnace | Bryant | 0207X28936 | 2 | Jan, Oct. | CNPHP3017ATAABAA
1 | Group Camp | Cottage 9 | Condenser | Bryant | 3406E28477 | 2 | Apr & July | 123ANA024-A
1 | Group Camp | Cottage 10 | Furnace | Bryant | 0207X29033 | 2 | Jan, Oct. | CNPHP3017ATAABAA
1 | Group Camp | Cottage 10 | Condenser | Carrier | 2311E12679 | 2 | Apr & July
1 | Group Camp | Cottage 11 | Furnace | Bryant | 0207X29036 | 2 | Jan, Oct. | CNPHP3017ATAABAA
1 | Group Camp | Cottage 11 | Condenser | Bryant | 2606E10114 | 2 | Apr & July | 123ANA024-A
1 | Group Camp | Cottage 12 | Furnace | Bryant | 0207X28987 | 2 | Jan, Oct. | CNPHP3017ATAABAA
1 | Group Camp | Cottage 12 | Condenser | Bryant | 2606E10114 | 2 | Apr & July | 123ANA024-A
1 | Group Camp | Nurses Quarters | Furnace | Bryant | 4606A00324 | 2 | Jan, Oct. | 340AAV024060
1 | Group Camp | Nurses Quarters | Condenser | Bryant | 2606E22678 | 2 | Apr & July | 123ANA024-A
1 | Group Camp | Group Camp Mess | Roto Phase | Arco | 0701-3964-B0-C | 4 | Jan, Apr., July, Oct.
1 | Group Camp | Group Camp Mess | Roto Phase | Arco | 0701-3964-B0-B | 4 | Jan, Apr., July, Oct. | CCNC45
1 | Group Camp | Group Camp Mess | Roto Phase | Arco | 0701-3964-B0-A | 4 | Jan, Apr., July, Oct. | CCNC45
1 | Group Camp | Group Camp Mess | Exhaust fan |  | N/A | 2 | Jan, Apr., July, Oct. | N/A
1 | Group Camp | Group Camp Mess | Exhaust Fan | Master Air | N/A | 2 | Jan, Apr., July, Oct. | N/A
1 | Group Camp | Group Camp Mess | Air Handler |  | York | 4 | Jan, Apr., July, Oct. | Y23EN42A5AANBJ
1 | Group Camp | Group Camp Mess roof | Make up air roof exhaust |  |  | 4 | Jan, Apr., July, Oct.
1 | Group Camp | Group Camp Mess Hall | Back flow preventor | N/A | N/A | 2 | Apr & July
Note on F77: 1-800-323-5664