## Water and Wastewater
SCHEDULE A - Water and Wastewater |  |  |  | Contractor:
PeopleSoft Dept ID: |  | 055739 |  | Address:
Property: |  | Shakamak |  | Phone/Fax:
Address: |  | 6265 W. St. Rd. 48,Jasonville, In 47438 |  | Contact name:
Phone/Fax: |  | 812/665/2158 - 812/665/2314 |  | Email:
Property Mgr.: |  | Sarah Short
Email: |  | sashort@dnr.in.gov
Contractor Note: Please improve the accuracy of this equipment list as you progress through the year. | [6 empty] | Inspection Months
| Some equipment requires lubricatin with special oils or greases. |  |  | four visits per year, unless noted |  |  | January, April, July,
| To include all lift sstations and control units. |  | meter will be serviced twice a year. |  |  |  | & October
Qty of Devices | Location Building or Area | Location inside | Description | Manufacturer | Identification | Inspections per Year |  | Other Information
1 | Cabin #1 | Outside | Lift Station | ABS Pirhana |  | 2 | Apr & July
1 | Cabin #9 | Outside | Lift Station | ABS Pirhana |  | 4 | Jan, Apr., July, Oct.
1 | Cabin #13 | Outside | Lift Station | ABS Pirhana |  | 2 | Apr & July
1 | Cabin #14 | Outside | Lift Station | ABS Pirhana |  | 2 | Apr & July
1 | Cabin #16 | Outside | Lift Station | ABS Pirhana |  | 2 | Apr & July
1 | Cabin #21 | Outside | Lift Station | ABS Pirhana |  | 2 | Apr & July
1 | Cabn #24 | Outside | Lift Station | ABS Pirhana |  | 2 | Apr & July
1 | Lakeview Cabin | Outside | Lift Station | ABS Pirhana |  | 4 | Jan, Apr., July, Oct.
1 | Main Gate | Outside | Lift Station | ABS Pirhana |  | 2 | Apr & July
1 | Cabin D | Outside | Lift Station | ABS Pirhana |  | 4 | Jan, Apr., July, Oct.
1 | Group Dorm #4 | Outside | Lift Station | ABS Pirhana |  | 4 | Jan, Apr., July, Oct.
1 | Group Dorm #8 | Outside | Lift Station | ABS Pirhana |  | 4 | Jan, Apr., July, Oct.
1 | Group Dorm #9 | Outside | Lift Station | ABS Pirhana |  | 4 | Jan, Apr., July, Oct.
1 | Group Drom #12 | Outside | Lift Station | ABS Pirhana |  | 4 | Jan, Apr., July, Oct.
1 | Managers Home | Outside | Lift Station | ABS Pirhana |  | 4 | Jan, Apr., July, Oct.
1 | Shakamak Ramp | Outside | Duplex Lift Station | ABS Pirhana |  | 4 | Jan, Apr., July, Oct.
1 | Camp ground | Outside | Duplex Lift Station | ABS Pirhana | m 46/4-21.6,sn 0059957 | 4 | Jan, Apr., July, Oct.
1 | Service Area | Outside | Duplex Lift Station | ABS Pirhana | m 526/2 sn0172490 | 4 | Jan, Apr., July, Oct.
1 | Group Camp | Outside | Duplex Lift Station | ABS Pirhana | m 50/2-21.60 sn05115375 | 4 | Jan, Apr., July, Oct.
1 | Kickapoo docks | Outside | Lift Station | Barnes | m 4SE-L | 4 | Jan, Apr., July, Oct.
1 | Treatment Plant | Lab | Motor control Center | Square D |  | 4 | Jan, Apr., July, Oct.
1 | West Shelter | Outside | Lift Station | ABS Pirhana | n/s | 2 | Apr & July
230v 1 phase 3400 rpm, 60 Hz, F.L. Amps 9.2, 41.7 gpm.
230v 1 phase 3400 rpm, 60 Hz, F.L. Amps 9.2, 41.7 gpm.
230v 1 phase 3400 rpm, 60 Hz, F.L. Amps 9.2, 41.7 gpm.
230v 1 phase 3400 rpm, 60 Hz, F.L. Amps 9.2, 41.7 gpm.
230v 1 phase 3400 rpm, 60 Hz, F.L. Amps 9.2, 41.7 gpm.
230v 1 phase 3400 rpm, 60 Hz, F.L. Amps 9.2, 41.7 gpm.
230v 1 phase 3400 rpm, 60 Hz, F.L. Amps 9.2, 41.7 gpm.
230v 1 phase 3400 rpm, 60 Hz, F.L. Amps 9.2, 41.7 gpm.
230v 1 phase 3400 rpm, 60 Hz, F.L. Amps 9.2, 41.7 gpm.
230v 1 phase 3400 rpm, 60 Hz, F.L. Amps 9.2, 41.7 gpm.
230v 1 phase 3400 rpm, 60 Hz, F.L. Amps 9.2, 41.7 gpm.
230v 1 phase 3400 rpm, 60 Hz, F.L. Amps 9.2, 41.7 gpm.
230v 1 phase 3400 rpm, 60 Hz, F.L. Amps 9.2, 41.7 gpm.
230v 1 phase 3400 rpm, 60 Hz, F.L. Amps 9.2, 41.7 gpm.
230v 3 phase 3400 rpm, 60 Hz, F.L. Amps 43.3.
230/480,3 phase, 1750 rpm 60 Hz.
230 v, 1 phase, 60 Hz, 3.5 HP
230 v, 1 phase, 60 Hz, 6.7 HP 3400 RPM
240 v, 1 phase, 1750 RPM, 60 HZ, 7.5HP
contains a switch arm, hand/off/auto control, reset,
power indicator light, hour meter, timer, breakers
20 A - 80 A breakers, appropriate starters
transformers, relays, 9 individual controls,
a power logic circuit monitor and surge logic surge
the muffin monster sewage grinder control panel is located outside