## 62.2 RETRO (App. A)
Client Name: |  |  |  |  | Job #:
Address:
Phone #: |  |  | Date: |  | Stage:
INPUT RELVANT DATA INTO RED CELLS
Existing Home Information (Section 4.1)
Living Space |  |  |  | Local Exhaust (Section 5.1) |  |  |  |  | YES
Volume |  |  |  | Kitchen volume |  |  |  |  | NO
Number of stories |  |  |  | Is there an operable window? |  |  |  |  | NO FAN
# Bedrooms |  |  |  | Is the fan rated for continuous use? |  |  |  |  | Audit
# Occupants |  |  |  | Is the fan a range hood? |  |  |  |  | Interim
Location: |  |  |  | Measured fan flow rate (cfm) |  |  |  |  | Final
Location: |  | #N/A
Bloomington | 0.47
Chicago | 0.56
Cincinnati | 0.47
Evansville | 0.48
Fort Wayne | 0.57
Huntingburg | 0.45
Indianapolis | 0.54
Lafayette | 0.53
Muncie | 0.53
Peru | 0.54
South Bend | 0.57
Terre Haute | 0.5
Sqft of living space surface area |  |  |  | In compliance? |  | NO |  |  | 1
[6 empty] | Bath 1 | Bath 2 | Bath 3 | 2
Sqft of living space surface area NOT shared | [8 empty] | 3
CFM50 (post Wx) |  |  |  | Does this bathroom exist?
Attached dwelling tightness measurement |  | #DIV/0! |  | Is there an operable window?
Measured fan flow rate (cfm)
Is the fan rated for continuous use?
Is structure used for combustion air? |  |  |  | In compliance? |  | NO | NO | NO
|  |  |  | Local exhaust inputs valid? | Still something missing!
Combustion
62.2 N Factor |  | #N/A
62.2 ACHN |  | #DIV/0!
TEC ACHN |  | #DIV/0! |  | Not applicable
.4 ACH MVR (cfm50) |  | #N/A
Outputs |  |  |  | Final documentation
Whole house vent. req. (cfm): |  | 7.5 |  | If a fan was used to comply with 62.2, in what room is it located?
Local ventilation deficit (cfm): |  | 0 |  | Measured CFM of fan used to comply with ASHRAE 62.2:
Infiltration Credit (cfm): |  | #DIV/0! |  | Minutes fan is set to run per hour:
No need to ventilate rate (cfm): |  | #N/A |  | Continuous Mechanical Ventilation needed (cfm): | #DIV/0!
Note on A44: Dan Phillips: This CFM number is the lowest CFM@50 the house can be at to use the standard combustion air calculations. If the house is tighter than this CFM@50, the Known Air Infiltration Rate method must be used to calculate combustion air.

## under the hood RETRO (App. A)
ASHRAE 119 & 136 Factor | 0.050926
.4 ACH
1 ACH | 0 | cuft
.4 ACH | 0 | cuft
ACH50 | 0 | cf hour
| #N/A | This needs to be greater than .4 ACH
Old .4 ACH MVR | #N/A | CFM50
Current ACH | #DIV/0!
62.2 N Factor | #N/A
TEC N Factor | #VALUE!
Section 4.1
Occupant | 7.5 | CFM
# of occupants | 1
# bedrms | 1
# people | 0
Living Space | 0 | CFM
Total Fan flow rate | 7.5
Section 4.1.2 Infiltration Credit
4.3
ELA multiplier | 0.00038194
ELA | 0
4.4
Normalized Leakage | #DIV/0!
4.5a
Effective Annual Average Infiltration Rate | #DIV/0!
Exterior surface area ratio | #DIV/0!
Attached dwelling tightness max cfm | 0
Attached dwelling tightness check | #DIV/0!
No Ventilation Rate
4.1 | 7.5
Spot | 0
Needed measured difference | 7.5
Infiltration credit | #DIV/0!
15 cfm waiver | 15.5
CFM50 | #N/A
| Intermittant | Continuous | Int. deficit | Cont. deficit | No hood | No hood check | Spot Ventilation deficits
Kitchen analysis | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bath analysis | Intermittant | Continuous | Int. math | Cont. math | Int. deficit | Cont. deficit | Spot Ventilation deficits
Bath 1 net | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bath 2 net | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bath 3 net | 0 | 0 | 0 | 0 | 0 | 0 | 0
Bath 4 net
Spot Ventilation deficits |  |  | 0
Amount to add to whole house ventilation | 0
Mechanical deficit | #DIV/0!
| #DIV/0! | CFH
cfm | Min of run time
1 | #DIV/0!
2 | #DIV/0!
3 | #DIV/0!
4 | #DIV/0!
5 | #DIV/0!
6 | #DIV/0!
7 | #DIV/0!
8 | #DIV/0!
9 | #DIV/0!
10 | #DIV/0!
11 | #DIV/0!
12 | #DIV/0!
13 | #DIV/0!
14 | #DIV/0!
15 | #DIV/0!
16 | #DIV/0!
17 | #DIV/0!
18 | #DIV/0!
19 | #DIV/0!
20 | #DIV/0!
21 | #DIV/0!
22 | #DIV/0!
23 | #DIV/0!
24 | #DIV/0!
25 | #DIV/0!
26 | #DIV/0!
27 | #DIV/0!
28 | #DIV/0!
29 | #DIV/0!
30 | #DIV/0!
31 | #DIV/0!
32 | #DIV/0!
33 | #DIV/0!
34 | #DIV/0!
35 | #DIV/0!
36 | #DIV/0!
37 | #DIV/0!
38 | #DIV/0!
39 | #DIV/0!
40 | #DIV/0!
41 | #DIV/0!
42 | #DIV/0!
43 | #DIV/0!
44 | #DIV/0!
45 | #DIV/0!
46 | #DIV/0!
47 | #DIV/0!
48 | #DIV/0!
49 | #DIV/0!
50 | #DIV/0!
51 | #DIV/0!
52 | #DIV/0!
53 | #DIV/0!
54 | #DIV/0!
55 | #DIV/0!
56 | #DIV/0!
57 | #DIV/0!
58 | #DIV/0!
59 | #DIV/0!
60 | #DIV/0!
61 | #DIV/0!
62 | #DIV/0!
63 | #DIV/0!
64 | #DIV/0!
65 | #DIV/0!
66 | #DIV/0!
67 | #DIV/0!
68 | #DIV/0!
69 | #DIV/0!
70 | #DIV/0!
71 | #DIV/0!
72 | #DIV/0!
73 | #DIV/0!
74 | #DIV/0!
75 | #DIV/0!
76 | #DIV/0!
77 | #DIV/0!
78 | #DIV/0!
79 | #DIV/0!
80 | #DIV/0!
81 | #DIV/0!
82 | #DIV/0!
83 | #DIV/0!
84 | #DIV/0!
85 | #DIV/0!
86 | #DIV/0!
87 | #DIV/0!
88 | #DIV/0!
89 | #DIV/0!
90 | #DIV/0!
91 | #DIV/0!
92 | #DIV/0!
93 | #DIV/0!
94 | #DIV/0!
95 | #DIV/0!
96 | #DIV/0!
97 | #DIV/0!
98 | #DIV/0!
99 | #DIV/0!
100 | #DIV/0!
101 | #DIV/0!
102 | #DIV/0!
103 | #DIV/0!
104 | #DIV/0!
105 | #DIV/0!
106 | #DIV/0!
107 | #DIV/0!
108 | #DIV/0!
109 | #DIV/0!
110 | #DIV/0!
111 | #DIV/0!
112 | #DIV/0!
113 | #DIV/0!
114 | #DIV/0!
115 | #DIV/0!
116 | #DIV/0!
117 | #DIV/0!
118 | #DIV/0!
119 | #DIV/0!
120 | #DIV/0!
121 | #DIV/0!
122 | #DIV/0!
123 | #DIV/0!
124 | #DIV/0!
125 | #DIV/0!
126 | #DIV/0!
127 | #DIV/0!
128 | #DIV/0!
129 | #DIV/0!
130 | #DIV/0!
Cheat Test
Kitchen | TRUE
Bath1 | FALSE
Bath2 | FALSE
Bath3 | FALSE
Bath4
Cheat Test | Still something missing!
Random | 0.41738
0 | You aren't done yet.
0.25 | Still something missing!
0.5 | Not quite finished.
0.75 | I don't think so.
Verbage
Still something missing!