Martin County Health Department

127 Water St.

Shoals, IN 47581

Phone: 812-247-3303

Procedure for Installation of Residential Sewage Disposal Systems

Have a soil test completed.  Attached is a list of soil scientists.  They will send a copy to this department for you.

Enclosed is an application for a permit to construct a residential sewage disposal system.  Please complete as much of the application as possible and return it to this department with the required $100.00 permit fee.  Make check payable to the Martin County Health Department.

This department will evaluate the soil test and prescribe septic system options according to Indiana State Department of Health rules.

After you have received your residential sewage disposal permit from this department and decide upon your installer, I would like to do an on-site evaluation with your installer.  Call to schedule this appointment.

Please give this department at least one (1) day notice of when the system will be installed so arrangements can be made for the final inspection.  The system needs to be uncovered for this inspection.

Cory Roush

Environmental Specialist

Phone:  812-296-0834 cell phone (812) 247-3303 office

MARTIN COUNTY HEALTH DEPARTMENT

127 WATER STREET

P.O. BOX 368, SHOALS, IN  47581

PHONE:  (812) 247-3303    FAX:  (812) 247-2009

Application for Residential Sewage Disposal System

Applicant:  _______________________________________________________________

Current Mailing Address: ___________________________________________________ ________________________________________________________________________

Phone No.  Home:__________________  or  Cell:_________________________

Address and directions to property of septic system: _____________________________

________________________________________________________________________

________________________________________________________________________

Builder:  ________________________________    Phone:  ___________________

Address:  ___________________________________________________________

Installer:  ________________________________    Phone:  __________________

Address:  ___________________________________________________________

Size of Lot:  _______  by  ________   or   _______________  acres

Source of Drinking Water:  _____________________________________________

Number of jetted tubs:  ___________ and capacity of each in gallons __________

Number of bedrooms in home:  _______    Number of people in home:  ________

Will an automatic washer be used:  ____    Will a garbage disposal be used:  _____

I hereby certify that, to the best of my knowledge, information on this application is correct.  I further certify if a residential sewage disposal permit is issued for this application, installation will strictly follow guidelines within the permit and in accordance with all provisions of Indiana State Department of Health Rule 410 IAC 6-8.1 regarding residential sewage disposal systems.

Applicant’s Signature:  _________________________  Date:  _________________

Owner’s Signature:  ___________________________  Date:  _________________

A $100.00 fee must be paid when application is submitted.  Make check payable to the Martin County Health Department.

THE FOLLOWING SOIL SCIENTISTS LIST IS PROVIDED FOR YOUR CONVENIENCE. YOU ARE NOT RESTRICTED TO THIS LIST. THIS DOES NOT CONSTITUTE A RECCOMENDATION, APPROVAL OR ENDORSEMENT OF ANY LISTED CONSULTANTS

Soil Science Consultants

COULTER CONSULTING	           	SOIL HORIZONS, INC		 STALEY SOIL SERVICES

Jack Coulter		            	Mark S. McClain		 Randy Staley

Paoli, IN  47454.	            	Lafayette, IN  47905 		71 E CR 650 SClay City, IN  47841

812-525-1896		            	317-449-1665 Office  	      	812-939-2752 812-773-3250						1-800-288-7645 		812-236-6132

STEVEN L. WADE	         	ROBERT C. JONES		JIM BROWN

Carlisle, IN  47838	            	Carlisle, IN  47838		Campbellsburg, IN  47108

812-847-8142		            	812-398-2952		               812-755-4195 / 812-620-3170

812-236-4358

SOIL PROS PLUS			SOIL PROS PLUS			PROFESSIONAL ENGINEER

Greg Orr			Rebecca Langford		Trevor Shepard, PE 812 890-3775

Evansville, IN 			Evansville, IN 			Trevor.shepardpe@gmail.com

812-430-4162			8129483-2544

SOUTHEASTERN ENVIRONMENTAL CONSULTING INC.

Spence Williams

Marysville, IN

812-889-3524

2/25/25