## Sheet1
County Courthouse Overall Rating = B
| Rating | Comments
Accessible Approach/Entrance
Route of Travel | A
Ramps | A | curb ramp slope - 5.40%
Parking and Drop-Off Areas | B | Accessible aisle should be wider; at least one accessible space needs to be marked as "Van Accessible"; enforcement of accessible parking use
Entrance | A | The full-body security scanner is not wide enough for wheelchair; make sure rugs are not a trip hazard
Access to Goods and Services
Horizontal Circulation | A
Doors | C | The majority of the office doors are recessed so that there is insufficient clear wall space so that a person using a wheelchair can get near to open the door; most doors have knobs which cannot be opened with a closed fist
Rooms and Spaces | A
Emergency Egress | A
Signage for Goods and Services | D | Provide signs that have raised letters, Grade II Braille, and that meet all other requirements for permanent room or space signage
Vertical Circulation | A
Elevators | B | Install visible and audible signals to indicate door opening/closing and floor direction up/down
Usability of Rest Rooms
Getting to the Rest Rooms | A
Doorways and Passages | C | Men's restroom signage needs Braille included; men's door is heavy and doesn't open up wide enough; trash can in women's restroom needs to be moved for adequate maneuvering space for someone in a wheelchair
Stalls | C | Accessible stall in both restrooms is not large enough; grab bars need to be added behind each accessible stall; toilet seats in accessible stalls should be 17" to 19" high
Lavatories | B | Paper towel dispensers need to be lowered; mirror in women's restroom needs to be lowered
Additional Access
Drinking Fountains | C | Replace fountains with "hi-lo" fountain to meet standards or add a cup dispenser for fountains with spouts that are too high